# SECTION 01340 (01 33 23)

## SHOP DRAWINGS, PRODUCT DATA, AND SAMPLES

GENERAL

SECTION INCLUDES

Section Includes:  Shop drawings, manufacturer's catalog cuts, product data, samples, and attached Shop Drawing/ Catalog Cut Submittal form necessary to satisfy requirements specified.

Related Sections:

01320-Construction Progress Documentation.

01321-Construction Schedule Critical Path Method.

01330-Submittal Procedures.

01330a-Submittal Form.

01610-Basic Product Requirements.

01700-Contract Closeout.

01745-Warranties.

DATES FOR SUBMISSION AND REVIEW

Refer to Section 01320-Construction Progress Documentation.

SHOP DRAWINGS/MANUFACTURER'S CATALOG CUTS

Shop Drawings:  Submit 3 prints, for each required shop drawing.

Identify each shop drawing with the following information placed on each drawing:

Name of the facility.

Name of project at the facility.

Board's project number.

Name of company submitting the shop drawing.

Date of drawing.

Provide a blank space 6 inches wide by 4 inches high in the lower right corner of each shop-drawing page for the Project Consultant's shop drawing stamp.

Manufacturer's Catalog Cuts:  Submit 8 copies of each catalog cut or 8 edited catalogs.

The Shop Drawing/Product Data Submittal form shall be attached to each required Shop Drawing, manufacturer's catalog cut, or other product data.

Submittal of Samples, Color Charts, Color Chips, or Color Samples for Selection and Coordination:

Submit 3 copies of all material color charts, color chips, or color samples within 60 days after start of construction to allow for selection, color coordination, and final acceptance by Project Consultant. Material color charts, color chips, or color samples shall be manufacturer's full color range and of standard sizes unless specified otherwise.

Where architectural pre-cast or poured-in-place architectural concrete is required, submit at least 4 architectural concrete finish color and texture samples.

Where exposed unpainted concrete masonry units are specified, submit at least 2 sets of masonry samples in manufacturer's full color range.

Where roofing tiles or shingles are specified, submit at least 2 sets of finish colors and texture samples.

Prints, samples, and color charts shall be at the expense of Contractor.

Submit all color selection materials for complete coordination of color scheme. No individual color selections will be approved before receipt of all the colors.

SUBMITTAL IDENTIFICATION

Submit only 1 item or system per letter of transmittal properly identified to include the appropriate specification section and section paragraphs.

When shop drawings, edited catalog cuts of components, product data, diagrams, or charts are submitted with more than 1 type of specified product, identify the particular item, including options, intended for use in the Work.

Re-submittals shall be identified with original shop drawing number and followed with a dash (-) and a letter A, B, etc. corresponding to the re-submittal sequence.

SUBMITTAL COMPLETENESS

Submit catalog sheets, product data, shop drawings, material samples, color chips, color charts, test data, and warranties at the same time for each item.

Submit shop drawings with appropriate data and with the Drawing identification mark numbers as shown, specified, or scheduled.

Shop drawings without identification mark numbers or with incomplete performance information will not be reviewed until submission is complete.

PREPARATION

Clearly mark each submittal to identify each appropriate product or model.

Show performance characteristics and capacities.

Show dimensions and clearances required.

Show wiring or piping diagrams and controls.

IDENTIFICATION

Identify details by reference to sheets and details, schedules, or room numbers as shown on Drawings.

Manufacturer's standards, schematic drawings, and diagrams:

Modify drawings and diagrams to delete information not applicable to the Work.

Supplement standard information to provide information specifically applicable to the Work.

SAMPLES

Submit samples of sufficient size and quantity to clearly illustrate:

Functional characteristics of product, integrally related parts, and attachment devices.

Full range of color, texture, and pattern.

FIELD SAMPLES AND MOCK-UPS

Refer to Section 01450-Quality Control.

CONTRACTOR’S RESPONSIBILITIES (refer to Section 01330-Submittal Procedures)

PRODUCTS-Not Used

EXECUTION-Not Used

END OF SECTION

SHOP DRAWING/CATALOG CUT SUBMITTAL

TRANSMITTAL NO.

DATE:

PROJECT:				CHECKED AND APPROVED FOR

SUBMISSION BY:

SBBC PROJECT NO.

ITEM: 				CHECK ONE OF THE FOLLOWING:

SPECIFIED ITEM.

SUBSTITUTION*

SPECIFICATION SECTION AND PARA. NO.

CONTRACTOR:

CONTRACTOR’S PROJECT OR CONTRACT NO.

SUB-CONTRACTOR:

MANUFACTURER:

SUPPLIER:

MANUFACTURER’S CATALOG NO.

DRAWING NO.

*If Substitution, submittal shall include information required by the General Conditions.  Attach sufficient pages to this form to fully respond to the requirements of the General Conditions.

(RESERVE THE SPACE BELOW FOR DATE AND SHOP DRAWING REVIEW STAMPS)

ATTACH THIS PAGE TO EACH COPY OF THE SHOP DRAWINGS OR CATALOG CUTS.