# SECTION 01410 (01 41 00)

## REGULATORY REQUIREMENTS

- GENERAL

  - SECTION INCLUDES

    - Description of Requirements.

    - Codes and Standards.

    - Governing Regulations and Authorities.

    - Submittals.

  - RELATED SECTIONS

    - Section 01420-References.

    - Section 01450-Quality Control.

  - DESCRIPTION OF REQUIREMENTS

    - General:

      - This section specifies procedural and administrative requirements for compliance with governing regulations and codes and standards imposed upon the Work.  These requirements include obtaining permits, licenses, inspections, releases and similar requirements associated with the regulations, codes and standards.

      - The term “Regulations” is defined to include laws, statutes, ordinances, and lawful orders issued by governing authorities, as well as those rules, conventions and agreements within the construction industry which effectively controls the performance of the Work regardless of whether they are lawfully imposed by governing authority or not.

      - Governing Authority:  For requirements related to compliance with governing regulations, refer to:

        - Document 00520-Agreement Form.

        - Document 00700-General Conditions of the Contract.

        - Document 00800-Supplementary Conditions of the Contract.

        - General Requirements:  Provisions and requirements of the Contract, the General Conditions of the Contract, the Supplementary Conditions of the Contract, and other Division 1 Specification Sections apply to the entire Work defined by the Contract Documents.  As such, there is no need to separately enumerate the application of those documents within the individual specification sections or the drawings.

  - DEFINITIONS

    - Basic Contract definitions are included in:

      - Document 00200-Instructions to Bidders.

      - Document 00520-Agreement Form.

      - Document 00625-Subcontractor’s Payment Bond.

      - Document 00700-General Conditions of the Contract.

      - Document 00800-Supplementary Conditions of the Contract.

      - Section 01610-Basic Product Requirements.

      - Section 01710-Examination.

      - Section 01745-Warranties.

    - Certain terms used in the Contract Documents are defined in this Section.  Definitions and explanations contained in this Section are not necessarily complete, but are general for the Work to the extent that they are not stated more explicitly in another document within the Contract Documents.

      - Indicated: refers to graphic representations, notes or schedules on the Drawings, or other Paragraphs or Schedules in Specifications, and similar requirements in Contract Documents.  Where terms such as "shown," "noted," "scheduled," and "specified" are used, it is to help locate the reference; no limitation on location is intended except as specifically noted.

      - Directed:  Terms such as "directed", "requested", "authorized", "selected", "approved", "required", and "permitted" mean "directed by the Project Consultant", "requested by the Project Consultant, and similar phrases.  However, no implied meaning shall be interpreted to extend the Project Consultant's responsibility into the Contractor's area of construction supervision.

      - Approve:  The term "approved," where used in conjunction with the Project Consultant's action on the Contractor’s submittals, applications, and requests, is limited to the duties and responsibilities of the Project Consultant as stated in the Contract, General and Supplementary Conditions of the Contract or other Division 1 Specifications.  Such approval shall not release the Contractor from responsibility to fulfill Contract requirements unless otherwise provided in the Contract Documents.

      - Furnish:  The term "furnish" is used to mean "supply and deliver to the Project site, ready for unloading, unpacking, assembly, installation, and similar operations."

      - Install:  The term "install" is used to describe operations at project site including the actual "unloading, unpacking, assembly, erection, placing, anchoring, applying, working to dimension, finishing, curing, protecting, cleaning, and similar operations."

      - Provide:  The term "provide" means "to furnish and install, complete and ready for the intended use."

      - Project Site: is the space available to the Contractor for performance of construction activities, either exclusively or in conjunction with others performing other construction activities as part of the Project.  The extent of the Project Site is shown on the Drawings and may or may not be identical with the description of the land upon which the Project is to be built.

      - Testing Laboratories:  A "testing laboratory" is an independent entity engaged to perform specific inspections or tests, either at the Project Site or elsewhere, and to report on and, if required, to interpret results of those inspections or tests.

  - CODES AND STANDARDS

    - Except where earlier editions are specifically indicated, latest adopted editions with current revisions and amendments of the following codes and standards are considered minimum requirements for materials, workmanship and safety where not covered elsewhere in these specifications.

    - Codes and Standards:  Obtain copies of the following regulations (unless otherwise indicated) and retain at the project site, available for reference by parties who have a reasonable need for such reference:

      - Comply with latest edition of The Florida Building Code (Building, Plumbing, Mechanical, Fuel Gas, High Velocity Hurricane Zones protocols and required product Notice of Acceptance (NOA)) with amendments that include reference to State Requirements for Educational Facilities, (SREF) as administered by the Florida Department of Education, Office of Educational Facilities, Tallahassee, Florida 23299.

      - All portions of the following codes and regulations are incorporated into and made a part of SREF:

        - AHERA.  Asbestos Hazard Emergency Response Act, 40 CFR, Part 763.

        - ANSI.  American National Standards Institute.  References to ANSI standards shall be the edition listed in the latest edition of the ANSI standards. Obtain copies of standards only as required in respective Specification Sections.

        - ASCE.  American Society of Civil Engineers.  References to ASCE standards shall be the edition listed in FBC. Obtain copies of standards only as required in respective Specification Sections.

        - ASHRAE.  American Society of Heating, Refrigeration, and Air Conditioning Engineers. Obtain copies of standards only as required in respective Specification Sections.

        - ASTM. American Society for Testing Materials.  References to ASTM standards shall be the edition listed in the latest edition of the ASTM standards. Obtain copies of standards only as required in respective Specification Sections.

        - DCA.  Department of Community Affairs.

          - Florida Americans With Disability Implementation Act, latest adopted edition

          - Florida Energy Efficiency Code for Building Construction (FEEC), latest adopted edition

          - Standards for radon resistant buildings.

        - FEMA.  Federal Emergency Management Agency.  Rules and Regulations 44 CFR, Parts 59 and 60, latest adopted edition, for flood plain criteria governing insurability of facilities constructed in flood plain.

        - NEC.  NFPA 70, National Electrical Code.

        - NFPA.  National Fire Protection Association. References to NFPA codes shall be the edition listed in the latest edition of the National Fire Codes.  Obtain copies of standards only as required in respective Specification Sections.

        - TMS.  The Masonry Society.  References to TMS standards shall be the edition listed in SREF.  Obtain copies of standards only as required in respective Specification Sections.

      - Conflicting Requirements: In the case of conflicting requirements where SREF is mute, the more, or most, stringent shall apply.

    - Other Regulatory Agencies.  Coordinate the Work with the following regulatory and permitting agencies as applicable, for  installation permits and inspections:

      - Department of Business and Professional Regulations (DBPR).

        - Elevators

      - Department of Environmental Protection (DEP) including the Regional Water Management Districts.

        - Water management and drainage.

        - Wells (Non-Potable Water).

        - Water treatment.

        - On site sewage disposal systems over 10,000 gallons per day.

        - Protection of ground water.

      - Department of Labor and Employment Security (DLES).  Inspections for work place safety.

      - Department of State (DOS).  Division of Historical Resources.  For new construction, remodeling, or renovation projects involving a facility, building, or site 50 years old or more and for discovered antiquities uncovered on site.

      - Department of Transportation (DOT). Off-site, state, city, and county access roads adjacent to property.

      - Department of Health and Rehabilitative Services (HRS).

        - On-site sewage disposal systems under 10,000 gallons per day.

        - Swimming pools.

        - Bio-hazardous wastes.

        - Facilities intended to house birth to age 3 children, including Teenage Parent Programs (TAP), shall meet HRS construction and licensing requirements, in addition to SREF requirements.

      - Division of Liquefied Petroleum Gas (LPG).  LPG is the regulatory authority for liquefied petroleum gas in the state. See Chapter 527, F.S.

      - Local Services:

        - The following local agencies will provide services or will have jurisdictional authority for permitting and inspection of the elements of the Work indicated:

        - Fire protection:

        - Police protection:

        - Necessary traffic control and safety devices:

        - Primary roads and emergency access:

        - Utilities and connection fees:

        - Historical resources:

        - Trash Removal Franchise:

        - General Construction Permitting Outside Owner’s Property Line:

  - GOVERNING REGULATIONS/AUTHORITIES

    - Coordinate inspections and regulatory requirements of the agencies specified above under provisions of Section 01450-Quality Control.

    - Pay fees and obtain permits as specified elsewhere in the Contract Documents.

    - The organization of the Contract Documents is not intended to be an indication of jurisdictional or trade union agreements.

  - SUBMITTALS

    - Licenses and Certificates:  Submit copies of licenses, certifications, inspection reports, releases, jurisdictional settlements, notices, receipts for fee payments, judgments and similar documents, correspondence and records established in conjunction with compliance with standards and regulations bearing upon the performance of the Work.

- PRODUCTS-Not Used

- EXECUTION-Not Used

END OF SECTION