# SECTION 01540 (01 54 00)

## CONSTRUCTION AIDS

- GENERAL

  - SECTION INCLUDES

    - Construction Aids.

  - DESCRIPTION

    - Furnish, install and maintain required construction aids, remove on completion of work.

    - Modify or remove as required to accommodate each construction phase and as buildings are completed.

  - REQUIREMENTS OF REGULATORY AGENCIES

    - Comply with Federal, State and Local codes and regulations.

- PRODUCTS

  - GENERAL REQUIREMENTS FOR MATERIALS

    - Materials may be new or used, suitable for the intended purpose, but shall not violate requirements of applicable codes and standards.

  - CONSTRUCTION AIDS

    - Provide construction aids and equipment required by personnel and to facilitate the execute of the Work: scaffolds, staging, ladders, stairs, ramps, runways, platforms, railings, hoists, cranes, chutes, and other such facilities and equipment.

    - Refer to respective Specification Sections for particular requirements for each trade.

    - Maintain all facilities and equipment in an operable, clean and fully functional condition.

    - Store and protect construction aids when not in direct use for the Work.

- EXECUTION

  - PREPARATION

    - Consult with Project Consultant, review site conditions and factors, which affect construction procedures and construction aids, including adjacent properties and public facilities which may be affected by execution of the Work.

  - GENERAL REQUIREMENTS

    - Comply with applicable requirements specified in the remainder of Division 1 and for all sections within Divisions 2 through 17.

    - Relocate construction aids as required by progress of construction, by storage or work requirements, and to accommodate legitimate requirements of Owner and other Contractors employed at the site.

  - REMOVAL

    - Completely remove temporary materials, equipment and services:

      - When construction needs can be met by use of permanent construction.

      - At completion of the project.

    - Clean, repair damage caused by installation or by use of temporary facilities.

      - Remove foundations and underground installations for construction aids.

      - Grade the areas of the site affected by temporary installations to required elevations and slopes and clean the area.

END OF SECTION