# SECTION 01550 (01 55 00)

## VEHICULAR ACCESS AND PARKING

GENERAL

SECTION INCLUDES

Preparation.

Flag Persons.

Flares and Lights.

Traffic Signs and Signals.

Haul Routes.

Access Roads.

Construction Parking Controls.

Parking.

Existing Pavements and Parking Areas.

Permanent Pavements and Parking Facilities.

Maintenance.

Removal and Repair.

Mud From Site Vehicles.

RELATED SECTIONS

Section 01110-Project Management and Coordination:  Project coordination.

Section 01510-Temporary Construction:  Temporary construction.

Section 01520-Construction Facilities:  Temporary buildings and other temporary facilities.

Section 01580-Project Identification:  Traffic directional and control signage.

Section 02200-Earthwork.

Section 02747-Asphaltic Concrete Paving for Parking and Drives.

PRODUCTS

MATERIALS

Temporary Construction:  Contractor’s option.

Earthwork, Paving Base and Topping that Will Become Permanent Construction:  As specified in Specification Sections in Divisions 2 through 16.

SIGNS, SIGNALS, and DEVICES

Post Mounted and Wall Mounted Traffic Control and Informational Signs:  Specified in Section 01580-Project Identification and Section 02890-Signs and Signalization.

Temporary Traffic Control Signals:  As approved by local jurisdictions.

Traffic Cones and Drums, Flares and Lights:  As approved by local jurisdictions.

Flag Person Equipment:  As required by local jurisdictions.

EXECUTION

PREPARATION

************************************************************************************************************************

NOTE TO SPECIFIER:  Select from the following.

************************************************************************************************************************

Clear Areas:  Provide surface [and storm] drainage of road, parking, area premises, and adjacent areas.

FLAG PERSONS

Provide trained and equipped flag persons to regulate traffic when construction operations or traffic encroach on public traffic lanes.

FLARES and LIGHTS

Use flares and lights during hours of low visibility to delineate traffic lanes and to guide traffic.

TRAFFIC SIGNS and SIGNALS

At approaches to site and on site, install at crossroads, detours, parking areas, and other amenities elsewhere as needed to direct construction and affected public traffic.

Install and operate traffic control signals as necessary to direct and maintain orderly flow of traffic in areas under Contractor’s control, and areas affected by Contractor’s operations.

Relocate as Work progresses, to maintain effective traffic control.

HAUL ROUTES

Consult with authority having jurisdiction, establish public thoroughfares to be used for haul routes and site access.

****** [OR] ******

A.	Drawings indicate haul routes designated by authorities for use of construction traffic.

Confine construction traffic to designated haul routes.

Provide traffic control at critical areas of haul routes to regulate traffic, and to minimize interference with public traffic.

ACCESS ROADS

Construct temporary access roads from public thoroughfares to serve construction area, of a width and load bearing capacity to provide unimpeded traffic for construction purposes.

Construct temporary bridges and culverts to span low areas and allow unimpeded drainage.

Extend and relocate, as Work progress requires, provide detours as necessary for unimpeded traffic flow.

Location as indicated on Drawings.

Provide unimpeded access for emergency vehicles.  Maintain 20-foot width driveways with turning space between and around combustible materials.

Provide and maintain access to fire hydrants and control valves free of obstructions.

CONSTRUCTION PARKING CONTROL

Control vehicular parking to prevent interference with public traffic and parking, access by emergency vehicles, and Owner's operations.

Monitor parking of construction personnel's vehicles in existing facilities.  Maintain vehicular access to and through parking areas.

Prevent parking on or adjacent to access roads or in non-designated areas.

PARKING

************************************************************************************************************************

NOTE TO SPECIFIER:  Select from the following.

************************************************************************************************************************

[Arrange for] [Provide] [Construct] temporary parking areas to accommodate use of construction personnel.

When site space is not adequate, provide additional off-site parking.

Locate as indicated on Drawings.

EXISTING PAVEMENTS and PARKING AREAS

Use of designated existing on-site streets and driveways used for construction traffic is permitted.  Tracked vehicles not allowed on paved areas.

Use of designated areas of existing parking facilities used by construction personnel is not permitted.

Do not allow heavy vehicles or construction equipment in parking areas.

PERMANENT PAVEMENTS and PARKING FACILITIES

The base for permanent roads and parking areas may be used for construction traffic.

Avoid traffic loading beyond paving design capacity.  Tracked vehicles not allowed.

MAINTENANCE

Maintain traffic and parking areas in a sound condition free of excavated material, construction equipment, Products, mud or other debris.

Maintain existing and permanent paved areas used for construction; promptly repair breaks, potholes, low areas, standing water, and other deficiencies, to maintain paving and drainage in original, or specified, condition.

REMOVAL, REPAIR

Remove temporary materials and construction when permanent paving is usable.

Remove underground work and compacted materials to a depth of 2 feet; fill and grade site as specified.

Repair existing or permanent facilities damaged by use, to original or specified condition, whichever is most stringent.

Remove equipment and devices when no longer required.

Repair damage caused by installation.

Remove post settings to a depth of 2 feet.

MUD FROM SITE VEHICLES

Provide means of removing mud from vehicle wheels before entering streets.

END OF SECTION