# SECTION 01663 (01 66 00)

## PRODUCT DELIVERY, STORAGE, AND HANDLING REQUIREMENTS

- GENERAL

  - SECTION INCLUDES

    - Product Transportation and Delivery.

    - Product Storage, Protection and Handling.

  - RELATED DOCUMENTS

    - Document 00520-Agreement Form:  Stored Materials.

    - Section 01290-Payment Procedures.

    - Section 01320-Construction Progress Documentation.

    - Section 01450-Quality Control.

  - PRODUCT TRANSPORTATION AND DELIVERY

    - Transport and handle products in accordance with manufacturer’s instructions.

    - Schedule delivery to minimize long-term storage at the site and to prevent overcrowding of construction spaces.

    - Coordinate delivery with installation time to ensure minimum holding time for items that are flammable, toxic, easily damaged, or sensitive to deterioration, theft and other losses.

    - Deliver products to the site in the manufacturer's original sealed container or other packaging system, complete with labels and instructions for handling, storing, unpacking, protecting and installing.

    - Promptly inspect shipments to assure that products comply with requirements, quantities are correct, and products are undamaged.

    - Provide equipment and personnel to handle products by methods to prevent soiling, disfigurement, or damage.

    - Keep and maintain shipping receipts, damage reports, and other shipping/delivery documentation as project records.

    - Defective materials and products shall not be acceptable.

  - PRODUCT STORAGE, PROTECTION AND HANDLING

    - Store products at the site in a manner that shall facilitate inspection and measurement of quantity or counting of units.

    - Periodically inspect storage areas to assure products are undamaged and are maintained under specified conditions.

    - Make stored materials available for Owner’s inspection and inventory prior to and on dates of project meetings.

    - Store and protect products in accordance with manufacturer's instructions, with seals and labels intact and legible.

    - Protect sensitive materials from weather and climate.

    - Maintain temperature and humidity within range required by manufacturer's instructions.

    - Store heavy materials away from the Project structure in a manner that shall not endanger the supporting construction.

    - Exterior Storage:

      - Store fabricated products above ground on blocking or skids to prevent soiling or staining.

      - Cover products subject to deterioration with impervious sheet covering.

        - Provide ventilation to avoid condensation.

        - Ensure Adequate Drainage:  Shall not allow standing water on top of impervious sheeting.

      - Loose Granular Materials (including sands and other aggregates):

        - Store on well drained solid surfaces only.

        - Cover with impervious sheet covering or provide other weatherproof enclosure.

      - Prevent mixing with ground, run-off, sprayed or spilled contaminants.

    - Provide equipment and personnel to store and handle products by methods to prevent soiling, disfigurement, or damage.

    - Replace materials improperly transported, stored or handled at no additional cost to the Owner.

    - Defective materials or products shall not be acceptable.

- PRODUCTS-Not Used

- EXECUTION-Not Used

END OF SECTION