# SECTION 01745 (01 78 36)

## WARRANTIES

GENERAL

SECTION INCLUDES

General administrative and procedural requirements for manufacturers' standard or special warranties on products as specified.

Warranty Requirements.

RELATED SECTIONS

01770-Closeout Procedures.

01780-Closeout Submittals.

DISCLAIMERS and LIMITATIONS

Manufacturer’s disclaimers and limitations on product warranties do not relieve the Contractor of the warranty on the Work incorporating the products, nor does it relieve suppliers, manufacturers, or subcontractors required to countersign special warranties with the Contractor.

DEFINITIONS

Refer to Section 01780-Closeout Submittal.

WARRANTY REQUIREMENTS

Refer to Section 01780-Closeout Submittal.

Related Damages and Losses:  When correcting warranted Work that has failed, remove and replace other Work damaged because of such failure or that shall be removed and replaced to provide access for correction of warranted Work, at no cost to the Owner.

Correction of work shall include shipping, labor, supervision, and related work involved in replacing defective parts or materials provided by manufacturers under their warranties.

Reinstatement of Warranty:  When Work covered by a warranty has failed and been corrected by replacement or rebuilding, reinstate the warranty by written endorsement. The reinstated warranty shall be equal to the original warranty with an equitable adjustment for depreciation.

Replacement Cost:  Upon determination that Work covered by a warranty has failed, replace or rebuild the Work to an acceptable condition complying with requirements of Construction Documents.

Owner’s Recourse:  Written warranties made to the Owner are in addition to implied warranties, and shall not limit the duties, obligations, rights, and remedies otherwise available under the law, nor shall warranty periods be interpreted as limitations on time in which the Owner can enforce other duties, obligations, rights, or remedies.

Rejection of Warranties:  The Owner reserves the right to reject warranties and to limit selections to products with warranties not in conflict with requirements of the Construction Documents.

Warranties made by subcontractors to the Contractor are a part of the Contractor's responsibility to the Owner.

The Owner reserves the right to refuse acceptance of Work where a special warranty, certification, or similar commitment is required on such Work or part of the Work, until evidence is presented that entities required to countersign such commitments have done so.

SUBMITTALS (Refer to Section 01780-Closeout Submittal)

PRODUCTS-Not Used

EXECUTION-Not Used

END OF SECTION