# SECTION 01760 (01 76 00)

## PROTECTION OF INSTALLED CONSTRUCTION

- GENERAL

  - SECTION INCLUDES

    - Protection of Installed Construction.

  - RELATED DOCUMENTS

    - Section 01560-Temporary Barriers and Enclosures

    - Section 01720-Preparation.

    - Section 01740-Cleaning.

  - GENERAL REQUIREMENTS

    - Protection:

      - During handling and installation, protect construction in progress and adjoining materials in place.

      - Apply protective covering where required to ensure protection from damage or deterioration until Owner occupancy.

      - Maintain completed construction as frequently as necessary through the remainder of the construction period under provisions of Section 01740-Cleaning.

      - Adjust and lubricate operable components to ensure operability without damaging effects.

    - Limiting Exposures:  Refer to Section 01720-Preparation.

    - PRODUCTS-Not Used

    - EXECUTION

  - PREPARATION

    - Refer to Section 01720-Preparation.

  - PROTECTION OF INSTALLED WORK

    - Protect installed Work and provide special protection where specified in respective Sections of Divisions 1 through 16.

    - Provide temporary and removable protection for installed products.

    - Control traffic in immediate area of installed Work to minimize damage.

    - Provide protective coverings at walls, projections, jambs, sills, and soffits of openings.

    - Protect finished floors, stairs and other finished surfaces with durable sheet materials to protect from traffic, dirt, wear, damage, or movement of heavy objects.

    - Prohibit traffic and storage on waterproofed or roofed surfaces.  If traffic or activity on such surfaces is necessary, obtain recommendation from waterproofing or roofing manufacturer and provide protection accordingly.

    - Prohibit traffic on lawn and landscaped areas.

    - Shall not allow wheeled or tracked vehicles on surfaces or areas not designed for their support or which shall be otherwise damaged.

END OF SECTION