# SECTION 01760 (01 76 00)

## PROTECTION OF INSTALLED CONSTRUCTION

GENERAL

SECTION INCLUDES

Protection of Installed Construction.

RELATED DOCUMENTS

Section 01560-Temporary Barriers and Enclosures

Section 01720-Preparation.

Section 01740-Cleaning.

GENERAL REQUIREMENTS

Protection:

During handling and installation, protect construction in progress and adjoining materials in place.

Apply protective covering where required to ensure protection from damage or deterioration until Owner occupancy.

Maintain completed construction as frequently as necessary through the remainder of the construction period under provisions of Section 01740-Cleaning.

Adjust and lubricate operable components to ensure operability without damaging effects.

Limiting Exposures:  Refer to Section 01720-Preparation.

PRODUCTS-Not Used

EXECUTION

PREPARATION

Refer to Section 01720-Preparation.

PROTECTION OF INSTALLED WORK

Protect installed Work and provide special protection where specified in respective Sections of Divisions 1 through 16.

Provide temporary and removable protection for installed products.

Control traffic in immediate area of installed Work to minimize damage.

Provide protective coverings at walls, projections, jambs, sills, and soffits of openings.

Protect finished floors, stairs and other finished surfaces with durable sheet materials to protect from traffic, dirt, wear, damage, or movement of heavy objects.

Prohibit traffic and storage on waterproofed or roofed surfaces.  If traffic or activity on such surfaces is necessary, obtain recommendation from waterproofing or roofing manufacturer and provide protection accordingly.

Prohibit traffic on lawn and landscaped areas.

Shall not allow wheeled or tracked vehicles on surfaces or areas not designed for their support or which shall be otherwise damaged.

END OF SECTION