# SECTION 01820 (01 79 00)

## DEMONSTRATION AND TRAINING

PART 1 GENERAL

- SECTION INCLUDES

    - Demonstration and Instructions.

    - Documentation of Demonstration and Instructions.

    - Commissioning Coordination.

    - RELATED DOCUMENTS

    - Section 01430-Quality Assurance.

    - Section 01450-Quality Control.

    - Section 01750-Starting and Adjusting.

    - Section 01770-Closeout Procedures.

    - Section 01780-Closeout Submittals.

    - DEMONSTRATION AND INSTRUCTIONS

    - Demonstrate operation and maintenance of products to Owner's personnel 2 weeks prior to date of Substantial Completion.

    - Demonstrate Project equipment and systems on site to the Owner’s personnel.

      - Demonstrate start-up, operation, control, adjustment, trouble-shooting, servicing, maintenance, and shutdown of each item of equipment at scheduled times, at equipment location.

      - Ensure comprehensive demonstration of all features, capabilities, and controls.

    - Provide additional training concerning operator safety, maintenance, operation, trouble-shooting and other related topics in an Owner designated classroom environment.

    - Provide demonstration and classroom instruction by trained instructors and manufacturer’s representatives who are knowledgeable about the Work and its component systems, assemblies, equipment, and products.

    - For equipment or systems requiring seasonal operation, perform demonstration for other season within 6 months.

    - Utilize operation and maintenance manual content as basis for instruction.  Review contents of manual with Owners' personnel in detail to explain all aspects of operation and maintenance.

    - Prepare and insert additional data in operations and maintenance manuals when need for additional data becomes apparent during instruction.

    - Attendance form shall be fill-in by Contractor for each demonstration or training session.  Contractor shall submit form with closeout submittals.  (See Document 01820a-Contractor’s Demonstration and Training Attendance Form).

    - DOCUMENTATION OF DEMONSTRATIONS AND INSTRUCTIONS

    - Video demonstrations and instructions of system startup and operation.

    - Provide standard Video Digital Media to be submitted to Owner as a closeout submittal under provisions of Section 01780-Closeout Submittals.

    - Video identification:

      - Provide protective sleeve or plastic box packaging for all Video Digital Media.

      - Clearly label media contents using indelible ink on adhesive labels on both the individual tapes and protective sleeves/plastic boxes.

    - Manufacturer's Instruction Videos:  Original Video Digital Media, in original packaging, as prepared by system or equipment manufacturers may be provided to supplement instruction and demonstration specified above.  Video demonstration and instruction concerning the specific systems, equipment, and components as specified above must be provided in addition to any manufacturer prepared videos.

    - Submit Demonstration Report with Closeout Documents of all Demonstrations done to include;

      - Description of equipment and systems demonstrated.

      - Sing-in-sheet of all participants and sign-off after demonstration for each.

      - Participant comments and/or required follow-up, when applicable.

PART 2 PRODUCTS-Not Used

PART 3 EXECUTION-Not Used

END OF SECTION