# SECTION 10125 (10 11 26)

## TACKABLE WALL SYSTEM

- GENERAL

  - SECTION INCLUDES

    - Tackable wall system and accessories.

  - RELATED SECTIONS

      - 06100-Carpentry.

      - 09250-Gypsum Board.

      - 10100-Visual Display Boards and Cases.

  - REFERENCES

    - American Society for Testing of Materials (ASTM).

      - E84-Surface Burning Characteristics of Materials.

      - E662-Specific Optical Density of Smoke Generated by Solid Materials.

    - GREENGUARD Product Emission Standard for Children & Schools.

    - California Department of Health Services Standard Practice for The Testing Of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers, including 2004 Addenda.

  - SYSTEM DESCRIPTION

    - Covered panels laminated to rigid backer.

  - SUBMITTALS

    - Product Data:  Submit properly identified manufacturer’s literature including material specifications, installation instructions and other data as required by the Project Consultant to show compliance with specifications.

      - Low Emitting Materials.

        - Submit manufacturer’s Material Safety Data Sheet Indicating VOC limits of all products.

        - Submit manufacturer’s certification that all products comply with Standard Practice for The Testing Of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers, including 2004 Addenda.  California Department of Health Services or GREENGUARD Product Emission Standard for Children & Schools.

      - Recycled Content:

        - Indicate recycled content; indicate percentage of pre-consumer and post-consumer recycled content per unit of product.

        - Indicate relative dollar value of recycled content product to total dollar value of product included in project.

        - If recycled content product is part of an assembly, indicate the percentage of recycled content product in the assembly by weight.

        - If recycled content product is part of an assembly, indicate relative dollar value of recycled content product to total dollar value of assembly.

  - WARRANTY

    - Provide manufacturer’s 1 year guaranty against defects in material or workmanship.

- PRODUCTS

  - MANUFACTURER

    - Subject to compliance with the specified requirements, provide products by one of the following manufacturers:

      - AARCO Products, Inc.

      - ADP Lemco, Inc.

      - American Visual Display Products, LLC

      - (Basis of Design) Claridge Products and Equipment, Inc.

  - MATERIALS

    - All tackable wall system materials shall contain recycled content.

    - Composition:  Vinyl facing shall meet or exceed federal regulations CCC-W-408-A Type III and shall not weigh less than 22 ounces per square yard.  Vinyl facing shall have Class A finish with a flame spread index (ASTM E84) 0-25; and a smoke development index (ASTM E662) 0-480.

    - Wall Panels:  “Fabricork” Model #1381-FREW 7/16 inch thick fire rated fiberboard, 4’-0” wide 1/2 inch thick for surface installation with edge wrapped panels that butt each other

    - Accessories:

      - Provide manufacturer’s standard satin anodized aluminum edge molding and corner trim at exposed panel edges.

    - Fabric:  From manufacturer’s standard selection chart.  Cover wall panels with specified fabric by the manufacturer, edge wrapped, prior to shipping and delivering to the site.

    - Adhesives:

      - VOC content of all adhesives shall comply with California Department of Health Services Standard Practice for The Testing Of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers, including 2004 Addenda or GREENGUARD Product Emission Standard for Children & Schools.

- EXECUTION

  - EXAMINATION

    - Do not proceed with the work of this section until conditions detrimental to the proper and timely completion of the work have been corrected in an acceptable manner.

  - INSTALLATION

    - Install tackable wall system in accordance with manufacturer’s printed instructions.

    - Install vinyl tack wall on vertical furring at 16 inches o.c.  Leave a continuos ventilation space behind the tack wall, and along the top and bottom edges of the tack wall to prevent the build up of condensation.  Align and fasten the wood furring to metal wall studs with 2 inch bugle head type “s” screws at maximum 12 inches o.c. spacing.  Do not install furring in horizontal position behind tackboard.

    - Do not install tackable wall system on interior surface of exterior of perimeter walls.  Locate tackable wall system only on interior surface of interior walls.  No exceptions.

END OF SECTION