# SECTION 10280 (05 51 00.11)

## PREFABRICATED METAL RAMPS and WALKWAYS

- GENERAL

  - SECTION INCLUDES

    - Prefabricated metal ramps and walkways.

  - RELATED SECTIONS

    - Section 01572-Construction Waste Management.

  - SUBMITTALS

    - Product Literature must be submitted with bid.

      - Recycled Content:

        - Indicate recycled content; indicate percentage of pre-consumer and post-consumer recycled content per unit of product.

        - Indicate relative dollar value of recycled content product to total dollar value of product included in project.

        - If recycled content product is part of an assembly, indicate the percentage of recycled content product in the assembly by weight.

        - If recycled content product is part of an assembly, indicate relative dollar value of recycled content product to total dollar value of assembly.

    - Copy of warranty to be executed.

    - Shop Drawings:  Include detailed shop drawings.

    - Engineering:  Provide sealed professional engineering drawings.

  - QUALITY ASSURANCE

    - All components shall be universal so that a ramp system can be relocated and assembled into many different configurations.

    - Design of the aluminum members shall conform to the Current Edition of the Aluminum Association Specifications for Aluminum Structures.

    - Aluminum welding shall be in accordance with the ANSI/AWS D1.2-90 gas metal arc welding process and shall be performed by experienced operators.

    - All exposed surfaces shall be smooth and free of sharp or jagged edges.

  - WARRANTY

    - Manufacturer warrants its products shall be free from defects in material and workmanship in the course of manufacturing for a period of three years beginning at date of delivery of product.  This warranty excludes any defects resulting from abnormal use in installation, service, accidental or intentional damage or any occurrences beyond the manufacturer’s control.

- PRODUCTS

  - MANUFACTURER

    - Manufacturer:  Universal Ramp Systems, A Division of REDD Team Mfg by Sapa., Inc., P. O. Box 658, Keystone Heights, FL 32656.  Toll free:  1-800-648-3696 or (352) 473-7246, Fax (352) 473-0219.  Any alternate manufacturer must be approved prior to bid opening.

  - MATERIALS

    - All prefabricated metal ramp products are to contain recycled content.

  - RAMP SECTIONS

    - Engineering

      - Ramp sections shall be designed for a minimum uniform live load of 100 pounds per square foot and a concentrated vertical load of 300 pounds distributed uniformly over an area of 1 square foot.

    - Materials

      - Ramp sections shall be all aluminum construction alloy 6063-T6.

    - Design

      - Ramp sections shall be prefabricated in typical 6 feet, 8 feet and 10 feet lengths.  Custom lengths shall be fabricated as requested.

      - All ramp sections shall be designed for variable heights and slopes.

- ***************************************************************************************************************

- NOTE TO SPECIFIER:  Make selection below.

- ***************************************************************************************************************

      - Ramp walking surface width shall be:

      - 36 inches	 48 inches	 60 inches	 other

      - The walking surface of the ramp shall be continuous, without gaps, and shall be 1-1/2 inch x 6 inch self-mating aluminum deck with extruded slip resistant surface.  Coefficient of friction shall be 0.93.

      - All ramp sections shall have a 3 inch minimum curb or toe plate.

  - LANDINGS

    - Engineering

      - Landings shall be designed for a minimum uniform live load of 100 pounds per square foot and a concentrated vertical load of 300 pounds distributed uniformly over an area of 1 square foot.

    - Materials

      - Landings shall be all aluminum construction alloy 6063-T6.

    - Design

      - Landings shall be prefabricated in typical 5’-4” X 5’-4” sections.  Larger sizes will be fabricated for specific applications as indicated on drawings.

      - Landings shall be designed for variable heights.

      - The walking surface of the landing shall be continuous, without gaps, and shall be 1-1/2 inch x 6 inch self-mating aluminum deck with extruded slip resistant surface.  Coefficient of friction shall be 0.93.

  - LEGS

    - Engineering

      - The legs shall be designed to support the ramp and landing sections. (See sections 3.1-A1 & 3.2-A1

    - Materials

      - Legs shall be all aluminum construction alloy 6063-T6.

      - All fasteners shall be stainless steel (18-8 Series).

    - Design

      - The legs shall telescope into the ramps and landings and shall allow for height and slope adjustments.  The legs shall be designed to swivel so that they will always be perpendicular to the ground and the load shall remain vertical regardless of the slope.

      - Legs shall be prefabricated in the following lengths: 1’-6”, 2’-6”, 3’-6”, 4’-6”, and 5’-6”.

      - All legs shall be through bolted using stainless steel bolts grade 304.

      - All legs shall have 1/4” X 6” X 10” pads.

  - 42” TALL VERTICAL PICKET GUARDRAILS WITH 34” AND OPTIONAL 26” HANDRAILS

    - Engineering

      - Guardrails shall be designed and constructed for a concentrated load of 200 pounds applied at any point and in any direction at the top of the guardrail.

      - Guardrails shall be designed and constructed for a load of 50 pounds per linear foot applied horizontally at the required guardrail height and a simultaneous load of 100 pounds per linear foot applied vertically downward at the top of the guardrail.

      - Guardrails shall be designed and constructed to resist a 200 pound concentrated horizontal load applied over a one square foot area at any point in the system.  Note:  The above loading shall not be applied simultaneously.

    - Materials

      - All handrails and guardrails shall be aluminum construction alloy 6063-T6.

    - Design

      - Handrail gripping surface shall be smooth and continuous throughout ramp sections and landings.

      - The (upper) handrail shall be 1-1/2 inch outside diameter schedule 40 pipe.  The top of the (upper) handrail shall be placed 34” above the walking surface.

      - Optional lower handrail shall be 1-1/4 inch outside diameter round tube.  The top of the lower handrail shall be 26” above the walking surface.

      - Guardrails shall form a protective barrier of a minimum of 42” high on landings and ramp sections.  Guardrails shall be designed such that a 4” sphere cannot pass through any opening.

  - FINISHING

- ***************************************************************************************************************

- NOTE TO SPECIFIER:  Make selection below.

- ***************************************************************************************************************

      - Handrails and guardrails shall be anodized to a clear satin finish, AA M10 C22 A31.

      - Handrails and guardrails shall be mill finish.

      - Other.

END OF SECTION