# SECTION 11400 (11 40 00)

## FOOD SERVICE EQUIPMENT

GENERAL

SECTION INCLUDES

Food service equipment including installation and connection to utility services.

RELATED SECTIONS

Division-15 for water supply, drainage, gas, and piping.

Division-16 for electrical connections.

REFERENCES

American Society for Testing Materials (ASTM):

ASTM A167, Specification for Stainless and Heat-Resisting Chromium-Nickel Steel Plate, Sheet and Strip.

ASTM A446, Specification for Steel Sheet, Zinc-Coated (Galvanized) by the Hot-Dip Process, Structural (Physical) Quality.

ASTM C1036, Specification for Flat Glass.

ASTM C1048, Specification for Heat Treated Flat Glass-Kind HS, Kind FT Coated and Uncoated Glass.

American Welding Society (AWS):  AWS D1.1-88, Structural Welding Code-Steel.

National Electrical Manufacturers Association (NEMA):  NEMA LD-3-80, Application, Fabrication and Installation of High-Pressure Decorative Laminates.

National Sanitation Foundation (NSF).

Underwriters Laboratories Listing (UL).

SUBMITTALS

Shop Drawings:  Indicate in large scale detail, fabricated equipment showing construction methods, type and gage of metal, hardware and fittings, plan front elevation, a minimum of 1 cross-section, and utility requirements as to types and sizes and locations.  Illustrate complicated parts of typical items in cut-away perspective.  For control systems, indicate service connections, characteristics, and wiring diagrams.

Product Data:  Provide data on appliances; indicate configuration, sizes, materials, finishes, locations, utility connections and locations.

Samples:  Submit samples of stainless steel and other finish materials for color selection.

Manufacturer’s Installation Instructions:  Indicate special procedures and perimeter conditions requiring special attention.

Manufacturer’s Certificate:  Certify that exhaust system and tests meet or exceed specified requirements.

Operation and Maintenance Data:

Operation Data:  Provide simplified sequence of operation and utility connection diagram for exhaust hood geared to a non-technical individual of high school education explaining system operation and corresponding to actual devices.  After approval, mount 1 copy of sequence of operation behind plexiglass or Lexan cover applied to interior side of panel hinged cover.

Maintenance Data:  Provide lubrication and periodic maintenance requirement schedules.

QUALITY ASSURANCE

Cooler and Freezer Units:  Listed by Underwriters Laboratories, Inc. (UL).

Electrical Wiring and Components:  Conform to Underwriters Laboratories, Inc. (UL) standards.

Fabricated Equipment:  Conform to National Sanitation Foundation (NSF) standards.

Fabricator:  Company specializing in manufacture of commercial food services equipment with minimum 3 years documented experience.

Regulatory Requirements:

Conform to applicable code for utility requirements.

Products Requiring Electrical Connection: Listed and classified by Underwriters’ Laboratories, Inc. as suitable for the purpose specified and indicated.

Energy Ratings:  Provide appliances with energy guide labels with energy cost analysis (annual operating costs) and efficiency information as required by Federal Trade Commission.

Provide all appliances that are Energy Star Rated.

DELIVERY, STORAGE and HANDLING

Store products clear of floor in a manner to prevent damage.

Coordinate size of access and route to place of installation.

EXISTING CONDITIONS

Ensure existing equipment designated to be removed from the project site is disconnected, packed, and delivered to an Owner designated location within the School Board of Broward County, Florida, before starting the Work.

WARRANTY

Provide manufacturer’s standard warranty under provisions of Section 01780-Closeout Submittals.

Include coverage of scheduled equipment, including disconnection of defective unit, and connection of replacement unit.

PRODUCTS

MATERIALS

Sheet Steel:  ASTM A446; 1.25 ounce per square foot galvanized coating.

Stainless Steel:  ASTM A167; Type 304 commercial grade, No. 4 finish.

Glass:  3/16 inch float conforming to ASTM C1036 and ASTM C1048; exposed edges ground; cut or drilled to receive hardware.

Plastic Laminate:  NEMA LD3; 0.050 inch thick; color as selected by Owner.

Laminate Backing Sheets:  LD3-BK20, 0.020 inch thick, unfinished plastic laminate.

Finish Hardware:  Manufacturer’s standard.

Work Surfaces:  Solid laminated maple.

Fittings:  Sink drains with crumb cup and waste fittings, faucets, and electrical outlets.

Service Outlet Covers and Escutcheons:  Stainless steel.

Sealants:  Under provisions of Section 07920-Joint Sealants.

Service Accessories and Connections:

Provide control switch or starter on each motor-driven appliance or heating element, under provisions of UL requirements.

Provide internal wiring for equipment, including electrical devices, wiring controls, and switches to a common junction box.

Provide suitable length of 4 wire cord with plugs to match building receptacles.

Provide lamps for fixtures in equipment.  Provide automatic door switches for refrigeration units.

Provide equipment with connection terminals, so that connections of plumbing, gas, steam, electrical, ventilation, and refrigeration services can be made. Where receptacles are specified for custom equipment, supply cut-outs and outlet boxes set in place accessible for connections of electrical work.

EQUIPMENT

Provide rough-in hardware, supports and connections, attachment devices, closure trim, and accessories.

Standard of Comparison:  Equipment specified is for clarity of description and as a standard of comparison and is those of the manufacturers indicated in the schedule at end of this Section.

FABRICATION

General Requirements:

Stainless Steel Fastenings and Fittings: Bolts and screws with countersunk flat heads at interior and exterior visible or accessible surfaces.  Use concealed fastenings where possible

Form edges smooth. Fabricate sheet material for work surfaces, facings, shelves, and drainboards of straight length in 1 continuous sheet when not over 12 feet in length.

Fix leg-mounted units by dowelling to floor with 1/4 inch stainless steel pins, where vibration or oscillation is anticipated.

Provide legs of adjustable, stainless steel feet.  Fasten legs to equipment securely and rigidly.

Install rubber or nylon button feet or other protective device on bearing surface of any item positioned on a finished surface.

Isolate rotating or reciprocating machinery to prevent noise and vibration.

Provide accommodation for site installation of other services or equipment.

Grind welds of stainless steel smooth and flush; polish to match adjacent surfaces.

Cut and drill components for service outlets and fixtures.

Shop assemble work where possible.

Load Carrying Counter Surfaces:  Reinforce frame support system and surfaces so that surfaces may safely support a load of 200 pounds concentrated on 1 square foot in any area or surface with no indentation showing on surface and with permanent set not exceeding 0.005 inches.

FINISHES

Metal (Except Stainless Steel):  Degrease and phosphate etch followed by primer and minimum 2 coats factory baked epoxy enamel, color as selected by Project Consultant from manufacturer’s currently available range of colors.

Plastic Laminate:  Color as selected by Project Consultant from manufacturer’s currently available range of colors.

Stainless Steel:  Number 4 finish (unless indicated otherwise).

Shop pre-finish all components.

Bituminous Paint:  Sound deaden internal surfaces of metal work and underside of metal counters and sinks.

EXECUTION

EXAMINATION

Verify existing conditions.

Verify ventilation outlets, service connections, and supports are correct and in required location.

Verify operational condition of existing equipment.  Report discrepancies or non-operational equipment to the Owner.

INSTALLATION

Use anchoring devices appropriate for equipment and expected usage.

Install items under provisions of manufacturers’ instructions.

Insulate to prevent electrolysis between dissimilar metals.  Provide sealant to achieve clean joint without crevices.

Weld and grind joints in stainless steel work tight, without open seams, where necessary due to limitations of sheet sizes or installation requirements.

Sequence installation and erection to ensure mechanical and electrical connections are 	achieved in an orderly and expeditious manner.

Cut, fit, and patch where necessary.  Coordinate work with others.

Cut and drill tops, backs or other elements for service outlets, fixtures, and fittings.

Provide cutting and patching of items of this Section required for the installation or services of equipment.

Move and reinstall in operating condition any existing food service equipment to accommodate new equipment in a complete working kitchen.  Ensure secure anchorage and proper electrical and plumbing fittings for proper operating condition.

EXISTING EQUIPMENT

Disconnect, move, store and re-install equipment, ready for utility connection.

Do work in cooperation with Owner so that normal function of services is minimally interrupted.

Clean and re-furbish existing equipment to be re-used to original condition.

Where required, remove existing equipment from site for repairs or alterations. Handle carefully and return in “like new” condition.

Re-Used Equipment:  Refer to Drawings and schedule at the end of this section.

ADJUSTING

Adjust new and existing equipment and apparatus to ensure proper working order and conditions.

Remove and replace equipment creating noise or vibration.

CLEANING

Remove masking or protective covering from stainless steel and other finished surfaces.

Wash and clean new and existing equipment.

Polish glass, plastic, hardware and accessories, fixtures and fittings.

DEMONSTRATION AND TESTING

Test existing and new equipment prior to demonstration.

At completion of work, provide qualified and trained personnel to demonstrate operation of each item of equipment and instruct Owner in operating procedures and maintenance.

Individual Performing Demonstration:  Fully knowledgeable of all operating and service aspects of equipment.

Start-up, test, and adjust existing and any new exhaust hoods using manufacturer’s authorized representatives.  Include control operation, wash system operation, fire system testing, bag test, and certification of system.

Existing and New Exhaust Hoods:  Provide services of manufacturer’s technical representative for an 8 hour day to instruct Owner’s personnel in operation and maintenance of control systems.

SCHEDULES

Refer to Educational Specifications-Food Service for equipment.

END OF SECTION