# SECTION 12610 (12 61 00)

## FIXED AUDIENCE SEATING

GENERAL

SECTION INCLUDES

Fixed upholstered chairs with self-rising mechanisms, aisle and intermediate standards.

Typical applications include the following:

Floor mounted chairs.

RELATED SECTIONS

Division 16 Electrical sections for electrical wiring and connections for aisle lights.

REFERENCES

American Welding Society (AWS):

AWS D1.1 Structural Welding Code-Steel.

AWS D1.3 Structural Welding Code-Sheet Steel.

American Institute of Steel Construction (AISC):

AISC-Design of Hot Rolled Steel Structural Members.

American National Standards Institute (ANSI).

American Iron & Steel Institute (AISI):

AISI-Design Cold Formed Steel Structural Members.

Aluminum Association (AA):

AA-Aluminum Structures, Construction Manual Series.

American Society for Testing Materials (ASTM):

ASTM A513-Electric-Resistance-Welded Carbon and Alloy Steel Mechanical Tubing.

ASTM D635- Rate of Burning and/or Extent and Time of Burning of Plastics in a Horizontal Position.

ASTM-Standard Specification for Properties of Materials.

National Forest Products Association (NFPA):

NFPA-National Design Specification for Wood Construction.

National Bureau of Standards/Products Standard (NBS/PS):

PS1-Construction and Industrial Plywood.

Americans with Disability Act (ADA):

ADA-Standards for Accessible Design.

SYSTEM DESCRIPTION

Structural Performance:  Engineer, fabricate and install fixed audience seating to the following structural loads without exceeding allowable design working stresses of materials involved, including anchors and connection.  Apply each load to produce maximum stress in each respective component of each audience seat unit.

Manufacturer's System Design Criteria:

Seats and Backs:

Shall exhibit moderate compound contours for supportive comfort avoiding excess anatomical pressures.

Seat shall be semi-cantilevered, self-centering, automatic three-quarter (3/4) lift with over center retract feature, for ease of passage and janitorial access.

Seat shall be tested and professionally certified through an independent testing laboratory to support and withstand an evenly distributed 600 lb. static load without failure or irregularities that would impair usefulness.

Self-lifting seat shall be tested and professionally certified through an independent testing laboratory to withstand 350,000 operating cycles without failure of seat mechanism or measurable component wear.

Seat shall be tested and professionally certified to withstand 10,000 impacts of a 40 lb. sandbag dropped on the center of the seat from each of the following heights: 6 inches, 8 inches, 10 inches, and 12 inches.  The rate of impacts shall be approximately 18 per minute with the total quantity of impacts equaling 40,000.

Back shall withstand an evenly distributed front or rear static load of 450 lbs.

Back shall be tested and professionally certified to withstand, without failure, 40,000 swinging impacts each to the front and rear of the back by means of two opposing 40 lb. sandbags.  The sandbags shall be moved horizontally and equally for 10,000 cycles each at the following distances of 6 inches, 8 inches, 10 inches, and 12 inches at a rate of 35 cycles per minute.

Back shall withstand, without failure, an evenly distributed Horizontal Traverse Static Load of 200 lbs.  The load shall be applied to the top of the back at a 45-degree angle to the row of seats.

Armrests shall be tested and professionally certified to withstand, without failure, a 200 lb. static load applied both perpendicular to and vertically down on the arm.

Materials (Flammability) shall satisfy applicable test, codes, standards, or requirements as follows:

Copolymer polypropylene shall have a burn rate of 1 inch or less per ASTM D635.

Upholstery materials shall meet requirements as set forth in the state of California Bureau of Home Furnishings Technical Bulletin 117.

Fire-performance Characteristics of Seat Padding: Provide seating that complies with test method: California Technical Bulletin 117

Cushioning and padding shall be self-extinguishing as defined in the requirements as set forth in the State of California Bureau of Home Furnishings Technical Bulletin 117.

SUBMITTALS

Shop Drawings:  Indicate fixed upholstered chair seating layout.  Show all equipment to be furnished with details of accessories to be supplied including necessary electrical service to be provided by others.

System Description:  Submit data documenting compliance with all System Description items listed above including Structural Performance, Manufacturer’s System Design Criteria, and Material Flammability.

Samples:  Seat materials and color finish as selected by Architect from manufacturers standard color finishes.

Manufacturer Qualifications:  Certification of insurance coverage and manufacturing experience of manufacturer

Installer Qualifications:  Installer qualifications indicating capability, experience, and manufacturer acceptance.

Engineer Qualifications:  Certification by a professional engineer registered in the state of Florida that the equipment to be supplied meets or exceeds the design criteria of this specification.

Operating/Maintenance Manuals:  Provide to Owner maintenance manual.  Demonstrate operating procedures.

Warranty:  Manufacturers warranty documents.

QUALITY ASSURANCE

Welding Standards & Qualification:  Comply with AWS D1.1 Structural Welding Code - Steel and AWS D1.3 Structural Welding Code - Sheet Steel.

Manufacturer Qualifications:  Manufacturer who has 10 years of experience manufacturing spectator seating equipment.

Installer Qualifications:  Engage experienced Installer who has specialized in installation of audience seating similar to types required for this project and who is acceptable to, or certified by, fixed upholstered chair seating manufacturer.

Engineer Qualifications:  Engage professional engineer licensed in the state of Florida, experienced in providing engineering services of the kind indicated that have resulted in the successful installation of audience seating similar in material, design, fabrication, and extent to those types indicated for this project.

DELIVERY, STORAGE and HANDLING

Deliver fixed upholstered chair seating in manufacturers packaging clearly labeled with manufacturer name and content.

Handle seating equipment in a manner to prevent damage.

Deliver the seating at a scheduled time for installation that will not interfere with other trades operating in the building.

PROJECT CONDITIONS

Field Measurements:  Coordinate actual dimensions of construction affecting fixed upholstered chair seating installation by accurate field measurements before fabrication.  Show recorded measurements on final shop drawings.  Coordinate field measurements and fabrication schedule with construction progress to avoid delay of Work.

WARRANTY

Submit manufacturer's standard warranty form for fixed upholstered chairs.  This warranty is in addition to, and not a limitation of other rights Owner may have under Contract Documents.

Warranty Period:  5 years.

Beneficiary:  Issue warranty in legal name of project Owner.

Warranty Acceptance:  Owner is sole authority who will determine acceptance of warranty documents.

MAINTENANCE

Replacement Seat and Back Covers:  Provide a quantity of 10 cut and sewn seat and back covers with the auditorium chairs.  Produce covers at the same time, using same fabric as material for chair construction, properly packaged to the owner upon completion of the seat installation.

PRODUCTS

MANUFACTURERS

Acceptable Manufacturers:  Subject to compliance with the specified requirements, provide products by one of the following manufacturers:

Hussey Seating Company; Quattro Classic Series Chair System Model:  S3ACHSF2P.

Irwin Marquees Chair; Model:  51566.

MATERIALS

Back Foam Type:  2 inch.

Seat Type:  Standard upholstery.

Armrest Type:  Plastic.

Standards:  Steel.

Chair Mount:  Floor.

End Panels:  Plastic laminate.

Product Accessories:  Tablet arms provided on every other chair, Removable chairs if needed to meet requirements, End Panels, Seat numbers, Row letters, ADA easy access standards.

Steel Tubing:  ASTM A513.

Steel Sheet/Coil: ASTM A607.

Drilled-in Expansion Anchors:  SAE grade 2

Exposed Hardwood Lumber:  Hardwood Species:  Birch.

Concealed Plywood:  Engineered Wood Association PS1:  Poplar.

Exposed Plywood:  Hardwood Plywood ANSI/HPVA-1:  Birch.

Medium Density Fiberboard:  ANSI A208-2.

Plastic Laminate:  NEMA LD3.1, GP 48.

Polyurethane Foam Padding:  ASTM D3574.

Fabric:  100 percent Marquesa Lana continuous filament Olefin in the following standard selections:

Fabric shall have 13 fill picks per inch, 13 warp ends per inch, weighing 16 oz.  per linear yard including backing.

Fabric shall have 13 fill picks per inch, 13 warp ends per inch, weighing 18 oz.  per linear yard including backing.

Fabric shall have 16 fill picks per inch, 19 warp ends per inch, weighing 12 oz.  per linear yard including backing.

Molded plastic:  Virgin high density polypropylene or nylon 6/6.

FABRICATION

Upholstered Gravity Fold/Spring Assist Seats:

The seat assembly shall consist of a padded and upholstered top surface, a bottom shell with dual contours, and a gravity fold lifting mechanism with spring assist.  Seat shall have the ability to achieve a full fold position when rearward pressure is applied.  Seat shall be ergonomic engineered.

Upholstery Pad:  The upholstered seat topper shall consist of a 5/8 inch thick molded ply form base with contoured molded polyurethane foam padding and fabric upholstered cover.  Seat padding shall be properly contoured to support the body without causing discomfort.  The upholstered seat cover shall exhibit a high degree of tailoring and will be affixed to the base with upholstery staples.

Gravity Fold/Spring Assist Seat Mechanism:  Seat lifting mechanism shall use lifting springs to provide whisper quiet fail-safe operation.  The seat structure shall rotate on a 5/8 inch spanner bar to eliminate binding due to irregular floor conditions.  Seats shall be certified to withstand 350,000 lifting cycles and a 600 lb static load without failure.

Standard Bottom Cover:  Seat shell/bottom shall be constructed of polypropylene plastic to provide a durable yet aesthetic design.  The cover shall protect the mechanical parts of the lifting hinge and upholstered cover.  The shell / bottom shall compliment the overall design of the chair.

Sit Cover Tailoring:  Waterfall.

Upholstered Backs:

Soft Square Upholstered backs shall be upholstered and padded with a decorative outer panel.  The top corners of the back are conically shaped sections for stylish looks and a timeless appearance.  The back shall be compound contoured and will conform to the proper posture of a seated individual.  Overall back height shall not be less than 36 inches above the floor allowing proper shoulder support of the chair occupant.  The 29 inches outer panel extends below the seat pan to protect the occupant from the rear.

The inner upholstered panel shall be 5/8 inch” 9 ply thick formed hardwood with multiple ergonomically engineered contours.  The wings for attachment of chair back to standard shall be not less than 14 gage and will be attached via concealed fasteners.  Wings shall position the chair back at one of three positions:  15, 18, or 21 degrees.  There shall be no exposed fasteners above the chair landing bracket.  Chair back upholstery shall exhibit a high degree of workmanship and customization.

The outer back panel shall be constructed of polypropylene plastic. The panel shall be no less than 29 inches in length and will protect the rear of the upholstered inner panel as well as the chair occupant.

BACK FOAM TYPE.  2 inch cut

BACK COVER TAILORING.  A-Waterfall.

Steel Standards:

Standards shall be 1 inch x 3 inch x 16 gage seamless oval mechanical tubing.  Standards utilizing an open seam (not welded) shall be considered unacceptable.

The top of the standard shall provide for vandal resistant attachment of the armrest, without the use of exposed fasteners on the surface of the arm.

Floor mounted standards shall have a 14 gage formed steel foot.  The formed foot shall be full perimeter welded to the upright tubular member.  The floor mount standards shall be manufactured to match floor inclines in order to maintain proper seat height and angle.

Seat Hinges:

Gravity fold / spring assist seat hinges shall be fully contained within the seat pan and fitted with a pair of independent, permanently lubricated bearings.

Each of the independent seat hinges shall be fitted with double acting, self-centering, pre-loaded coiled seat return springs.

Seat hinge and spring installation shall be designed not to require periodic adjustment or lubrication.

Armrests:  Injection molded plastic, textured polypropylene.  Secure armrest to standard with concealed fasteners.

Finish:

Steel:  Material shall be pre-treated in an iron phosphate wash system prior to finish application.  Finish shall be a specially blended polyester T.G.I.C./epoxy powder coating with minimum dry film thickness of 1.5 mils.

Injection molded polypropylene or nylon:  Shall be pigmented, in one of manufacturers standard colors and have a textured surface.

Fabric:  Upholstery material shall be 100 percent Marquesa Lana continuous filament Olefin yarn with one of manufacturer’s standard fabric offerings.

Color:  Shall be per manufacturer's standards.  Seating Contractor shall submit color samples for owner's approval prior to manufacture.

FASTENINGS

Chair Assembly

All welds shall be made at the factory by welders that are certified on the equipment and process used.

All structural connections shall be made with S.A.E. stress rated zinc plated or, black oxide steel bolts, washers and nuts.

Concrete Floor Attachment.

Chair stanchions shall each be attached by means of two 1/4 inch expansion bolts set in holes drilled to a depth of not less than 1-3/4 inch in the concrete.

Expansion bolts shall be of approved type lead drive anchor comprised of the following components:

Bolt:  1/4 inch x 3 inch expansion anchor.

Sleeve:  1/4 inch I.D. x 1 inch lead (commercially known as 2 percent antimony lead) with one end recessed to fit cone.  One sleeve per bolt.

Cone:  Cast hard metal and steel setting washer.  One setting washer per bolt.

Standard to be placed on the bolts.  Standards to be permanently secured with a flat washer, lock washer and nut.

ACCESSORIES

Armrests, Injection Molded Plastic:  Armrests shall be of injection molded, leather textured polyepropylene.  Armrest to be secured to standard with concealed fasteners.

ADA Easy Access Armrest:  Armrest shall hinge on end standards to allow equal access for disabled patrons.  Swing-up end arms shall be provided for one percent of fixed seating capacity to meet the Americans with Disabilities Act (ADA).  Each accessible chair shall include the universal handicap symbol on the end aisle standard for clear identification.

End Panels, Plastic Laminate:  End panels to be 1/2 inch Plywood, finished with laminated plastic.  End panels to be furnished per Plan of Seating.

Chair Numbers:  Black text with gray background on a 18.5 mm x 56.5 mm elliptical Lexan plate.  Plate fitted in vandal resistant recess located in front edge of seat pan and secured with adhesive.

Row Letters:  Black text with gray background on a 18.5 mm x 56.5 mm elliptical Lexan plate.  Plate fitted in a vandal resistant recess located in rear of armrest and secured with adhesive.

Folding Tablet Arm: Tablet arm to be 11-3/4 inches x 10-1/4 inches square with rounded corners.  Top and bottom surfaces to be high pressure laminate over solid core plywood.  Tablet arm to store within users chair beneath the seat.

Removable Chairs:  Provide chairs to be floor mounted and ganged in groups of one, two, or three chair units for easy removal.  Chair standards shall be mounted to a painted steel skid base.  Skid base with chairs shall be easily removed from the concrete floor by means of flush mounted internally threaded expansion anchors positioned under each leg of the skid.  When removed, the anchor holes are filled by flat head bolts to provide a flat surface and prevent dirt and debris from entering.

EXECUTION

EXAMINATION

Verification of Conditions:  Verify area to receive fixed upholstered chair seating are free of impediments interfering with installation and condition of installation substrates are acceptable to receive audience seats in accordance with seating manufacturer's recommendations.  Do not commence installation until conditions are satisfactory.

INSTALLATION

Manufacturer's Recommendations:  Comply with seating manufacturer's recommendations for product installation requirements.

General:  Install fixed upholstered chair system in accordance with manufacturer's installation instructions and final shop drawings.  Provide accessories, anchors, fasteners, inserts and other items for installation of seating and for permanent attachment to adjoining construction.

ADJUSTMENT AND CLEANING

Adjustment:  After installation completion, all equipment is to be adjusted for smooth and proper operation.

Cleaning:  Clean work area and remove debris from site.

MAINTENANCE and OPERATION

Instructions:  An operation and maintenance manual shall be transmitted to the Owner by the manufacturer of the seating or his representative.

Service:  Maintenance and operation of the seating system shall be the responsibility of the Owner or his duly authorized representative, and shall include the following:

Only attachments specifically approved by the manufacturer for the specific installation shall be attached to the seating.

Periodic annual inspections and required maintenance of each seating system shall be performed according to the Operations Manual to assure safe conditions.

PROTECTION

General:  Provide final protection and maintain conditions, in a manner acceptable to manufacturer and installer to ensure audience seats are without damage or deterioration at time of substantial completion.

END OF SECTION