# SECTION 12760 (12 66 33)

## TELESCOPING GYM SEATS

- GENERAL

  - SECTION INCLUDES

    - Telescoping Gym Seating either manually or electrically operated systems of multiple-tiered seating rows comprising of seat, deck components, understructure that permits closing without requiring dismantling, into a nested configuration for storing or for moving purposes.

      - Typical applications include the following:

        - Wall Attached Telescoping Gym Seats.

  - RELATED SECTIONS

    - Division-9 Finishes for adequate floor & wall construction for operation of Telescoping Gym Seats.

    - Division-16 Electrical for electrical wiring and connections for electrically operated Telescoping Gym Seats.

  - REFERENCES

    - Aluminum Association (AA):

      - Aluminum Structures, Construction Manual Series.

    - American Iron & Steel Institute (AISI):

      - Design Cold Formed Steel Structural Members.

    - American Institute of Steel Construction (AISC):

      - Design of Hot Rolled Steel Structural Members.

    - American National Standards Institute (ANSI).

    - National Fire Protection Association (NFPA)

      - NFPA 102 Standard for Assembly Seating, Tents and Membrane Structures.

    - American Society for Testing Materials (ASTM):

      - A36-Carbon Structural Steel.

      - A500-Cold-Formed Welded and Seamless Carbon Steel Structural Tubing in Rounds and Shapes.

      - A653-Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process.

      - A1011-Steel, Sheet and Strip, Hot-Rolled, Carbon, Structural, High-Strength Low-Alloy, High-Strength Low-Alloy with Improved Formability, and Ultra-High Strength.

      - D1248-Polyethylene Plastics Extrusion Materials For Wire and Cable.

    - American Welding society (AWS):

      - D1.1 Structural Welding Code-Steel.

      - D1.3 Structural Welding Code-Sheet Steel.

    - National Bureau of Standards/Products Standard (NBS/PS):

      - PS1-Construction and Industrial Plywood.

    - National Forest Products Association (NFPA):

      - NFPA-National Design Specification for Wood Construction.

    - Southern Pine Inspection Bureau (SPIB):

      - SPIB-Standard Grading Rules for Southern Pine.

    - Americans with Disability Act (ADA)

      - ADA-Standards for Accessible Design.

  - MANUFACTURER'S SYSTEM ENGINEERING DESCRIPTION

    - Structural Performance:  Engineer, fabricate and install telescopic gym seating systems to the following structural loads without exceeding allowable design working stresses of materials involved, including anchors and connections.  Apply each load to produce maximum stress in each respective component of each gym seat unit.

      - Design Loads:  Comply with NFPA 102, Chapter 5 for design loads.

    - Manufacturer's System Design Criteria:

      - Gymnasium seat assembly; Design to support and resist, in addition to it’s own weight, the following forces:

        - Live load of 120 lbs per linear foot on seats and decking

        - Uniformly distributed live load of not less than 100 lbs per sq. ft. of gross horizontal projection.

        - Parallel sway load of 24 lbs. per linear foot of row.

        - Perpendicular sway load of 10 lbs. per linear foot of row.

      - Hand Railings, Posts and Supports:  Engineered to withstand the following forces applied separately:

        - Concentrated load of 200 lbs. applied at any point and in any direction.

        - Uniform load of 50 lbs. per foot applied in any direction.

      - Guard Railings, Post and Supports:  Engineered to withstand the following forces applied separately:

        - Concentrated load of 200 lbs. applied at any point and in any direction along top rail.

        - Uniform load of 50 lbs. per foot applied horizontally at top rail and a simultaneous uniform load of 100 lbs. per foot applied vertically downward.

      - Member Sizes and Connections:  Design criteria (current edition) of the following shall be the basis for calculation of member sizes and connections:

        - AISC:  Manual of Steel Construction

        - AISI:  Specification for Design of Cold Formed Steel Structural Members

        - AA:  Specification for Aluminum Structures

        - NFPA:  National Design Guide for Wood Construction.

  - SUBMITTALS

    - Project Data:  Manufacturer's product data for each system.  Include the following:

      - Project list:  Ten seating projects of similar size, complexity and in service for at least 5 years.

      - Deviations:  List of deviations from these project specifications, if any.

    - Shop Drawings:  Indicate Telescoping Gym Seat assembly layout.  Show seat heights, row spacing and rise, aisle widths and locations, assembly dimensions, anchorage to supporting structure, material types and finishes.

      - Wiring Diagrams:  Indicate electrical wiring and connections.

      - Graphics Layout Drawings:  Indicate pattern of contrasting or matching seat colors.

    - Samples:  Seat materials and color finish as selected by Architect from manufacturers offered color finishes.

    - Manufacturer Qualifications:  Certification of insurance coverage and manufacturing experience of manufacturer, and copy of a telescopic load test observed by a qualified independent testing laboratory, and certified by a registered professional structural engineer verifying the integrity of the manufacturer's geometry design and base structural assumptions.

    - Installer Qualifications:  Installer qualifications indicating capability, experience, and manufacturer acceptance.

    - Engineer Qualifications:  Certification by a professional engineer registered in the state of manufacturer that the equipment to be supplied meets or exceeds the design criteria of this specification.

    - Operating/Maintenance Manuals:  Provide to Owner maintenance manuals.  Demonstrate operating procedures, recommended maintenance and inspection program.

    - Warranty:  Manufacturers standard warranty documents.

  - QUALITY ASSURANCE

    - Seating Layout:  Comply with current NFPA 102 Standard for Assembly seating, Tents, and Membrane Structures, and specifically with Folding and Telescopic Seating, except where additional requirements are indicated or imposed by authorities having jurisdiction.

    - Welding Standards & Qualification:  Comply with AWS D1.1 Structural Welding Code-Steel and AWS D1.3 Structural Welding Code-Sheet Steel.

    - Manufacturer Qualifications:  Manufacturer who has a minimum of twenty years of experience manufacturing telescoping gym seats.

    - Installer Qualifications:  Engage experienced Installer who has specialized in installation of telescoping gym seat types similar to types required for this project and who is acceptable to, or certified by, telescoping gym seat manufacturer.

    - Engineer Qualifications:  Engage licensed professional engineer experienced in providing engineering services of the kind indicated that have resulted in the successful installation of telescoping bleachers similar in material, design, fabrication, and extent to those types indicated for this project.

    - Flooring shall be level and rear wall plumb within 1/8 inch in 8’-0”.  Maximum bleacher force on the floor of a 25’-6” section shall be a static point load of less than 300 psi.

  - DELIVERY, STORAGE and HANDLING

    - Deliver telescopic gym seats in manufacturers packaging clearly labeled with manufacturer name and content.

    - Handle seating equipment in a manner to prevent damage.

    - Deliver the seating at a scheduled time for installation that will not interfere with other trades operating in the building.

  - PROJECT CONDITIONS

    - Field Measurements:  Coordinate actual dimensions of construction affecting telescoping bleachers installation by accurate field measurements before fabrication.  Show recorded measurements on final shop drawings.  Coordinate field measurements and fabrication schedule with construction progress to avoid delay of Work.

  - WARRANTY

    - Manufacturer's Product Warranty:  Submit manufacturer's standard warranty form for telescoping bleachers.  This warranty is in addition to, and not a limitation of other rights Owner may have under Contract Documents.

      - Warranty Period:  Five years.

      - Beneficiary:  Issue warranty in legal name of project Owner.

      - Warranty Acceptance:  Owner is sole authority who will determine acceptance of warranty documents.

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturers:  Subject to compliance with the specified requirements, provide products by one of the following manufacturers:

      - (Basis of Design) Hussey Seating Company; Model:  Maxam26 Telescopic Gym Seats.

      - Interkal Bleachers.

      - Irwin Folding Bleacher Company.

    - Substitutions:

      - Will be considered by the Project Consultant and Owner when submitted per requirements of Division-0, Division-1, and Section 01630-Product Substitution Procedures.

  - MATERIALS

    - Lumber:  ANSI/Voluntary Product 20, B & B Southern Pine

    - Plywood:  ANSI/Voluntary Product PS1, APA A-C Exterior Grade.

    - Structural Steel Shapes, Plates and Bars:  ASTM A36.

    - Uncoated Steel Strip (Non-Structural Components):  Commercial Quality, Hot-Rolled Strip.

    - Uncoated Steel Strip (Structural Components):  ASTM A1011 Grade 33, 40, 45, or 50, Structural Quality, Hot-Rolled Strip.

    - Uncoated Steel Strip Structural Components):  High-Strength, Low Alloy, Hot-Rolled Strip.

    - Galvanized Steel Strip:  ASTM A653 Grade 40, zinc coated by the hot-dip process, structural quality.

    - Structural Tubing:  ASTM A500 Grade B, cold-formed.

    - Polyethylene Plastic:  ASTM D1248, Type III, Class B; molded, color-pigmented, textured, impact-resistant, structural formulation; in color indicated or, if not otherwise indicated, as selected by Architect from manufacturer's standard colors.

    - Fasteners:  Vibration-proof, of size and material standard with manufacturer.

  - UNDERSTRUCTURE FABRICATION

    - Frame System:

      - Wheels:  Not less than 5 inches diameter by 1-1/4 inch with non-marring soft rubber face to protect wood and synthetic floor surfaces, with molded-in sintered iron oil impregnated bushings to fit 3/8 inch diameter axles secured with E-type snap rings.  Wheels less than 4 inch in diameter are not acceptable

      - Lower Track:  Continuous Positive Interglide System interlocks each adjacent CPI unit using an integral, continuous, anti-drift feature and through-bolted guide at front to prevent separation and misalignment.  Each CPI unit shall contain a Low Profile Posi-Lock LX to lock each row in open position and allow unlocking automatically.  Provide adjustable stops to allow field adjustment of row spacings.

      - Slant Columns:  High tensile steel, tubular shape.

      - Sway Bracing:  High tensile steel members through-bolted to columns.

      - Deck Stabilizer:  High tensile stell members through-bolted to nose and riser at three locations per section.  Interlocks with adjacent stabilizer on upper tier using low-friction nylon roller to prevent separation and misalignment.  Incorporates multiple stops to allow field adjustment of row spacing.

      - Deck Support:  Securely captures front and rear edges of decking at rear edges of nose beam and lower edge of riser beam for entire length of section.

    - Deck System:

      - Nosing and Rear Riser:  Continuous roll formed galvanized steel members.

      - Attachment:  Through-Bolted fore/aft to deck guides, and frame cantilevers.

      - Decking:  5/8 inch, AC grade, tongue & groove, transversely oriented  plywood, interior type with exterior glue, 5-ply, all plies Southern Pine with plugged crossbands, produced in accordance with National Bureau of Standards PS-1.  Longest unsupported span: MXM 26, 21-1/2 inch; MXM 33, 28-1/2 inch.  Plywood that runs side to side is not acceptable.

      - Deck End Overhang:  Not to exceed frame support by more than 5'-7".

  - SEATING FABRICATION

    - Plastic Seat Modules:

      - Seat Modules:  18 inches long unitized, interlocking, engineered, high density polyethylene modules providing scuff resistant textured 10" wide anatomically contoured seat surface.  One half inch minimum interlock on seat and face.

      - Profile:  Designed with internal reinforcement ribs and cantilevered to the rear to provide not less than 3 inch smooth toe space beneath the seat. Back of seat shall be enclosed with a smooth closure panel.  Exposed ribs or exposed seat support brackets are not acceptable.

      - Seat Support:  Each seat support module shall be secured against fore/aft movement by not less than 2 longitudinally sited steel fasteners spaced no less than 2-1/4 inch on center, creating a steel to steel connection, tying the structure firmly to the steel nosing.

      - Number Plates:  Seat module shall be designed to accept seat number plates.

      - End Caps:  Each end of row shall be enclosed with matching end caps.  End caps shall be designed with concealed attachment and provide indent for row letters.  Color to match seat top.

  - SHOP FINISHES

    - Understructure:  For rust resistance, steel understructure shall be finished on all surfaces with black "Dura-Coat” enamel.  Understructure finish shall contain a silicone additive to improve scratch resistance of finish.

    - Wear Surfaces:  Surface subject to normal wear by spectators shall have a finish that does not wear to show different color underneath:

      - Steel nosing and rear risers shall be pre-galvanized with a minimum spangle of G-60 zinc plating.

      - Decking shall have surfaces to receive a sealer coat with use surfaces to receive 4 coats of high solids high gloss clear polyurethane finish.

    - Railings:  Steel railings shall be finished with powder coated semi-gloss black.

  - FASTENINGS:

    - Welds:  Performed by welders certified by AWS standards for the process employed.

    - Structural Connections:  Secured by structural bolts with prevailing torque lock nuts or Free-spinning nuts in combination with lock washers or Riv-nuts in combination with lock washers.

  - ELECTRICAL OPERATION

    - Integral Power:  Furnish and install Hussey (PF 1, 2, 3, or 4), an integral automatic electro-mechanical propulsion system, to open and close telescopic seating. Integral Power and Control System shall be Underwriters Laboratories, Inc. (UL) approved and listed.

      - Operation shall be with a removable pendant control unit which plugs into seating bank for operator management of stop, start, forward, and reverse control of the power operation.

      - Each Powered Frame unit shall consist of output shaft gear reducer with 6 inch diameter x 4 inch wide wheels covered with non-marring 1/2 inch thick composite rubber.  Reducers shall be fitted with induction motors which will provide an average operating speed of (46/25) f.p.m.  Bleacher systems with power units located in between the frames are not acceptable.

      - Operating Loads:  Each Powered Frame provides (220/550) lbs pull force which equals approximately (28/35) lbs psi lateral force on the floor.

      - Electrical:  Seating Manufacturer shall provide all wiring within seating bank including pendant control.

        - Each unit is power operated by a 1/2 horsepower, 1725 R.P.M., 208 Volts, 50/60 Hz., three phase 1.25 service factor motor.  This motor draws a full load current of 2.2 amperes.  Power supply required shall be 120/208 volts three phase 4 wire plus ground service with 20 amps. Motors, housing, and wiring shall be installed and grounded in complete accord with the National Electric Code.

        - The electrical contractor shall provide required power source with no greater than 4 percent voltage drop at the seatings junction box.  The electrical contractor shall perform all wiring connections in junction box that are attached to or a part of the building.

  - ACCESSORIES

    - Flex-Row:  Provide first ROW modular units to be utilized by persons in wheelchairs and able bodied persons.  Each Flex-Row unit shall have an unlock lever for easy deployment if wheelchair access is needed.  Unlock lever shall lock  the bleacher seats into position when fully opened.

      - Provide a black full surround skirting 3/4 inch off the floor for safety and improved aesthetics.

      - Provide a black injection molded end cap for the nose beam for safety and improved aesthetics.

      - Provide a mechanical positive lock when the Flex-Row system is in the open and used position.

      - Flex-Row modular units are designed to achieve multi-use front row seating to accommodate team seating, ADA requirements and facility specific requirements.  Flex-Row units are available in modular units from 2-7 seats wide as well as full section widths.

      - If manufacturer does not provide flex row modules fully enclosed recoverable truncations shall be provided throughout the front row of bleachers on each bank.

    - Front Aisle Steps:  Provide at each vertical aisle location front aisle step. Front steps shall engage with front row to prevent accidental separation or movement.  Steps shall be fitted with four non-skid rubber feet each 1/2 inch in diameter.  Blow molded end caps shall have full radius on all four edges.  Quantity and location as indicated.

    - Non-Slip Tread:  Provide at front edge of each aisle locations an adhesive-backed abrasive non-slip tread surface.

    - Foot Level Aisles:  Provide deck level full width vertical aisles located as indicated.

    - Intermediate Aisle Steps:  Intermediate aisle steps shall be of boxed fully enclosed type construction.  Blow molded end caps shall have full radius on all four edges.  Step shall have non-skid on surface.  Quantity and location as indicated.

    - Intermediate Aisle Handrails:  Provide single pedestal mount handrails 34 inches high with terminating mid rail.  Handrails shall be attached to the socket and shall rotate 90 degrees for easy storage in socket.  Aisle handrails that are detached from the socket for storage are unacceptable.

    - Self Storing End Rails:  Provide steel self-storing 42 inches high above seat, end rail with tubular supports and intermediate members designed with 4 inch sphere passage requirements.

    - Scorer's Table:  Provide one 8 feet x 15 inch scorer's table.  Table top shall be grey high pressure laminate on 5/8 inch balance veneer core with cushioned edge mounting.  Perimeter steel frame with tubular steel legs permanently attached to top with screws.  Mounting sockets provided shall be attached to first row.

    - Top Seat Flush Filler:  Provide at top seat level a flush filler board mounted between top seat and rear wall.  Flush filler board shall be constructed of 4/4 inch nominal thickness Southern pine Grade “B & B” clear urethane finished.

    - Provide 2 inch wide colored safety strips at front edge of aisles.

    - Provide flexible safety end closure made from heavy duty 18 ounce vinyl coated polyester fabric to restrict entry under the bleachers in the opened condition.

- EXECUTION

  - EXAMINATION

    - Verification of Conditions:  Verify area to receive telescoping gym seats are free of impediments interfering with installation and condition of installation substrates are acceptable to receive telescoping gym seats in accordance with telescoping gym seats manufacturer's recommendations.  Do not commence installation until conditions are satisfactory.

  - INSTALLATION

    - Flooring shall be level and rear wall plumb within 1/8 inch in 8’-0.

    - Maximum bleacher force on the floor, of a 25’-6” section, shall be a static point load of less than 300 psi.

    - Manufacturer's Recommendations:  Comply with telescoping gym seats manufacturer's recommendations for product installation requirements.

    - General:  Install telescoping gym seats in accordance with manufacturer's installation instructions and final shop drawings.  Provide accessories, anchors, fasteners, inserts and other items for installation of telescoping gym seats and for permanent attachment to adjoining construction.

  - ADJUSTMENT AND CLEANING

    - Adjustment:  After installation completion, test and adjust each telescoping gym seats assembly to operate in compliance with manufacturer's operations manual.

    - Cleaning:  Clean installed telescoping gym seats on both exposed and semi-exposed surfaces.  Touch-up finishes to restore damage or soiled surfaces.

  - DEMONSTRATION

    - Instructions:  Both operation and maintenance shall be transmitted to the Owner by the manufacturer of the seating or his representative.

    - Service:  Maintenance and operation of the seating system shall be the responsibility of the Owner or his duly authorized representative, and shall include the following:

      - Operation of the Seating System shall be supervised by responsible personnel who will assure that the operation is in accordance with the manufacturer's instructions.

      - Only attachments specifically approved by the manufacturer for the specific installation shall be attached to the seating.

      - An annual inspection and required maintenance of each seating system shall be performed to assure safe conditions.  At least biannually the inspection shall be performed by a professional engineer or factory qualified service personnel.

  - PROTECTION

    - General:  Provide final protection and maintain conditions, in a manner acceptable to manufacturer and installer to ensure telescoping gym seats are without damage or deterioration at time of substantial completion.

END OF SECTION