| To: (Project Manager) |  | Request No.: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |
| Project No: |  |  |  |  |  |
| Project Title: |  |  |  |  |  |
| Facility Name: |  |  |  |  |  |

I hereby certify that I am an officer of the firm or corporation named herein and have been properly authorized to make the following statements concerning the project named above:

1.  I am requesting on behalf of the General Contractor that the SBBC have their propane tank vendor contact me to discuss the tank installation requirements for this project.

2.  Estimated date of required installation of tank:

3.  Size of tank one:         Gallons: Size of tank two:        Gallons.

4.  Tank to be installed:   Above ground   Below ground

5.  Propane gas will be used for:

Emergency Generator   Gymnasium Hot Water Heater   Science Labs   Votec Labs

Kitchen Hot Water & Cooking Equipment

Other:

- LP gas shall only be used for emergency generator sizes less than 125 KW.  Generator sizes of 125 KW and greater shall be diesel oil driven.  Should LP gas be used for other than the emergency generator, the SBBC vendor shall be responsible for furnishing and installing the LP tank.  Should LP gas be used solely for the emergency generator, the Contractor shall be responsible for all cost associated with furnishing and installing the tank via the SBBC’s vendor.

- Tanks larger then 500 Gallon capacities shall be installed underground and properly anchored to prevent hydraulic uplift.  Installation of tanks less than 500 gallons may be installed above grade and within a chain link fence enclosure.

| Submitted By: |  |  |  |
| --- | --- | --- | --- |
| Company Name & Address: |  |  | Signature |
| Phone: |  |  | Title |

| Distribution Project Consultant Contractor Energy Conservation & Utility Management | Notice to Contractor Submit this form at least 90 calendar days prior to the requested installation date to allow scheduling and coordination. |
| --- | --- |