# SECTION 16070 (26 05 30)

## EQUIPMENT BASES, MATS AND SUPPORTS

GENERAL

SECTION INCLUDES

Division 3 – Concrete (all applicable sections).

SUBMITTALS

Submit shop drawings and product data under provisions of Section 01330, “Submittal Procedures”.

PRODUCTS

MANUFACTURER

Provide bases, insulation mats, steel supports, anchor bolts and inserts, for all equipment 	and apparatus, provided under provisions of Division 16.

EXECUTION

INSTALLATION

Where equipment supports are on concrete construction, take care not to weaken concrete or penetrate waterproofing.

Obtain prior approval for installation method of structural steel required to frame into building structural members for the support of the equipment and conduit.  Welding will be permitted only when approved by the Project Consultant.

Coordinate dimensions of concrete housekeeping pads with requirements for equipment supplied.

END OF SECTION