# SECTION 16400 (26 10 10)

## SERVICE AND DISTRIBUTION

GENERAL

SECTION INCLUDES

Provide all labor, materials, necessary equipment and services to complete the Distribution work, as indicated on the drawings, as specified herein or both, except as for items specifically indicated as "NIC ITEMS."

RELATED WORK

Section 16080 -	Electrical Inspection and Testing

Section 16129 - Terminal Lugs

Section 16415 – Transient Voltage Surge Suppressors

Section 16490 - Fuses

QUALITY ASSURANCE

Conform under provisions of Section 01430, “Quality Assurance”.

Conform to National Electrical Code and to requirements of applicable inspection authorities.

SUBMITTALS

Submit shop drawings under provisions of Section 01330, “Submittal Procedures”.

PRODUCTS

ELECTRIC SERVICES

Electric service: Rated for the calculated load.

Provide electrical service voltage at system.

Provide the electrical service from the utility’s transformer vault.

MAIN SERVICE SWITCHBOARD

Main Switchboard: Provide under provisions of Section 16430 - Low Voltage Switchgear.

EXECUTION

GENERAL

Install switchboard as per manufacturers instructions.

Provide a 4-inch house cleaning concrete pad for the installation of the switchboard.

Coordinate incoming service with the utility company.

Provide grounding under provisions of Section 16060 - Grounding.

Provide transient voltage surge suppressors.

END OF SECTION