# SECTION 02551 (34 41 05)

## MAINTENANCE OF TRAFFIC

- GENERAL

  - SYSTEM DESCRIPTION

    - Maintenance of vehicular and pedestrian traffic on and off site.

  - SUBMITTALS

    - Maintenance of Traffic Plan prepared by State of Florida Professional Engineer.

    - Shop drawing for all proposed requirements conforming to F.D.O.T. Standards for Roadway and Traffic Design.

  - QUALITY ASSURANCE

    - Conform to:

      - The Florida Department of Transportation "Standard Specifications for Road and Bridge Construction” 1991.

      - "Supplemental Specifications to the 1991 Standard Specifications for Road and Bridge Construction" 1991.

- PRODUCTS

  - SEE SBBC SECTION 02890.

- EXECUTION

  - FIELD QUALITY CONTROL

    - Inspection

      - Do not proceed with the work of this section until conditions for proper execution of work is inspected and approved by the Engineer of Record.

  - REGULATORY COORDINATION

    - Install and maintain adequate traffic control devices, warning devices and barriers for the purpose of protecting vehicular and pedestrian traffic, workmen and the work area in general.

    - Maintain traffic control for the duration of the project period, including any temporary suspensions of the work.

    - Maintain traffic in accordance with section 102 of the “Standard Specifications” and the State of Florida, Manual of Traffic Control and Safe Practices for Street and Highway Construction, maintenance and utility operations.

    - Where required by the agency having jurisdiction over the right of way, submit a ”Maintenance of Traffic” plan to that agency and obtain and forward all required permits and approvals to The School Board Of Broward County, Florida, and Project Contractors.

    - Obtain and forward all required construction permits and approvals to the School Board of Broward County and Project Contractors.

  - PROTECTION

    - The safe walk route for all school students within the vicinity of the construction zone SHALL be maintained during the times students are arriving at or leaving school.  If the current walking surface cannot be maintained, then a temporary road-rock 4 feet walk way SHALL be created.  The safe walk route SHALL be separate from the construction activity by the 6 feet high construction fence for the entire length of the walk route, whichever is less.

    - It SHALL be the responsibility of the Contractor to install any necessary pavement, road rock, pavement marking and signage and/or any pedestrian signalization and/or signal modification to accommodate an existing or alternate walk route.

    - It SHALL be the Contractor’s responsibility to provide State Certified School Crossing Guards or Off Duty Police Officers to cross students at any locations other than those previously designated.

    - Seven days prior to the beginning of construction the Contractor SHALL notify the Broward County Traffic Engineering Division, (954) 484-9600 to arrange for Construction Coordination.

END OF SECTION