# SECTION 02795 (32 14 43)

## POROUS UNIT PAVING

- GENERAL

- SECTION INCLUDES

    - Concrete porous paving units

    - Aggregate setting beds.

    - Edge restraints.

    - RELATED SECTIONS

    - Section 02200 - Earth Moving.

    - Section 02931 - Sodding.

    - Section 02950 - Trees, Plants and Groundcovers.

  - SUBMITTALS

    - Product Data:  For pavers, edge restraints, and geotextile fabric indicating product salient characteristics including the following:

      - Recycled Content:

        - Indicate recycled content; indicate percentage of pre-consumer and post-consumer recycled content per unit of product.

        - Indicate relative dollar value of recycled content product to total dollar value of product included in project.

        - If recycled content product is part of an assembly, indicate the percentage of recycled content product in the assembly by weight.

        - If recycled content product is part of an assembly, indicate relative dollar value of recycled content product to total dollar value of assembly.

    - Sieve Analyses:  For aggregate materials, according to ASTM C136.

    - Samples for Initial Selection:

      - Each type of unit paver indicated.

      - Exposed edge restraints involving color selection.

      - Precast concrete curbs.

      - Granite for curbs.

      - Aggregate fill.

    - Samples for Verification:

      - Full-size units of each type of unit paver indicated.

      - Exposed edge restraints.

      - Aggregate fill.

    - Material Certificates:  For unit pavers.  Include statements of material properties indicating compliance with requirements, including compliance with standards.  Provide for each type and size of unit.

    - Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for unit pavers, indicating compliance with requirements.

      - For grid paving units, include durability test data performed on units subjected to three years' exposure to same general type of environment, temperature range, and traffic volume as expected for Project.

      - QUALITY ASSURANCE

    - Source Limitations:  Obtain each type of porous paver from one source that has resources to provide materials and products of consistent quality in appearance and physical properties.

    - Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

      - Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

    - Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

  - DELIVERY, STORAGE, AND HANDLING

    - Store pavers on elevated platforms in a dry location.  If units are not stored in an enclosed location, cover tops and sides of stacks with waterproof sheeting, securely tied.

    - Store aggregates where grading and other required characteristics can be maintained and contamination can be avoided.

    - PRODUCTS

  - MATERIALS

    - All concrete materials are to contain recycled content such as fly ash, granulated ground blast-furnace slag, and normal weight aggregates.

  - CONCRETE UNIT PAVERS

    - Concrete Grid Pavers:  Grid paving units complying with ASTM C 1319, made from normal-weight aggregates.

    - Solid Concrete Pavers for Porous Paving:  Solid interlocking paving units of shapes that provide openings between units, complying with ASTM C 936, and made from normal-weight aggregates.

- ********************************************************************************************************************NOTE TO SPECIFER:  Make selection from paragraph below.

- *******************************************************************************************************************

    - Product:  Subject to compliance with requirements, provide [SF-Rima] [Turfblock] [Pervious Pavers] [AquaPaver] by Tremron Group, 11321, NW, 112th Court, Medley, FL 33178 or comparable product.

- ********************************************************************************************************************NOTE TO SPECIFER:  Make selection from paragraph below.

- **************************************************************************************************************

      - Face Size and Shape:  <Insert size and shape>.

      - Color:  <Insert color>.

  - ACCESSORIES

- ********************************************************************************************************************NOTE TO SPECIFER:  Make slection from paragraph below.

- ***************************************************************************************************************

        - Steel Edge Restraints:  Painted steel edging, [3/16 inch thick by 4 inches high] [1/4 inch thick by 5 inches high], with loops pressed from or welded to face to receive stakes at 36 inches o.c., and with steel stakes 15 inches long for each loop.

          - Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

            - Border Concepts, Inc.

            - Collier Metal Specialties, Inc.

            - Russell, J. D. Company (The).

            - Ryerson, J. T. & Son, Inc.

            - Sure-loc Edging Corporation.

- ********************************************************************************************************************NOTE TO SPECIFER:  Make selection from paragraph below.

- ***************************************************************************************************************

          - Color:  <Insert color>.

- ********************************************************************************************************************NOTE TO SPECIFER:  Make selection from paragraph below.

- ***************************************************************************************************************

        - Aluminum Edge Restraints:  [Straight, 1/8-inch- thick by 4-inch- high] [Straight, 3/16-inch- thick by 4-inch- high] [L-shaped, 1/8-inch- thick by 1-3/8-inch- high] [L-shaped, 3/16-inch- thick by 2-1/4-inch- high] extruded-aluminum edging, with loops pressed from face to receive stakes at 12 inches o.c., and with aluminum stakes 12 inches long for each loop.

          - Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

- BrickStop Corporation.

- Curv-Rite, Inc.

- Permaloc Corporation.

- Sure-loc Edging Corporation.

- ********************************************************************************************************************NOTE TO SPECIFER:  Make selection from paragraph below.

- ***************************************************************************************************************

          - Color:  <Insert color>.

  - AGGREGATE SETTING-BED MATERIALS

    - Graded Aggregate for Subbase:  Sound crushed stone or gravel complying with Section 02200 "Earth Moving" for subbase material].

    - Graded Aggregate for Base Course:  Sound crushed stone or gravel complying with Section 02200 "Earth Moving" for base-course material.

    - Sand for Leveling Course:  Sound, sharp, washed, natural sand or crushed stone complying with gradation requirements in ASTM C33 for fine aggregate.

    - Graded Aggregate for Leveling Course:  Sound crushed stone or gravel complying with ASTM D448 for Size No. 8.

    - Soil for Porous Paver Fill:  Planting soil mix complying with requirements in Section 02950-“Trees, Plants and Groundcovers".

    - Graded Aggregate for Porous Paver Fill:  Sound crushed stone or gravel complying with ASTM D448 for Size No. 8.

    - Grass Seed:  Comply with requirements in Section 02931 "Sodding".

    - Separation Geotextile:  Woven geotextile fabric, manufactured for separation applications; made from polyolefins or polyesters, with elongation less than 50 percent; complying with AASHTO M288 and the following, measured per test methods referenced:

      - Survivability:  Class 2; AASHTO M288.

      - Apparent Opening Size:  No. 60 sieve, maximum; ASTM D4751.

      - Permittivity:  0.02 per second, minimum; ASTM D4491.

      - UV Stability:  50 percent after 500 hours' exposure; ASTM D4355.

    - Drainage Geotextile:  Nonwoven needle-punched geotextile, manufactured for subsurface drainage applications, made from polyolefins or polyesters; with elongation greater than 50 percent; complying with AASHTO M 288 and the following, measured per test methods referenced:

      - Survivability:  Class 2; AASHTO M288.

      - Apparent Opening Size:  No. 40 sieve, maximum; ASTM D4751.

      - Permittivity:  0.5 per second, minimum; ASTM D4491.

      - UV Stability:  50 percent after 500 hours' exposure; ASTM D4355.

      - EXECUTION

  - PREPARATION

    - Proof-roll prepared subgrade according to requirements in Division 2 Section "Earth Moving" to identify soft pockets and areas of excess yielding.  Proceed with porous paver installation only after deficient subgrades have been corrected and are ready to receive subbase and base course for porous paving.

  - INSTALLATION, GENERAL

    - Do not use unit pavers with chips, cracks, voids, discolorations, and other defects that might be structurally unsound or visible in finished work.

    - Cut unit pavers with motor-driven masonry saw equipment to provide clean, sharp, unchipped edges.  Cut units to provide pattern indicated and to fit adjoining work neatly.  Use full units without cutting where possible.  Hammer cutting is not acceptable.

    - Tolerances:

      - Variation in Plane between Adjacent Units (Lipping):  Do not exceed 1/16-inch unit-to-unit offset from flush.

      - Variation from Level or Indicated Slope:  Do not exceed 1/8 inch in 24 inches and 1/4 inch in 10 feet or a maximum of 1/2 inch.

    - Provide edge restraints as indicated.  Install edge restraints before placing unit pavers.

      - Install edge restraints to comply with manufacturer's written instructions.  Install stakes at intervals required to hold edge restraints in place during and after porous paver installation.

      - For metal edge restraints with top edge exposed, drive stakes at least 1 inch below top edge.

  - SETTING-BED INSTALLATION

    - Compact soil subgrade uniformly per Section 02200 "Earth Moving".

    - Proof-roll prepared subgrade to identify soft pockets and areas of excess yielding.  Excavate soft spots, unsatisfactory soils, and areas of excessive pumping or rutting, as determined by Architect, and replace with compacted backfill or fill as directed.

    - Place geotextile fabric over prepared subgrade, overlapping ends and edges at least 12 inches.

    - Place aggregate subbase and base, compact by tamping with plate vibrator, and screed to depth indicated.

    - Place aggregate subbase and base, compact to uniformly per Section 02200 "Earth Moving", and screed to depth indicated.

    - Place drainage geotextile over compacted subbase, overlapping ends and edges at least 12 inches.

    - Place drainage geotextile over compacted base course, overlapping ends and edges at least 12 inches.

    - Place leveling course and screed to thickness indiacted, taking care that moisture content remains constant and density is loose and constant until pavers are set and compacted.

  - PAVER INSTALLATION

    - Set unit pavers on leveling course, being careful not to disturb leveling base.  If pavers have lugs or spacer bars to control spacing, place pavers hand tight against lugs or spacer bars.  If pavers do not have lugs or spacer bars, place pavers with a 1/16-inch- minimum and 1/8-inch- maximum joint width.  Use string lines to keep straight lines.

      - When installation is performed with mechanical equipment, use only unit pavers with lugs or spacer bars on sides of each unit.

    - Compact pavers into leveling course with a low-amplitude plate vibrator capable of a 3500- to 5000-lbf compaction force at 80 to 90 Hz.  Use vibrator with neoprene mat on face of plate or other means as needed to prevent cracking and chipping of pavers.  Perform at least three passes across paving with vibrator.

      - Compact pavers when there is sufficient surface to accommodate operation of vibrator, leaving at least 36 inches of uncompacted pavers adjacent to temporary edges.

      - Before ending each day's work, compact installed concrete pavers except for 36-inch width of uncompacted pavers adjacent to temporary edges (laying faces).

      - As work progresses to perimeter of installation, compact installed pavers that are adjacent to permanent edges unless they are within 36 inches of laying face.

      - Before ending each day's work and when rain interrupts work, cover pavers that have not been compacted and leveling course on which pavers have not been placed with nonstaining plastic sheets to protect them from rain.

    - Place soil fill as follows, immediately after vibrating pavers into leveling course.  Spread and screed soil fill level with tops of pavers.  Vibrate pavers and add soil fill until porous paving is filled to about 3/4 inch from top surface; remove excess soil fill if any.

      - Before ending each day's work, place soil fill in installed porous paving except for 42-inch width of unfilled paving adjacent to temporary edges (laying faces).

      - As work progresses to perimeter of installation, place soil fill in installed paving that is adjacent to permanent edges unless it is within 42 inches of laying face.

      - Before ending each day's work and when rain interrupts work, cover paving that has not been filled with nonstaining plastic sheets to protect it from rain.

    - After filling pavers with soil, sow seed to comply with requirements in Division 32 Section "Turf and Grasses," except sow seed at half the rate specified for seeding lawns.  Sweep seed from surfaces of pavers into voids and water with fine spray.

      - Within 24 hours after sowing seed, spread an additional 3/16 inch of soil fill over seed and soak with water.

    - Place graded aggregate fill immediately after vibrating pavers into leveling course.  Spread and screed aggregate fill level with tops of pavers.

      - Before ending each day's work, place aggregate fill in installed porous paving except for 42-inch width of unfilled paving adjacent to temporary edges (laying faces).

      - As work progresses to perimeter of installation, place aggregate fill in installed paving that is adjacent to permanent edges unless it is within 42 inches of laying face.

      - Before ending each day's work and when rain interrupts work, cover paving that has not been filled with nonstaining plastic sheets to protect it from rain.

    - Remove and replace pavers that are loose, chipped, broken, stained, or otherwise damaged or that do not match adjoining units.  Provide new units to match adjoining units and install in same manner as original units, with same joint treatment and with no evidence of replacement.

  - MAINTENANCE AND PROTECTION

      - Water newly planted grass and keep moist until grass is established.  Maintain grass that is planted in paving to comply with requirements in Division 32 Section "Turf and Grasses."

      - Erect barricades and warning signs as required to protect newly planted areas from traffic.  Maintain barricades for 60 days after planting.

END OF SECTION