# SECTION 02951 (32 01 17.63)

## ASPHALTIC CONCRETE PATCHING

GENERAL

SECTION INCLUDES

Patching Asphaltic concrete paving.

Pavement Markings.

REFERENCES

American Association of State Highway and Transportation Officials (AASHTO):

AASHTO T-180-74 (82):  Moisture-Density Relations of Soils Using a 10-pound Rammer and an 18-inch Drop and 1983 interim revision.

American Society for Testing Materials (ASTM):

ASTM A615-86, Specification for Deformed and Plain Billet-Steel Bars for Concrete Reinforcement.

Florida Department of Transportation (DOT):

Standard Specifications for Road and Bridge Construction.

QUALITY ASSURANCE

Perform work under provisions of State of Florida Department of Transportation "Standard Specifications for Road and Bridge Construction".

Mixing Plant: Conform to State of Florida DOT Standards.

Obtain materials from same source throughout.

ENVIRONMENTAL REQUIREMENTS

Do not place asphalt when base or surface is wet or when base surface temperature is less than 40 degrees Fahrenheit.

JOB CONDITIONS

After final rolling, protect newly placed material from traffic by barricades or other suitable methods until it has hardened, and in no case less than 6 hours.

PRODUCTS

MATERIALS

Paving Materials:

Fill:  Sand and/or rock, containing not over 40 percent rock, 2 inches maximum size.

Limerock Base Course: Miami Oolite Limerock, 60 percent lime content, free from sand, marl, roots, boulders, and other unsuitable material.

Prime Coat:  Cut back asphalt, DOT grade RC-70 or RC-250.

Tack Coat:  Asphalt Cement, Penetration Grade 85-100 percent or emulsified asphalt, DOT grade	RS-2.

Wearing Surface Coarse:  DOT Type III asphaltic concrete under provisions of Section 331 of the DOT Standard Specifications.

Traffic Paint:

DOT Code T-1 yellow or T-2 white.  Blue for designated handicapped parking spaces and adjacent curbs.

Herbicide:  Ortho CL or approved equal.

EXECUTION

GENERAL

Connections to Existing Pavements: Saw cut all existing surfaced connections to new pavement to form straight and water tight joint, and be neat and inconspicuous as possible.

Patching Existing Pavements: Repair existing pavement if eroded, cracked or contains depressions for watertight uniform surface.

Patch work: done within saw-cut edges of existing pavement.

EXAMINATION

Compact top 12 inches of sub grade, including cut and fill sections, to a density of not less than 98 percent of the maximum density as determined by AASHTO T-180.

Verify that compacted sub grade is dry and ready to support base paving and imposed loads.

Verify gradients and elevations of base are correct.

Beginning of installation means acceptance of substrate.

PAVEMENT PATCHING & RESTORATION

Base Course:  Six inch compacted thickness of Grade 2 limerock conforming to Section 911 of DOT Standard Specifications.  Match elevations of existing and adjacent surfaces.

Install, spread, compact limerock base course to 98 percent maximum density under provisions of AASHTO T-180.

Apply weed killer over the entire base course area to be surfaced. If area contains visible organics use Round Up or approved equal as per manufacturer’s recommendations for non-crop areas.  Repeat as required.

Prime Coat:  Prepare base course for priming and apply prime coat as specified in Paragraph 3.03 above.

Sanding:

Prior to sanding, allow the prime coat to cure for a minimum period of four (4) hours.

Apply a uniform application of clean sand to the prime coat prior to opening the primed base to traffic.  Roll sand with traffic roller in conjunction with traffic to cure the prime coat.

Tack Coat:

Install a tack coat applied with a pressure distributor.  Heat material to a suitable temperature as designated by the Owner and apply in a thin uniform layer at the rate of 0.1 gallons per square yard.  Apply the tack coat sufficiently in advance of the installation of the surface course to permit drying but not so far in advance as to allow loss of adhesion as a result of getting covered with dust, dirt, or other debris.

Surface Course:

Install minimum 1 inch of modified Type III asphaltic concrete conforming to Sections 320, 330, and 331 of the DOT Standard Specifications, except that the "Job Mix Formula" is not required.

Thickness equal to existing asphaltic concrete thickness.

TRAFFIC PAINT

Cleaning:  Sweep and clean parking and roadway surfaces to eliminate loose dust, dirt, debris, and other materials.

Application:  Apply paint with mechanical equipment to produce uniform straight lines and edges. 4-inch stripe width without feathered edges, accurately located, and applied in 2 coats under provisions of the paint manufacturer's printed instructions.

Location:  As indicated on drawings.  Items such as directional "arrows", "In" and "Out" signs (if required), "handicap" symbols, and wording:  as indicated on drawings.

TOLERANCES

Flatness:  Maximum Variation of 1/4 inch in 10 feet measured with straight edge.

Compacted Scheduled Thickness:  Within 1/4 inch of design thickness.

Variation from True Elevation:  Within 1/8 inch.

FIELD QUALITY CONTROL

Field inspection and testing will be performed under provisions of Section 01450, “Quality Control”.

Include inspection and testing of sub grade and base course to verify obtained densities after compaction; and to verify thickness of completed base and surface courses.

END OF SECTION