# SECTION 02952 (32 01 17.64)

ASPHALTIC CONCRETE REPAIR AND SEALING

- GENERAL

  - SECTION INCLUDES

  - Patching asphaltic concrete paving.

  - Seal coating asphaltic concrete paving.

  - Pavement markings.

  - Precast concrete wheel stops.

  - REFERENCES

  - American Association of State Highway and Transportation Officials (AASHTO):

      - AASHTO T-180-74 (82):  Moisture-Density Relations of Soils Using a 10-pound Rammer and an 18-inch Drop and 1983 interim revision.

      - American Society for Testing Materials (ASTM):

      - ASTM A615-86, Specification for Deformed and Plain Billet-Steel Bars for Concrete Reinforcement.

      - Florida Department of Transportation (DOT):

      - Standard Specifications for Road and Bridge Construction.

  - SUBMITTALS

  - Submit manufacturer's literature, specifications, installation instructions and maintenance instructions.

  - QUALITY ASSURANCE

    - Perform work under provisions of State of Florida Department of Transportation "Standard Specifications for Road and Bridge Construction" Sections 310-311, 300T.

    - Mixing Plant: Conform to State of Florida DOT Standards.

    - Obtain materials from same source throughout.

  - ENVIRONMENTAL REQUIREMENTS

  - Do not place asphalt when base or surface is wet or when base surface temperature is less than 40 degrees Fahrenheit.

  - Do not apply emulsion when bituminous pavement is wet beyond the requirements for damping specified below, if atmospheric temperatures are below 60 degrees Fahrenheit, or if rain is expected within 24 hours of application.

  - JOB CONDITIONS

  - After final rolling, protect newly placed material from traffic by barricades or other suitable methods until it has hardened, and in no case less than 6 hours.

  - PRODUCTS

  - MATERIALS

  - Paving Materials:

      - Fill: Sand and rock, containing not over 40 percent rock, 2 inches maximum size.

      - Limerock Base Course: Miami Oolite Limerock, 60 percent lime content, free from sand, marl, roots, boulders, and other unsuitable material.

      - Prime Coat: Cut back asphalt, DOT grade RC-70 or RC-250.

      - Tack Coat: Asphalt Cement, Penetration Grade 85-100 percent or emulsified asphalt, DOT grade RS-2.

      - Wearing Surface Coarse: DOT Type III asphaltic concrete under provisions of Section 331 of the DOT Standard Specifications.

      - Seal coating Materials:

      - Coal tar pitch emulsion:

        - Not more than 53 percent water and not less than 47 percent non-volatile mineral content.

        - Conform to Interim Federal Specification R-P-355 with homogeneous consistency maintained by moderate stirring.

        - Adhere to bituminous pavement when dried and set and resist loosening, peeling, or re-emulsification when subjected to immersion in water for a period of 14 days.

        - Resist penetration or loss of adhesion after 48 hours immersion in motor oil (SAE 10), jet fuel (J-4), standard gasoline or kerosene.

        - Resist sagging or blistering when subjected to heat of 202 degrees Fahrenheit for one (1) hour.

        - Acceptable Products:

        - Jennite J-16.

        - Koppers Super Pavement Sealer.

        - Starseal.

        - Other Manufacturers: Submit substitution request under provisions of Section 01630, “Product Substitution Procedures”.

      - Sand: clean, dry silica sand of sandblasting quality which passes a #30 mesh, but is retained on a #65 mesh screen.

      - Water: clean, fresh and potable.

      - Traffic Paint:

      - DOT Code T-1 yellow or T-2 white. Blue for designated handicapped parking spaces and adjacent curbs.

      - Precast Concrete Wheel Bumpers:

      - Size: 7-1/2 inches wide x 6 inches high x 6 feet long. Reinforce with 2 #4 reinforcing bars, continuous.  Chamfer corners and provide drainage slots on underside.  Provide 2 vertical holes 1 foot from each end for insertion of dowels.

      - EXECUTION

  - GENERAL

  - Connections to Existing Pavements:  To be neat and inconspicuous as possible.

  - Patching Existing Pavements:  Repair existing pavement if damaged or removed due to construction activities.

  - EXAMINATION

  - Compact top 12 inches of subgrade, including cut and fill sections, to a density of not less than 98 percent of the maximum density as determined by AASHTO T-180.

  - Verify that compacted sub grade is dry and ready to support paving and imposed loads.

  - Verify gradients and elevations of base are correct.

  - Beginning of installation means acceptance of substrate.

  - PAVEMENT PATCHING

  - Base Course:  Nine compacted thickness of Grade 2 limerock conforming to Section 911 of DOT Standard Specifications. Match elevations of existing and adjacent surfaces.

      - Install, spread, compact limerock base course to 98 percent maximum density under provisions of AASHTO T-180.

      - Prime Coat:  Prepare base course for priming and apply prime coat as specified in Paragraph 3.03 above.

      - Sanding:

      - Prior to sanding, allow the prime coat to cure for a minimum period of four (4) hours.

      - Apply a uniform application of clean sand to the prime coat prior to opening the primed base to traffic.  Roll sand with traffic roller in conjunction with traffic to cure the prime coat.

      - Tack Coat:

      - Install a tack coat applied with a pressure distributor.

        - Heat material to a suitable temperature as designated by the Owner and apply in a thin uniform layer at the rate of between 0.02 and 0.08 gallons per square yard.

        - Apply the tack coat sufficiently in advance of the installation of the surface course to permit drying but not so far in advance as to allow loss of adhesion as a result of getting covered with dust, dirt, or other debris.

        - Surface Course:

      - Install a layer of modified Type S-111 asphaltic concrete conforming to Sections 320, 330, and 331 of the DOT Standard Specifications, except that the “Job Mix Formula” is not required.

      - Thickness equal to existing asphaltic concrete thickness.

  - PAVEMENT SEAL COATING

  - Surface Preparation:

      - Small areas with holes, pits, scrapes, etc., or areas, which have been softened by petroleum derivatives, or areas which have failed due to any other cause: spot patch prior to seal coating by methods specified above.

      - Prior to applying the protective coating, ensure entire pavement surface is clean and free from dust, dirt, loose materials, grease, oil or any type of deleterious surface film.

      - Remove accumulations of oil or grease by cleaning with caustic solution. Flush away residue of caustic solution with pressurized water taking extreme care that all caustic solution is removed from the surface.

      - Prime all oil spotted areas with a spot primer manufactured for this purpose by the seal coat manufacturer.

      - Remove all painted stripes or markings on the bituminous surfaces to be coated by grinding or burning.

      - After the bituminous surface has been patched, prepared, cleaned and spot primed, flush it with water to provide a damp surface, free from standing water, for the application of protective coats.

      - Do not begin seal coating operations without inspection and approval of prepared bituminous surface by the Owner's Representative.

      - Seal coat Application

      - Thoroughly agitate or stir emulsion prior to and during application to assure a homogeneous consistency. Apply emulsion over the dampened pavement in 2 coats.

      - Apply emulsion by pouring in strips with a mechanical distributor or applicator approved by the emulsion manufacturer with subsequent spreading with squeegee or brush. Spray application is not acceptable.

      - First coat:  Sand-slurry mix achieved by the addition of silica sand at the maximum rate of 8 pounds per gallon of seal coat and a one percent by volume of an acrylic emulsion to help keep the sand in suspension, together with the continuous agitation provided by a tank equipped accordingly. Provide a uniform surface covering of 0.10 to 0.15 gallons per square yard.

      - After the sand-slurry coat has cured sufficiently to prevent scuffing, displacement or picking up when driven over, apply select at the rate of 0.08 to 0.12 gallons per square yard and spread or brushed in a direction crosswise to that of the first coat.  The 2 coats comprise a total of from 0.20 to 0.30 gallons per square yard of surface.

      - Avoid splashing emulsion on buildings, curbs, sidewalks, equipment, etc.

      - After completing the seal coat, allow surface to cure for at least 24 hours under good drying conditions before opening the area to regular use.

  - TRAFFIC PAINT

  - Cleaning:  Sweep and clean parking and roadway surfaces to eliminate loose dust, dirt, debris, and other materials.

  - Application:  Apply paint with mechanical equipment to produce uniform straight lines and edges. 4-inch stripe width without feathered edges, accurately located, and applied in 2 coats under provisions of the paint manufacturer's printed instructions.

  - Location:  As indicated on drawings. Items such as directional "arrows”, “In" and “Out" signs (if required), “handicap” symbols, and wording: as indicated on drawings.

  - PRECAST CONCRETE WHEEL BUMPERS

  - Installation:  Anchor by drilling holes through pavement and driving two #5 loose fitting reinforcing bars through bumper and drilled holes.  Reinforcing bars: ASTM A615 Grade 60, 1 foot 6 inches long and driven flush with the top of the wheel bumpers.

  - Install wheel bumpers where indicated on drawings or to replace existing wheel bumpers that are broken, damaged, or missing.

  - TOLERANCES

  - Flatness:  Maximum Variation of 1/4 inch in 15 feet measured with straight edge.

  - Compacted Scheduled Thickness:  Within 1/4 inch of design thickness.

  - Variation from True Elevation:  Within 1/8 inch.

  - FIELD QUALITY CONTROL

  - Field inspection and testing will be performed under provisions of Section 01450, “Quality Control”.

  - Include inspection and testing of sub grade and base course to verify obtained densities after compaction; and to verify thickness of completed base and surface courses.

  - Contractor must coordinate and arrange for systematic inspection by the owner of each section of work completed.

END OF SECTION