# SECTION 03415 (03 41 35)

## PRECAST PRESTRESSED SECTIONS

- GENERAL

  - SECTION INCLUDES

    - Precast prestressed concrete sections.

    - Forming of precast, prestressed concrete sections.

  - RELATED SECTIONS

    - Section 01572-Construction Waste Management.

    - Section 03100-Concrete Forms and Accessories.

    - Section 03200-Concrete Reinforcement.

    - Section 03300-Cast-in-Place Concrete.

    - Section 06100-Rough Carpentry.

  - REFERENCES

    - Codes and Standards:

      - ACI 301, Specifications for Structural Concrete for Buildings.

      - ACI 318-, Building Code Requirements for Reinforced Concrete.

      - AWS Dl.4:  Structural Welding Code-Reinforcing Steel.

      - AWS Dl.1:  Structural Welding Code-Steel.

    - ASTM INTERNATIONAL(ASTM):

      - ASTM A36-Structural Steel.

      - ASTM A416-Steel Strand, Uncoated Seven-Wire for Prestressed Concrete.

      - ASTM A615-Deformed and Plain Billet-Steel Bars for Concrete Reinforcement.

      - ASTM C33-Concrete Aggregates.

      - ASTM C150-Portland cement.

      - ASTM C494-Chemical Admixtures for Concrete.

      - ASTM C618-Fly Ash and Raw or claimed Natural Pozzolin for Use as a Material Admixture in Portland Cement.

      - ASTM C989-Ground Granulated Blast-Furnace Slag for Use in Concrete and Mortars.

    - Prestressed Concrete Institute (PCI):

      - PCI MNL-116, Manual for Quality Control for Plants and Production of Precast Prestressed Concrete Products.

      - PCI MNL-120, Design Handbook - Precast and Prestressed Concrete.

    - Fire-resistance Rated Precast Units: Where precast concrete units are shown or scheduled as requiring a fire-resistance classification, provide units:

      - Tested and listed by UL according to UL specifications, with each unit bearing UL label and marking.

      - Complying with the requirements of the applicable building codes.

    - ASCE 37-02 Design loads on Structures During Construction

    - International Organization for Standardization (ISO) 14021–1999; Environmental Labels and Declarations.

  - DESIGN REQUIREMENTS

    - Prestressed Concrete Sections: Conform to the requirements of ACI 318 except as noted herein.  Design units for the live loads and dead loads as noted on the structural drawings.  Superimposed dead loads listed are in addition to weight of units and slab or topping.  Connections, openings, erection and details under provisions of manufacturer's specifications and details except as noted on the Drawings.

  - SUBMITTALS

    - Submit in accordance with the provisions of Section 01330, “Submittal Procedures”.

      - Shop Drawings shall indicate the following:

      - Indicate design loads, deflections, cambers, bearing requirements and special conditions.

      - Provide a layout plan, including unit locations.erection marks.dimensions, openings, relationship to adjacent materials, section marks and detail marks.

      - Concrete design strength.

      - Unit dimensions and unit weights.

      - Size, number, location, and stress in prestressing strands.

      - Size, number, and location of reinforcing bars including reinforcing for erection and handling stresses.

      - Concrete cover over reinforcing and strands.

      - Bearing and anchorage details.

      - Size and locations of holes for slab form support pins.

      - Concrete finish and curing method.

      - Joist pick-up points and shoring points.

    - Product Data:  Submit product data for all concrete materials, accessories, and admixtures proposed for use including the following information:

      - Recycled Content:

        - Indicate recycled content; indicate percentage of pre-consumer and post-consumer recycled content per unit of product.

        - Indicate relative dollar value of recycled content product to total dollar value of product included in project.

        - If recycled content product is part of an assembly, indicate the percentage of recycled content product in the assembly by weight.

        - If recycled content product is part of an assembly, indicate relative dollar value of recycled content product to total dollar value of assembly.

      - Regional Materials:

        - Sourcing location(s): Indicate location of extraction, harvesting, and recovery; indicate distance between extraction, harvesting, and recovery and the project site.

        - Manufacturing location(s): Indicate location of manufacturing facility; indicate distance between manufacturing facility and the project site.

        - Product Value: Indicate dollar value of product containing local/regional materials; include materials cost only.

        - Product Component(s) Value: Where product components are sourced or manufactured in separate locations, provide location information for each component. Indicate the percentage by weight of each component per unit of product.

    - Shoring and re-shoring shop drawings shall be prepared under the supervision of and signed and sealed by a Professional Engineer licensed in the State of Florida.

    - Design Calculations:

      - Submit for approval, neat, legible, and complete design calculations before fabrication.

      - Calculations shall be by a Florida licensed engineer whose seal and signature shall appear on calculation sheets and shop drawings.

      - Revise calculations if required by A/E or Owner.

      - Calculations shall include predicted in-place cambers without superimposed loads, with superimposed dead loads, and with superimposed dead loads and live loads.

      - Span length in calculations shall be from center of bearing to center to center of bearing.

    - Shop drawings and calculations shall be prepared under the supervision of and signed and sealed by a Professional Engineer licensed in the State of Florida.

    - Test Reports:  Furnish reports of tests on concrete.

    - Certificates:  Submit manufacturer’s test certificates on prestressing strands and reinforcing.

  - QUALITY ASSURANCE

    - Fabricator: Company specializing in manufacturing the work of this section with minimum 5 years documented experience.

    - Erector:  Company specializing in erecting the work of this section with minimum 5 years documented experience and approved by fabricator.

    - Testing Agency: Capable of performing testing under provisions of ASTM E329.

    - Design precast concrete members under direct supervision of a Specialty Engineer experienced in design of this work and licensed in the State of Florida.

  - DELIVERY, STORAGE AND HANDLING

    - Deliver, store, protect and handle protects to site under provisions of Section 01663, “Product Delivery, Storage and Handling Requirements”.

    - Handle precast members in position consistent with their shape and design. Lift and support only from support points.

    - Protect from dirt and damage. Do not place units in position, which will cause overstress, warp or twist. Handle by means of lifting inserts.

    - Store units off ground.  Place stored units so that identification marks are discernible. Separate stacked units by battens across full width of each bearing point.  Do not use upper member of stacked tier as storage area for shorter members or heavy equipment.

    - PRODUCTS

  - MATERIALS

    - All precast prestressed concrete joists and beams concrete materials are to contain recycled steel and fly ash or granulated ground blast-furnace slag.

    - Cement:  Gray Portland, conforming to ASTM C150, Type I or III.

    - Supplemental Cement Materials:

      - Fly Ash:  ASTM C618, Type F.  Not to exceed 20 percent by weight of total cementitious material.

      - Granulated Ground Blast-furnace Slag:  ASTM C989.  Not to exceed 30 percent by weight of cementitious material.

    - Aggregate:  ASTM C33.

    - Water:  Potable.

    - Sand, Admixtures:  Determined by precast fabricator as appropriate to design requirements and PCI MNL-116.

    - Plywood or other approved form for in place cast concrete: smooth finish free of surface damage.

  - REINFORCEMENT

    - Tensioning Steel Tendons:  ASTM A416 Grade 250 or 270, of sufficient strength commensurate with member design.

    - Reinforcing Steel: ASTM A615 Grade 60, deformed billet steel.

  - FABRICATION

    - Fabricate under provisions of approved shop drawings.

    - Fabrication procedure to conform to PCI MNL-116.

    - Maintain plant records and quality control program during production of precast members.  Make records available upon request.

    - Ensure reinforcing steel, anchors, inserts, plates, angles and other cast-in items are embedded and located as indicated on shop drawings.

    - Tension reinforcement tendons as required to achieve design load criteria.

  - FINISHES

    - Ensure exposed-to-view finish surfaces of precast concrete members are uniform in color and appearance.

    - Cure members under identical conditions to develop required concrete quality, and minimize appearance blemishes such as non-uniformity, staining, or surface cracking.

    - Plant Finish: Normal plant finish; surface may contain small surface holes caused by air bubbles, minor chips or spalling at edges or ends, without major discoloration.

    - Exposed-to-View Finish:  Normal plant finish with fins and protrusions removed, ground edges and ends, flat face surfaces.

  - FABRICATION TOLERANCES

    - Conform to PCI MNL-116.

  - SOURCE QUALITY CONTROL AND TESTS

    - Provide testing and analysis under provisions of Section 01450, “Quality Control”.

    - Make 5 test cylinders for each day's pour. Give the cylinders identification marks and record for reference.

    - Break 1 cylinder at 3 days, 1 at 7 days, and 3 at 28 days.  Send the result of the tests to the Project Consultant and Owner in duplicate.

    - EXECUTION

  - EXAMINATION

    - Verify that structure is within required tolerances. Check that bearing surfaces are smooth and level. Verify that units are not damaged.

  - PREPARATION

    - Provide for erection procedure, temporary bracing, for induced loads during erection and placing of cast-in- place concrete. Maintain temporary bracing in place until final support is provided.

  - ERECTION

    - Erect members without damage to structural capacity, shape or finish.  Replace or repair damaged members as directed by Project Consultant.

    - Erect members level and plumb within allowable tolerances.

    - Adjust differential camber between units to within tolerance.

    - No drilling, chipping, PAF or any other intrusions into precast concrete without written specific approval and detailed instructions of Specialty Engineer and fabricator.

    - Secure units in place.

    - Install and secure forms between joist for cast-in-place concrete.

    - Ensure conformance to provisions of ASCE 37-02.

    - Design and erect to tolerances listed in ACI 301

    - When members cannot be adjusted to conform to design or tolerance criteria, advise Project Consultant.  Execute modifications as directed.

  - CLEANING

    - Clean weld marks, dirt or blemishes from surface of exposed members.

END OF SECTION