# SECTION 03470 (03 47 13)

## TILT-UP PRECAST CONCRETE

- GENERAL

  - SECTION INCLUDES

    - Precast concrete work and related items.

  - RELATED SECTIONS

    - Section 01572-Construction Waste Management.

    - Section -3100-Concrete Forms and Accessorieis.

    - Section 03200-Concrete Reinforcement.

    - Section 03300-Cast In Place Concrete.

    - Sectiopn 06100-Carpentry.

  - REFERENCES

    - American Society of Civil Engineers (ASCE) 37-02-Design Loads on Structures During Construction.

    - American Society for Testing and Materials (ASTM).

      - A36-Structural Steel.

      - A185-Steel Welded Wire Reinforcment, Plain, for Concrete.

      - A615-Defromed and Plain Billet-Steel Bars for concrete Reinforcement.

    - Codes and Standards

      - ACI 301-Specifications for Structural Concrete Buildings.

      - ACI 318-Building Code Requirements for Reinforced Concrete.

      - International Organization for Standardization (ISO) 14021–1999; Environmental Labels and Declarations.

  - SUBMITTALS

    - Product Data:  Submit product data for all concrete materials, accessories, and admixtures proposed for use including the following information:

      - Recycled Content:

        - Indicate recycled content; indicate percentage of pre-consumer and post-consumer recycled content per unit of product.

        - Indicate relative dollar value of recycled content product to total dollar value of product included in project.

        - If recycled content product is part of an assembly, indicate the percentage of recycled content product in the assembly by weight.

        - If recycled content product is part of an assembly, indicate relative dollar value of recycled content product to total dollar value of assembly.

      - Regional Materials:

        - Sourcing location(s): Indicate location of extraction, harvesting, and recovery; indicate distance between extraction, harvesting, and recovery and the project site.

        - Manufacturing location(s): Indicate location of manufacturing facility; indicate distance between manufacturing facility and the project site.

        - Product Value: Indicate dollar value of product containing local/regional materials; include materials cost only.

        - Product Component(s) Value: Where product components are sourced or manufactured in separate locations, provide location information for each component. Indicate the percentage by weight of each component per unit of product.

    - Shop drawings signed and sealed along with design calculations by a Structural Engineer licensed in the State of Florida.

      - Shop Drawings:  Provide detail reinforcing, dimensions, embeds, block-outs, thickness, etc.

      - Shop drawings prepared for tilting and placement:  Show all additional reinforcing required for that operation, all erection details, block-outs, panel weight, geometry, etc.

- PRODUCTS

  - PRODUCTS AND MATERIALS

    - All tilt-up precast concrete products are to contain recycled steel and recycled content such as fly ash or granulated ground blast-furnace slag.

    - Concrete compressive strength at 28 day 4,000 psi minimum and have an integral water retarder.

      - Ensure concrete complies with Section 03300-Cast In Place Concrete.

    - Reinforcing Steel:  ASTM A615 – Grade 60.

    - Wire Mesh:  ASTM A-185.

    - Structural Steel:  Conform to ASTM A-36.

  - FABRICATION

    - Design and Fabrication:  Conform to ACI 318.  Minimum Reinforcing:  0.0018 times gross concrete area.

    - Provide diagonal bars at all re-entrant corners.

    - Provide anchorage at base of concrete tilt-up panels to concrete slab-on-grade in form of panel cast-in-place steel reinforcing bars or welded embedded anchor plates.  Slab-on-grade welded wire fabric shall not be acceptable as the medium of anchorage to tilt-up panels.

    - Reinforce panels having thickness greater than 6 inches with 2 layers of reinforcing.

    - Do not lift panels earlier than seven days old.

    - Concrete panel shims shall be high durometer nylon or neoprene type shims.  Wood, masonite or compressible organic type shims shall not be used.

    - Grout used at the base of panels shall be non-shrink high-strength type.

      - Exhibit full grout of spaces below and adjacent to wall.

      - Encase all metal anchorage in minimum of 3 inch concrete.

    - Panels produced in a non-conforming method or panels damaged during erection shall be removed and replaced at no cost to the Owner.

    - After erection, exposed to view panel surfaces shall be ground, patched and sanded smooth using a Portland cement based product with graded silica aggregates and special chemical additives for bonding and hardening.

END OF SECTION