# SECTION 04205 (04 20 10)

## MASONRY PIER FOUNDATIONS

- GENERAL

  - SECTION INCLUDES

    - Work included:  Concrete masonry units, reinforcement, anchorages, and accessories.

  - RELATED SECTIONS

    - Section 01572-Construction Waste Management.

    - Section 03305-Cast In Place Concrete and Reinforcement.

  - SUBMITTALS

    - Product Data:  Submit product data for all concrete materials, accessories, and admixtures proposed for use including the following information:

      - Recycled Content:

        - Indicate recycled content; indicate percentage of pre-consumer and post-consumer recycled content per unit of product.

        - Indicate relative dollar value of recycled content product to total dollar value of product included in project.

        - If recycled content product is part of an assembly, indicate the percentage of recycled content product in the assembly by weight.

        - If recycled content product is part of an assembly, indicate relative dollar value of recycled content product to total dollar value of assembly.

      - Regional Materials:

        - Sourcing location(s): Indicate location of extraction, harvesting, and recovery; indicate distance between extraction, harvesting, and recovery and the project site.

        - Manufacturing location(s): Indicate location of manufacturing facility; indicate distance between manufacturing facility and the project site.

        - Product Value: Indicate dollar value of product containing local/regional materials; include materials cost only.

        - Product Component(s) Value: Where product components are sourced or manufactured in separate locations, provide location information for each component. Indicate the percentage by weight of each component per unit of product.

  - QUALITY ASSURANCE

    - ACI 530, American Concrete Institute Building Code Requirements for Masonry Structures.

    - ACI 530.1, American Concrete Institute Specification for Concrete Masonry Construction.

    - Current Florida Building Code.

    - International Organization for Standardization (ISO) 14021–1999; Environmental Labels and Declarations

- PRODUCTS

  - MATERIALS

    - All concrete masonry units, brick, and steel reinforcement to contain recycled content and regional materials.

  - CONCRETE MASONRY UNITS

    - Classification:  Hollow load-bearing units:  ASTM C90, Type I.

    - Description:

      - Normal weight.

      - Modular sized to 8 inch x 8 inch x 16 inch, 8 inch x 12 inch x 16 inch, and 8 inch x 16 inch x 16 inch.

      - Surface Texture: rough, free of cracks, chipped edges, other defects.

      - Minimum Strength of Masonry: 1,900 psi on net area, but not less than what is shown on drawings.

  - VERTICAL REINFORCEMENT

    - Reinforcing Steel: Same as specified in Section 03200 and Section 03305.

  - CONCRETE FILL

    - Concrete:  Same as specified for Section 03305.

- EXECUTION

  - PREPARATION

    - Verify items provided by other sections of work are properly sized and located.  Establish level lines.  Protect from disturbance.

    - Ensure vertical reinforcement is installed as per details on structural drawings.

  - PLACING MASONRY

    - Lay masonry on concrete foundations.  Ensure level, plumb, and square placement.

    - Place and consolidate concrete fill; tamp with rod to assure leaving no voids or bridging.

    - Do not shift or rap masonry units after concrete fill has taken initial set.  Where adjustment must be made, remove concrete fill and replace.

    - Remove excess concrete.

  - BUILT-IN WORK

    - Anchor bolts, plates and other items to be built in the work to be plumb, level, and square.

  - CLEANING

    - Dry brush masonry surface after masonry has set.

    - Leave work and surrounding surfaces clean and free of mortar spots and droppings.

END OF SECTION