# SECTION 04230 (04 20 20)

## REINFORCED UNIT MASONRY

- GENERAL

  - SECTION INCLUDES

    - Concrete masonry units, reinforcements, associated components, and accessories.

    - Related Sections:

      - 01572-Construction Waste Management

      - 03100-Concrete Formwork.

      - 03200-Concrete Reinforcement.

      - 03300-Cast-in-Place Concrete.

      - 04200-Unit Masonry.

  - REFERENCES

    - Comply with Reference requirements of Sections 03300 and 04200.

    - International Organization for Standardization (ISO) 14021–1999; Environmental Labels and Declarations

  - QUALITY ASSURANCE

    - Comply with provisions of applicable codes, specifications, and standards, except where more stringent requirements are shown or specified, as referred to in Sections 03300 and 04200.

    - Certifications:  Comply with applicable certification requirements of Sections 03300 and 04200.

    - Mock-Ups: Comply with applicable mockup requirements of Sections 03300 and 04200.

  - SUBMITTALS

    - Comply with applicable submittal requirements of Sections 03300 and 04200.

    - Product Data:  Submit product data for all concrete masonry unit products, reinforcement, and accessories proposed for use including the following information:

      - Recycled Content:

        - Indicate recycled content; indicate percentage of pre-consumer and post-consumer recycled content per unit of product.

        - Indicate relative dollar value of recycled content product to total dollar value of product included in project.

        - If recycled content product is part of an assembly, indicate the percentage of recycled content product in the assembly by weight.

        - If recycled content product is part of an assembly, indicate relative

        - dollar value of recycled content product to total dollar value of assembly.

      - Regional Materials:

        - Sourcing location(s): Indicate location of extraction, harvesting, and recovery; indicate distance between extraction, harvesting, and recovery and the project site.

        - Manufacturing location(s): Indicate location of manufacturing facility; indicate distance between manufacturing facility and the project site.

        - Product Value: Indicate dollar value of product containing local/regional materials; include materials cost only.

        - Product Component(s) Value: Where product components are sourced or manufactured in separate locations, provide location information for each component. Indicate the percentage by weight of each component per unit of product.

- PRODUCTS

  - MATERIALS

- All masonry units, steel reinforcement, anchors, ties, and accessories to contain recycled content.

- Formwork:  Comply with applicable requirements of Section 03100 Concrete Formwork.

- Reinforcement:  Comply with applicable requirements of Section 03200 Concrete Reinforcement.

- Grout:  Comply with applicable portions of Sections 03300 and 04200.

- Masonry Materials and Accessories:  Comply with applicable requirements of Section 04200 Concrete Unit Masonry.

- EXECUTION

  - FORMWORK

    - General:  Refer to Section 04200 for general installation requirements of unit masonry.

    - Temporary Formwork:  Provide formwork and shores as required for temporary support of reinforced masonry elements. Design, erect, support, brace and maintain formwork.

    - Construct formwork to conform to shape, line, and dimensions shown.  Make sufficiently tight to prevent leakage of mortar grout, or concrete. Brace, tie, and support as required to maintain portion and shape during construction and curing of reinforced masonry.

    - Do not remove forms and shores until reinforced masonry member has hardened sufficiently to carry it’s own weight and all other reasonable temporary loads that may be placed on it during construction.

  - PLACING REINFORCEMENT

    - General:  Clean reinforcement of loose rust, mill scale, dirt, or other materials capable of reducing bond to mortar or grout.  Do not use reinforcement bars with kinks or bends not shown on drawings or final shop drawings, or bars with reduced cross section due to excessive rusting or other causes.

    - Position reinforcement accurately at the spacing shown.  Support vertical bars are shown in close proximity.  Provide a clear distance between bars of not less than the nominal bar diameter or 1 inch whichever is greater.

      - For columns, piers, and pilasters, provide a clear distance between vertical bars as shown, but not less than 1-1/2 times the nominal bar diameter or 1-1/2 inch, whichever is greater. Provide lateral ties as shown.

    - Splice reinforcement bars where shown and according to applicable provisions of Section 03200, Concrete Reinforcement.  Do not splice at other points unless acceptable to the A/E. Provide lapped splices, unless otherwise shown. In splicing vertical bars or attaching to dowels, lap ends, place in contact and wire tie.

    - Embed metal ties in mortar joints as work progresses, with a minimum mortar cover of 5/8 inch on exterior face of walls and 1/2 inch at other locations.

    - Embed prefabricated horizontal joint reinforcing as the work progresses, with a minimum cover of 5/8 inch on exterior face of walls and 1/2 inch at other locations.  Lap units not less than 6 inches at ends.  Use prefabricated "L" and "T" units to provide continuity at corners and intersections.  Cut and bend units as recommended by manufacturer for continuity at returns, offsets, column fireproofing, pipe enclosures, and other special conditions.

    - Anchoring:

      - Anchor reinforced masonry work to supporting structure as indicated.

      - At intersections of reinforced masonry walls with non-reinforced masonry, provide anchorage as shown.

  - INSTALLATION OF REINFORCED CONCRETE UNIT MASONRY

    - General:

      - Do not wet concrete masonry units (CMU).

      - Lay CMU units with full-face shell mortar beds.

      - Fill vertical head joints (end joints between units) solidly with mortar from face of unit to a distance behind face equal to not less than the thickness of longitudinal face shells.

      - Solidly bed cross-webs of starting courses in mortar.

      - Maintain head and bed joint widths shown, or if not shown, provide 3/8 inch joints.

      - Where solid CMU units are shown, lay with full mortar head and bed joints.

    - Walls:

      - Pattern Bond:  Lay CMU wall units in 1/2 running bond with vertical joints in each course centered on units in courses above and below, unless otherwise indicated.

      - Bond and interlock each course at corners and intersections.  Use special-shaped units where shown, and as required for corners, jambs, sash, control joints, lintels, bond beams, and other special conditions.

      - Maintain vertical continuity of core or cell cavities, to be reinforced and grouted, to provide minimum clear dimensions indicated and to provide minimum clearance and grout coverage for vertical reinforcement bars.  Keep cavities free of mortar.  Solidly bed webs in mortar where adjacent to reinforced cores or cells.

      - Where horizontal reinforced beams (bond beams) are shown, use special units or modify regular units to allow for placement of continuous horizontal reinforcement bars.  Place small mesh expanded metal lath or wire screening in mortar joints under bond beam courses over cores or cells of non-reinforced vertical cells, or provide units with solid bottoms.

    - Columns, Piers, and Pilasters:

      - Use CMU units of the size, shape, and number of vertical core spaces shown.  If not shown, use units providing minimum clearances and grout coverage for number and size of vertical reinforcement bars shown.

      - Provide pattern bond shown, or if not shown, alternate head joints in vertical alignment.

      - Where bonded pilaster construction is shown, lay wall and pilaster units together to maximum pour height specified.

      - Grouting, General:

        - Use "Fine Grout" only where allowed by Section 04200.

        - Use "Coarse Grout" for typical reinforced masonry construction. Use high-slump where height of any lift exceeds 4 feet.

        - Grouting Technique:  At the Contractor's option, use either low lift or high-lift grouting techniques subject to the requirements as specified.

      - Low-Lift Grouting:

        - Provide minimum clear dimension of 2 inches and clear area of 8 square inches in vertical cores to be grouted.

        - Place vertical reinforcement before laying of CMU.  Extend above elevation of maximum pour height as required to allow for splicing.  Support in position at vertical intervals not exceeding 160 bar diameters.

        - Lay CMU to maximum pour height.  Do not exceed 4 feet height, or if bond beam occurs below 4 feet height stop pour at course below bond beam.

        - Pour grout-using container with spout or by chute or by pumping. Vibrate grout during placing.  Place grout continuously.  Do not interrupt pouring of grout for more than one hour.  Terminate grout pours 1-1/2 inch below top course of pour.

        - Bond Beams:  Stop grout in vertical cells 1-1/2 inch below bond beam course.  Place horizontal reinforcing in bond beams.  Lap at corners and intersections as shown.  Place grout in bond beam course before filling vertical cores above bond beam.

        - High-Lift Grouting:

          - Do not use high-lift grouting technique for grouting of CMU unless minimum cavity dimension is 3 inches and 10 square inches, respectively.

          - Provide clean-out holes in first course at all vertical cells to be filled with grout.

            - Use units with one face shell removed and provide temporary supports for units above, or use header units with concrete brick supports, or cut openings in one face shell.

          - Construct masonry to full height of maximum grout pour specified, before placing grout.

          - Limit grout lifts to a maximum height of 4 feet and grout pour to a maximum height of 12 feet, for single wythe hollow concrete masonry walls, unless otherwise indicated.

          - Place vertical reinforcement before grouting.  Place before or after laying masonry units, as required by job conditions.  Tie vertical reinforcement to dowels at base of masonry where shown and if reinforcement is placed first, thread CMU over or around reinforcement.  Support vertical reinforcement at intervals not exceeding 192 bar diameters nor 10 feet.

            - Where reinforcement is prefabricated into cage units before placing, fabricate units with vertical reinforcement bars and lateral ties of the size and spacing shown.

          - Place horizontal beam reinforcement as the masonry units are laid.

          - Embed lateral tie reinforcement in mortar joints where shown.  Place as masonry units are laid, at the vertical spacing shown.

          - Preparation of Grout Spaces:  Before grouting, inspect and clean grout spaces.  Remove dust, dirt, mortar droppings, loose pieces of masonry, and other foreign materials from grout spaces.  Clean reinforcing and adjust to proper position.  Clean top surface of structural members supporting masonry to ensure bond. After final cleaning and inspection, close clean-out holes and brace closures to resist grout pressures.

          - Do not place grout until entire height of masonry to be grouted has attained sufficient strength to resist displacement of masonry units and breaking of mortar bond.  Install shores and bracing, if required, before starting grouting operations.

          - Place grout by pumping into grout spaces unless alternate methods are acceptable to the A/E.

          - Limit grout pours to sections, which can be completed in one working day with not more than one-hour interruption of pouring operation.

            - Place grout in lifts, which do not exceed 4 feet.

            - Allow not less than 30 minutes, nor more than one hour between lifts of a given pour.

            - Vibrate each grout lift during pouring operation.

            - Place grout in lintels or beams over openings in one continuous pour.

          - Where bond beam occurs more than one course below top of pour, fill bond beam course to within 1 inch of vertically reinforced cavities, during construction of masonry.

          - When more than one pour is required to complete a given section of masonry, extend reinforcement beyond masonry as required for splicing. Pour grout to within 1-1/2 inch of top course of first pour. After grouted masonry is cured, lay masonry units and place reinforcement for second pour section before grouting.  Repeat sequence if more pours are required.

END OF SECTION