# SECTION 05511 (05 51 00)

## METAL STAIRS

- GENERAL

  - SECTION INCLUDES

    - Preassembled steel stairs with concrete-filled treads.

    - Handrails and railings attached to metal stairs.

    - Handrails attached to walls adjacent to metal stairs.

    - Railing gates at the level of exit discharge.

  - RELATED SECTIONS

    - Section 01572-Construction Waste Management.

    - Section 03300-Cast In Place Concrete, for concrete fill for stair treads and platforms.

    - Section 05500-Metal Fabrications

    - Section 05520-Metal Handrails and Railings.

  - REFERENCES (Edition per Florida Building Code (“FBC”) Required, or if not listed, latest)

    - Aluminum Association:

      - AA DAF-45 Designation System for Aluminum Finishes.

    - American Architectural Manufacturers Association:

      - AAMA 611-Voluntary Specification for Anodized Architectural Aluminum.

    - ASTM International (ASTM):

      - ASTM A36/A36M-Standard Specification for Carbon Structural Steel.

      - ASTM A53/A53M-Standard Specification for Pipe, Steel, Black and Hot-Dipped, Zinc-Coated, Welded and Seamless.

      - ASTM A123/A123M-Standard Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products.

      - ASTM A185-ard Specification for Steel Welded Wire Fabric, Plain, for Concrete Reinforcement.

      - ASTM A153/A 153M-Standard Specification for Zinc Coating (Hot-Dip) on Iron and Steel Hardware.

      - ASTM A283-Standard Specification for Low and Intermediate Tensile Strength Carbon Steel Plate.

      - ASTM A307-Standard Specification for Carbon Steel Bolts and Studs, 60 000 PSI Tensile Strength.

      - ASTM A325-Standard Specification for Structural Bolts, Steel, Heat Treated 120/105 ksi minimum Tensile Strength.

      - ASTM A366-Standard Specification for Steel Sheet, Carbon, Cold Rolled, Commercial Quality.

      - ASTM A500-Standard Specification for Cold-Formed Welded and Seamless Carbon Steel Structural Tubing in Rounds and Shapes.

      - ASTM A510-Standard Specification for General Requirements for Wire Rods and Course Drawn Wire, Carbon Steel

      - ASTM A563-Standard Specification for Carbon and Alloy Steel Nuts.

      - ASTM A569-Standard Specification for Steel, Carbon, (0.15% Max.) Hot Rolled Sheet & Strip, Commercial Quality.

      - ASTM A570-Standard Specification for Steel, Sheet & Strip, Carbon, Hot Rolled, Structural Quality.

      - ASTM A611-Standard Specification for Steel, Sheet, Carbon Cold Rolled, Structural Quality.

      - ASTM A786-Standard Specification for Hot Rolled Carbon and Low Alloy, High Strength, Low Alloy and Alloy Steel Floor Plate.

      - ASTM A563-Standard Specification for Carbon and Alloy Steel Nuts.

      - ASTM B633-Standard Specification for Electrodeposited Coatings of Zinc on Iron and Steel.

      - ASTM C1107-Standard Specification for Packaged Dry, Hydraulic Cement Grout (non-shrink).

      - ASTM D1187-Standard Specification for Asphalt Based Emulsions For Use as Protective Coating for Metal.

      - ASTM E488-Test Method for Strength of Anchors in Concrete and Masonry Elements.

      - ASTM E894-Test Method for Anchorage of Metal Railing Systems and Rails for Buildings.

      - ASTM E935-Test Method for Performance for Anchorage of Metal Railing Systems and Rails for Buildings.

      - ASTM F568-Standard Specification for Carbon and Alloy Steel Externally Threaded Metric Fasteners.

      - ASTM F738-Standard Specification for Stainless Steel Metric Bolts, Screws and Studs.

      - ASTM F836-Standard Specification for Stainless Steel Metric Nuts

    - American Welding Society:

      - AWS A2.4-Standard Symbols for Welding, Brazing, and Nondestructive Examination.

      - AWS D1.1-Structural Welding Code – Steel.

      - AWS D1.6-Structural Welding Code – Stainless Steel.

      - International Organization for Standardization (ISO) 14021–1999; Environmental Labels and Declarations.

    - National Association of Architectural Metal Manufacturers (NAAMM)

      - NAAMM AMP 510.

      - NAAMM-Metal Finishes for Architectural and Metal Products.

    - SSPC: The Society for Protective Coatings:

      - SSPC-Steel Structures Painting Manual.

      - SSPC Paint 15-Steel Joist Shop Primer/Metal Building Primer.

      - SSPC Paint 20-Zinc-Rich Primers (Type I – Inorganic and Type II – Organic).

      - SSPC Zone 1B-SP6-No.3 – Commercial Blast Cleaning.

      - SSPC Zone 1A -SP3 – Power Tool Cleaning.

    - American Society of Mechanical Engineers.

      - ASME B18.2.3-2003 Machine Screws and Machine Screw Nuts.

      - ASME B18.6.3-1996 Square and Hex Bolts and Screws.

      - ASME B18.21.1-1999 Lock Washers.

      - ASME B18.22.1-1965 Plain Washers.

  - PERFORMANCE REQUIREMENTS

    - Structural Performance:  Provide metal stairs capable of withstanding the following structural loads without exceeding the allowable design working stress of the materials involved, including anchors and connections.  Apply each load to produce the maximum stress in each component of metal stairs.

      - Treads and Platforms of Metal Stairs:  Capable of withstanding a uniform load of 100 psf or a concentrated load of 300 lbs. on an area of 4 sq. in., whichever produces the greater stress.

      - Stair Framing:  Capable of withstanding stresses resulting from loads specified above in addition to stresses resulting from railing system loads.

      - Limit deflection of treads, platforms, and framing members to L/360 or 1/4 inch, whichever is less.

    - Structural Performance of Handrails and Railings:  Provide handrails and railings complying with requirements in ASTM E 985 for structural performance, based on testing performed according to ASTM E 894 and ASTM E 935.

    - Structural Performance of Handrails and Railings:  Provide handrails and railings capable of withstanding structural loads required by the Florida Building Code without exceeding the allowable design working stress of materials for handrails, railings, anchors, and connections.

    - Structural Performance of Handrails and Railings:  Provide handrails and railings capable of withstanding loads prescribed by FBC, without exceeding the allowable design working stress of materials for handrails, railings, anchors, and connections.

  - SUBMITTALS

    - Product Data:  For metal stairs and the following:

      - Prefilled metal-pan stair treads.

      - Cast nosings.

      - Steel floor plate.

      - Paint products.

      - Grout.

    - Product Data: Recycled Content:

- Indicate recycled content; indicate percentage of pre-consumer and post-consumer recycled content per unit of product.

- Indicate relative dollar value of recycled content product to total dollar value of product included in project.

- If recycled content product is part of an assembly, indicate the percentage of recycled content product in the assembly by weight.

- If recycled content product is part of an assembly, indicate relative dollar value of recycled content product to total dollar value of assembly.

    - Shop Drawings:  Show fabrication and installation details for metal stairs.  Include plans, elevations, sections, and details of metal stairs and their connections.  Show anchorage and accessory items.  Provide templates for anchors and bolts specified for installation under other Sections.

      - For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer licensed in the State of Florida responsible for their preparation.

    - Samples for Initial Selection:  Manufacturer's color charts or sections of units showing the full range of colors and patterns.

    - Welding Certificates:  Copies of certificates for welding procedures and personnel.

    - Qualification Data:  For firms and persons specified in "Quality Assurance" Article to demonstrate their capabilities and experience.  Include lists of completed projects with project names and addresses, names and addresses of architects and owners, and other information specified.

  - QUALITY ASSURANCE

    - Installer Qualifications:  Arrange for metal stairs specified in this Section to be fabricated and installed by the same firm.

    - Professional Engineer Qualifications:  A professional engineer who is licensed in Florida and who is experienced in providing engineering services of the kind indicated.  Engineering services are defined as those performed for installations of metal stairs (including handrails and railing systems) that are similar to those indicated for this Project in material, design, and extent.

    - Fabricator Qualifications:  A firm experienced in producing metal stairs similar to those indicated for this Project and with a record of successful in-service performance, as well as sufficient production capacity to produce required units.

    - Welding:  Qualify procedures and personnel according to AWS D1.1, "Structural Welding Code--Steel," and AWS D1.3, "Structural Welding Code--Sheet Steel."

  - COORDINATION

    - Coordinate installation of anchorages for metal stairs.  Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

- PRODUCTS

  - MATERIALS

    - All manufactured metal stairs products are to contain recycled content.

  - MANUFACTURERS

    - Acceptable Manufacturers:  Subject to compliance with the specified requirements, provide products by one of the following manufacturers:

      - Preassembled Stairs:

        - Alfab, Inc.

        - American Metal Works, Inc.

        - American Stair Corp., Inc.

        - Florida Stairs & Rails, Inc.

        - National Stair & Rail, Inc.

        - Sharon Companies, Ltd. (The).

      - Cast Abrasive Nosings:

        - American Safety Tread Co., Inc.

        - Amstep Products.

        - Armstrong Products, Inc.

        - Balco/Metalines, Inc.

        - Safe-T-Metal Co.

        - Wooster Products Inc.

      - Extruded Abrasive Nosings:

        - American Safety Tread Co., Inc.

        - Amstep Products.

        - Armstrong Products, Inc.

        - Balco/Metalines, Inc.

        - Safe-T-Metal Co.

        - Wooster Products Inc.

    - Substitutions:

      - Will be considered by the Project Consultant and Owner when submitted per requirements of Division-0, Division-1, and Section 01630-Product Substitution Procedures.

  - FERROUS METALS

    - Metal Surfaces, General:  Provide metal free from pitting, seam marks, roller marks, and other imperfections where exposed to view on finished units.  Do not use steel sheet with variations in flatness exceeding those permitted by referenced standards for stretcher-leveled sheet.

    - Steel Plates, Shapes, and Bars:  ASTM A36/A 36M.

    - Steel Tubing:  Cold-formed steel tubing complying with ASTM A500.

    - Steel Pipe:  ASTM A53, standard weight (Schedule 40), unless another weight is indicated or required by structural loads.

    - Rolled-Steel Floor Plate:  ASTM A 786/A 786M, rolled from plate complying with ASTM A 36/A 36M or ASTM A 283/A 283M, Grade C or D.

    - Steel Bars for Gratings:  ASTM A36/A36M.

    - Wire Rod for Grating Crossbars:  ASTM A510 (ASTM A 510M).

    - Uncoated, Cold-Rolled Steel Sheet:  Commercial quality, complying with ASTM A366/A 366M; or structural quality, complying with ASTM A611, Grade A, unless another grade is required by design loads.

    - Uncoated, Hot-Rolled Steel Sheet:  Commercial quality, complying with ASTM A569/A 569M; or structural quality, complying with ASTM A570/A570M, Grade 30, unless another grade is required by design loads.

    - Galvanized Steel Sheet:  ASTM A653/A653M, G90 (Z275) coating, either commercial quality or structural quality, Grade 33 (Grade 230), unless another grade is required for design loads.

    - Welding Rods and Bare Electrodes:  Select according to AWS specifications for metal alloy welded.

  - FASTENERS

    - General:  Provide zinc-plated fasteners with coating complying with ASTM B 633, Class Fe/Zn 25 for exterior use, and Class Fe/Zn 5 where built into exterior walls.  Select fasteners for type, grade, and class required.

    - Bolts and Nuts:  Regular hexagon-head bolts, ASTM A307, Grade A (ASTM F568M, Property Class 4.6); with hex nuts, ASTM A563 (ASTM A563M); and, where indicated, flat washers.

    - Machine Screws:  ASME B18.6.3 (ASME B18.6.7M).

    - Lag Bolts:  ASME B18.2.1 (ASME B18.2.3.8M).

    - Plain Washers:  Round, carbon steel, ASME B18.22.1 (ASME B18.22M).

    - Lock Washers:  Helical, spring type, carbon steel, ASME B18.21.1 (ASME B18.21.2M).

    - Expansion Anchors:  Anchor bolt and sleeve assembly of material indicated below with capability to sustain, without failure, a load equal to six times the load imposed when installed in unit masonry and equal to four times the load imposed when installed in concrete, as determined by testing per ASTM E488, conducted by a qualified independent testing agency.

      - Material:  Carbon-steel components zinc-plated to comply with ASTM B633, Class Fe/Zn 5.

      - Material:  Alloy Group 1 or 2 stainless-steel bolts complying with ASTM F593 (ASTM F738M) and nuts complying with ASTM F 594 (ASTM F836M).

  - PAINT

    - Shop Primers:  Provide primers that comply with Division 9 Section "Painting."

    - Shop Primer for Ferrous Metal:  Fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with performance requirements in FS TT-P-664, selected for good resistance to normal atmospheric corrosion, compatibility with finish paint systems indicated, and capability to provide a sound foundation for field-applied topcoats despite prolonged exposure.

    - Galvanizing Repair Paint:  High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

    - Bituminous Paint:  Cold-applied asphalt mastic complying with SSPC-Paint 12, except containing no asbestos fibers or cold-applied asphalt emulsion complying with ASTM D 1187.

  - CAST ABRASIVE NOSINGS

    - Fabricate units from cast iron in sizes and configurations indicated and in lengths necessary to accurately fit openings or conditions.  Provide units with an integral abrasive finish consisting of aluminum oxide, silicon carbide, or a combination of both.

    - Provide anchors for embedding units in concrete, either integral or applied to units, as standard with manufacturer.

    - Drill for mechanical anchors and countersink.  Locate not more than 4 inches (100 mm) from ends and not more than 12 inches o.c., evenly spaced between ends, unless otherwise indicated.  Provide closer spacing if recommended by manufacturer.

    - Apply bituminous paint to concealed bottoms, sides, and edges of units set into concrete.

    - Provide a plain surface texture, unless fluted or cross-hatched surfaces are indicated.

  - EXTRUDED ABRASIVE NOSINGS

    - Fabricate units in sizes and configurations indicated and in lengths necessary to accurately fit openings or conditions.  Provide extruded-aluminum units with abrasive filler consisting of aluminum oxide, silicon carbide, or a combination of both, in an epoxy-resin binder.

      - Provide ribbed units, with abrasive filler strips projecting 1/16 inch above aluminum extrusion.

      - Provide solid-abrasive-type units without ribs.

    - Provide anchors for embedding units in concrete, either integral or applied to units, as standard with manufacturer.

    - Drill for mechanical anchors and countersink.  Locate not more than 4 inches from ends and not more than 12 inches o.c., evenly spaced between ends, unless otherwise indicated.  Provide closer spacing if recommended by manufacturer.

    - Apply clear lacquer to concealed bottoms, sides, and edges of units set into concrete.

  - GROUT

    - Nonshrink, Nonmetallic Grout:  Factory-packaged, nonstaining, noncorrosive, nongaseous grout complying with ASTM C1107.  Provide grout specifically recommended by manufacturer for interior and exterior applications.

  - CONCRETE FILL AND REINFORCING MATERIALS

    - Concrete Materials and Properties:  Comply with requirements in Section 03300 for normal-weight, ready-mixed concrete with a minimum 28-day compressive strength of 3000 psi (20 MPa), and maximum w/c ratio of 0.6 unless higher strengths are indicated.

    - Nonslip-Aggregate Finish:  Factory-packaged abrasive aggregate made from fused, aluminum-oxide grits or crushed emery; rustproof and nonglazing; unaffected by freezing, moisture, or cleaning materials.

    - Welded Wire Fabric:  ASTM A 185, 6 by 6 inches -W1.4 by W1.4, unless otherwise indicated.

  - FABRICATION, GENERAL

    - Provide complete stair assemblies, including metal framing, hangers, struts, handrails, railings, clips, brackets, bearing plates, and other components necessary to support and anchor stairs and platforms on supporting structure.

    - Provide complete stair assemblies, including metal framing, hangers, struts, clips, brackets, bearing plates, and other components necessary to support and anchor stairs and platforms on supporting structure.

      - Join components by welding, unless otherwise indicated.

      - Use connections that maintain structural value of joined pieces.

      - Fabricate treads and platforms of exterior stairs so finished walking surfaces slope to drain.

    - NAAMM Stair Standard:  Comply with "Recommended Voluntary Minimum Standards for Fixed Metal Stairs" in NAAMM AMP 510, "Metal Stairs Manual," for class of stair designated, unless more stringent requirements are indicated.

      - Architectural class, where indicated.

      - Commercial class, unless otherwise indicated.

      - Service class, unless otherwise indicated.

      - Industrial class, where indicated.

    - Shop Assembly:  Preassemble stairs in shop to greatest extent possible to minimize field splicing and assembly.  Disassemble units only as necessary for shipping and handling limitations.  Clearly mark units for reassembly and coordinated installation.

    - Form exposed work true to line and level with accurate angles and surfaces and straight sharp edges.  Shear and punch metals cleanly and accurately.  Remove sharp or rough areas on exposed surfaces.

    - Ease exposed edges to a radius of approximately 1/32 inch, unless otherwise indicated.  Form bent-metal corners to smallest radius possible without causing grain separation or otherwise impairing work.

    - Weld connections to comply with the following:

      - Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

      - Obtain fusion without undercut or overlap.

      - Remove welding flux immediately.

      - Weld exposed corners and seams continuously, unless otherwise indicated.

      - At exposed connections, finish exposed welds and surfaces smooth and blended so no roughness shows after finishing and contour of welded surface matches that of adjacent surface.

    - Form exposed connections with hairline joints, flush and smooth, using concealed fasteners where possible.  Use exposed fasteners of type indicated or, if not indicated, Phillips flat-head (countersunk) screws or bolts.  Locate joints where least conspicuous.

    - Fabricate joints that will be exposed to weather in a manner to exclude water, or provide weep holes where water may accumulate.

  - STEEL-FRAMED STAIRS

    - Stair Framing:  Fabricate stringers of structural-steel channels, plates, or a combination of both, as indicated.  Provide closures for exposed ends of stringers.  Construct platforms of structural-steel channel headers and miscellaneous framing members as indicated.  Bolt or weld headers to stringers; bolt or weld framing members to stringers and headers.  If using bolts, fabricate and join so bolts are not exposed on finished surfaces.

      - Where stairs are enclosed by gypsum board shaft-wall assemblies, provide hanger rods to support landings from floor construction above.  Locate hanger rods within stud space of shaft-wall construction.

      - Where masonry walls support metal stairs, provide temporary supporting struts designed for erecting steel stair components before installing masonry.

    - Metal Risers, Subtread Pans, and Subplatforms:  Form to configurations shown from steel sheet of thickness necessary to support indicated loads, but not less than 0.0677 inch.

      - Steel Sheet:  Uncoated cold-rolled steel sheet, unless otherwise indicated.

      - Steel Sheet:  Uncoated hot-rolled steel sheet, unless otherwise indicated.

      - Steel Sheet:  Galvanized steel sheet, where indicated.

      - Directly weld metal pans to stringers; locate welds on side of subtreads to be concealed by concrete fill.  Do not weld risers to stringers.

      - Attach risers and subtreads to stringers with brackets made of steel angles or bars.  Weld brackets to stringers and attach metal pans to brackets by welding, riveting, or bolting.

      - Shape metal pans to include nosing integral with riser.

      - Attach cast abrasive nosings to risers.  Make nosings full width of tread, with noses flush with riser faces and level with tread surfaces.

      - Attach extruded abrasive nosings to risers.  Make nosings full width of tread, with noses flush with riser faces and level with tread surfaces.

      - At Contractor's option, provide stair assemblies with metal-pan subtreads filled with reinforced concrete during fabrication.

      - Provide epoxy-resin-filled treads, reinforced with glass fibers, with slip-resistant, abrasive surface.

      - Provide subplatforms of configuration indicated or, if not indicated, the same as subtreads.  Weld subplatforms to platform framing.

        - Smooth Soffit Construction:  Construct subplatforms with smooth soffits.

  - STEEL TUBE HANDRAILS and RAILINGS

    - General:  Fabricate handrails and railings to comply with FBC and requirements indicated for design, dimensions, details, finish, and member sizes, including wall thickness of tube, post spacings, and anchorage, but not less than that needed to withstand indicated loads.

      - Gates:  Form gates from steel tube of same size and shape as top rails.  Provide with hinges for fastening to wall and overlapping stop with rubber bumper to restrict gate to opening in the direction of egress.

    - Interconnect members by butt-welding or welding with internal connectors, at fabricator's option, unless otherwise indicated.

      - At tee and cross intersections, cope ends of intersecting members to fit contour of tube to which end is joined, and weld all around.

    - Form changes in direction of handrails and rails as follows:

      - As detailed.

      - By bending.

      - By flush-radius bends.

      - By radius bends of radius indicated.

      - By inserting prefabricated flush-elbow fittings.

      - By any method indicated above, applicable to change of direction involved.

    - Form simple and compound curves by bending members in jigs to produce uniform curvature for each repetitive configuration required; maintain cross section of member throughout entire bend without buckling, twisting, cracking, or otherwise deforming exposed surfaces of components.

    - Close exposed ends of handrail and railing members with prefabricated end fittings.

    - Provide wall returns at ends of wall-mounted handrails, unless otherwise indicated.  Close ends of returns, unless clearance between end of rail and wall is 1/4 inch (6 mm) or less.

    - Brackets, Flanges, Fittings, and Anchors:  Provide wall brackets, end closures, flanges, miscellaneous fittings, and anchors for interconnecting railings and for attaching to other work.  Furnish inserts and other anchorage devices for connecting to concrete or masonry work.

      - Connect railing posts to stair framing by direct welding, unless otherwise indicated.

    - Fillers:  Provide fillers made from steel plate, or other suitably crush-resistant material, where needed to transfer wall bracket loads through wall finishes to structural supports.  Size fillers to suit wall finish thicknesses and to produce adequate bearing area to prevent bracket rotation and overstressing of substrate.

    - For galvanized handrails and railings, provide galvanized fittings, brackets, fasteners, sleeves, and other ferrous-metal components.

    - For nongalvanized handrails and railings, provide nongalvanized ferrous-metal fittings, brackets, fasteners, and sleeves, except galvanize anchors embedded in exterior masonry and concrete construction.

  - STAIR HANDRAILS, and RAILINGS

    - General:  Comply with applicable requirements in Division 5 Section "Pipe and Tube Railings" for handrails and railings, and as follows:

    - General:  Comply with applicable requirements in Division 5 Section "Metal Handrails and Railings" for handrails and railings, and as follows:

      - Fabricate newels of steel tubing and provide newel caps of gray-iron castings, as shown.

      - Fabricate newels of steel tubing and provide newel caps of pressed steel, as shown.

      - Railings may be bent at corners, rail returns, and wall returns, instead of using prefabricated fittings.

      - Connect railing posts to stair framing by direct welding, unless otherwise indicated.

  - FINISHES

    - Comply with NAAMM'S "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

    - Finish metal stairs after assembly.

    - Galvanizing:  Hot-dip galvanize items as indicated to comply with applicable standard listed below:

      - ASTM A123, for galvanizing both fabricated and unfabricated iron and steel products made of uncoated rolled, pressed, and forged shapes, plates, bars, and strips 0.0299 inch thick and heavier.

      - ASTM A153/A 153M, for galvanizing steel and iron hardware.

      - Fill vent and drain holes that will be exposed in finished Work, unless indicated to remain as weep holes, by plugging with zinc solder and filing off smooth.

    - Preparation for Shop Priming:  Prepare uncoated ferrous-metal surfaces to comply with minimum requirements indicated below for SSPC surface-preparation specifications and environmental exposure conditions of installed products:

      - Exteriors (SSPC Zone 1B):  SSPC SP 6/NACE No. 3, "Commercial Blast Cleaning."

      - Interiors (SSPC Zone 1A):  SSPC SP 3, "Power Tool Cleaning."

    - Apply shop primer to prepared surfaces of metal stair components, unless otherwise indicated.  Comply with SSPC-PA 1, "Paint Application Specification No. 1," for shop painting.  Primer need not be applied to surfaces to be embedded in concrete or masonry.

      - Do not apply primer to galvanized surfaces.

      - Stripe paint corners, crevices, bolts, welds, and sharp edges.

- EXECUTION

  - INSTALLATION, GENERAL

    - Fastening to In-Place Construction:  Provide anchorage devices and fasteners where necessary for securing metal stairs to in-place construction.  Include threaded fasteners for concrete and masonry inserts, through-bolts, lag bolts, and other connectors.

    - Cutting, Fitting, and Placement:  Perform cutting, drilling, and fitting required for installing metal stairs.  Set units accurately in location, alignment, and elevation, measured from established lines and levels and free from rack.

    - Install metal stairs by welding stair framing to steel structure or to weld plates cast into concrete, unless otherwise indicated.

    - Provide temporary bracing or anchors in formwork for items that are to be built into concrete, masonry, or similar construction.

    - Fit exposed connections accurately together to form hairline joints.  Weld connections that are not to be left as exposed joints but cannot be shop welded because of shipping size limitations.  Do not weld, cut, or abrade surfaces of exterior units that have been hot-dip galvanized after fabrication and are for bolted or screwed field connections.

    - Field Welding:  Comply with the following requirements:

      - Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

      - Obtain fusion without undercut or overlap.

      - Remove welding flux immediately.

      - At exposed connections, finish exposed welds and surfaces smooth and blended so no roughness shows after finishing and contour of welded surface matches that of adjacent surface.

    - Install precast treads with adhesive supplied by manufacturer.

  - INSTALLING METAL STAIRS WITH GROUTED BASEPLATES

    - Clean concrete and masonry bearing surfaces of bond-reducing materials, and roughen to improve bond to surfaces.  Clean bottom surface of baseplates.

    - Set steel stair baseplates on wedges, shims, or leveling nuts.  After stairs have been positioned and aligned, tighten anchor bolts.  Do not remove wedges or shims but, if protruding, cut off flush with edge of bearing plate before packing with grout.

      - Use nonmetallic, nonshrink grout, unless otherwise indicated.

      - Pack grout solidly between bearing surfaces and plates to ensure that no voids remain.

  - INSTALLING STEEL TUBE RAILINGS AND HANDRAILS

    - Adjust handrails and railing systems before anchoring to ensure matching alignment at abutting joints.  Space posts at spacing indicated or, if not indicated, as required by design loads.  Plumb posts in each direction.  Secure posts and railing ends to building construction as follows:

      - Anchor posts to steel by welding directly to steel supporting members.

      - Anchor handrail ends to concrete and masonry with steel round flanges welded to rail ends and anchored with postinstalled anchors and bolts.

    - Attach handrails to wall with wall brackets.  Provide bracket with 1-1/2-inch clearance from inside face of handrail and finished wall surface.  Locate brackets as indicated or, if not indicated, at spacing required to support structural loads.  Secure wall brackets to building construction as follows:

      - Use type of bracket with flange tapped for concealed anchorage to threaded hanger bolt.

      - Use type of bracket with predrilled hole for exposed bolt anchorage.

      - For concrete and solid masonry anchorage, use drilled-in expansion shields and hanger or lag bolts.

      - For hollow masonry anchorage, use toggle bolts.

      - For wood stud partitions, use hanger or lag bolts set into wood backing between studs.  Coordinate with carpentry work to locate backing members.

      - For steel-framed gypsum board assemblies, use hanger or lag bolts set into wood backing between studs.  Coordinate with stud installation to locate backing members.

      - For steel-framed gypsum board assemblies, fasten brackets directly to steel framing or concealed reinforcements using self-tapping screws of size and type required to support structural loads.

  - ADJUSTING AND CLEANING

    - Touchup Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with the same material as used for shop painting to comply with SSPC-PA 1 for touching up shop-painted surfaces.

      - Apply by brush or spray to provide a minimum 2.0-mil dry film thickness.

    - Touchup Painting:  Cleaning and touchup painting of field welds, bolted connections, and abraded areas of shop paint are specified in Division 9 Section "Painting."

    - Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A780.

END OF SECTION