# SECTION 08110 (08 11 13)

## STEEL DOORS AND FRAMES

- GENERAL

  - SECTION INCLUDES

    - Fire rated and non-fire rated standard steel doors and steel frames and steel windows frames and associated accessories that are indicated on the drawings and in schedules.

    - Section Does Not Include:  Use of aluminum doors.

  - RELATED SECTIONS

      - 01572-Construction Waste Management.

      - 04200-Concrete Unit Masonry.

      - 06100-Carpentry.

      - 07900-Joint Sealers.

      - 08710-Door Hardware.

      - 08800-Glass and Glazing.

      - 09250-Gypsum Drywall.

      - 09900-Painting.

  - REFERENCES

    - American Society for Testing and Materials (ASTM):

      - A1011A/1011/M-Specifications for Steel Sheet and Strip, Hot-Rolled, Carbon, Structural, High-Strength Low-Alloy, and High Strength Low-Alloy with improved Formability.

      - A653/A653/M-Specification for Steel Sheet, Zinc-coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed by the Hot Dipped Process (Commercial Steel).

      - A1008/A1008/M-Specification for Steel Sheet and Strip, Cold-Rolled, Carbon, Structural, High-Strength Low-Alloy, and High-Strength, Low-Alloy with Improved Formability.

      - C270-Mortar for Unit Masonry.

      - E 152-Fire Test of Door Assemblies.

    - ANSI/NAAMM HMMA 861-Guide Specifications for Commercial Hollow Metal Doors and Frames.

      - ANSI=American National Standards Institute.

      - NAAMM=National Association of Architectural Metal Manufacturers.

      - HMMA=Hollow Metal Manufacturers Association.

    - ANSI/SDI A250.8-Recommended Specifications for Standard Steel Doors and Frames.

      - SDI=Steel Door Institute.

    - Factory Mutual (FM).

    - Florida Building Code (FBC).

    - Florida Building Code (FBC) High Velocity Hurricane Zones (HVHZ) Protocols and required product Notice of Acceptance (NOA).

    - International Organization for Standardization (ISO) 14021–1999; Environmental Labels and Declarations.

    - National Builders Hardware Association-“Recommended Locations for Builder’s Hardware”.

    - National Fenestration Rating Council (NFRC).

    - NFPA 80-Fire Doors and Windows (National Fire Protection Association).

    - NFPA 252-Standard Methods of Fire Tests of Door Assemblies.

    - Underwriters Laboratories (UL).

  - SUBMITTALS

    - Product Data:  Submit manufacturer’s technical product data substantiating that products comply with requirements prior to start of manufacture.

      - Recycled Content:

        - Indicate recycled content; indicate percentage of pre-consumer and post-consumer recycled content per unit of product.

        - Indicate relative dollar value of recycled content product to total dollar value of product included in project.

        - If recycled content product is part of an assembly, indicate the percentage of recycled content product in the assembly by weight.

        - If recycled content product is part of an assembly, indicate relative dollar value of recycled content product to total dollar value of assembly.

      - Energy Efficiency:

- (a)	Submit product data indicating energy performance in accordance with the National Fenestration Rating Council (NFRC) methodology.

- 3.	Manufacturer’s specifications and catalog cuts.

    - Shop Drawings:  Submit for fabrication and installation of steel doors and frames.  Include details of each frame type, required reinforcement, elevations of door design types, conditions at openings, details of construction, location and installation requirements of door hardware and reinforcements, details of joints and connections.  Show anchorage and accessory items.  Show allowable design pressures and impact resistance certification for doors exposed to wind loading.

      - Provide schedule of doors and frames using same reference numbers for details and openings as those on contract drawings.

      - Indicate coordination of glazing frames and stops with glass and glazing requirements.

      - Doors and frames shall meet or exceed wind pressure and impact requirements shown on Contract Documents.

    - Label Construction Certification:  For door assemblies required to be fire-rated and exceeding sizes of tested assemblies, submit manufacturer’s certification for each door and frame assembly constructed to conform to design, materials, and construction equivalent to requirements for labeled construction.

    - Samples:  Provide cut-away samples of hollow metal door and frame construction.  Submit for review 1 foot 6 inches x 1 foot 6 inches portion of exterior flush door panel construction at upper hinge corner location.  Sample to include actual thickness and gages of face sheets, channels, reinforcing plates, insulation, etc.  Sample to be prime painted.  Submit for review 1-foot long lower portion of exterior hinge side frame construction.  Sample to include actual gage thickness of jamb sheet metal, reinforcing plates and floor anchors.  Supply sample of expansion anchor fasteners.  Jamb sample to be prime painted.

    - Exterior Doors:  Submit complete current Florida Building Code (FBC) High Velocity Hurricane Zones (HVHZ) Protocols and required product Notice of Acceptance (NOA).

  - QUALITY ASSURANCE

    - Provide doors and frames complying with ANSI/SDI 250.8 for Standard doors and ANSI/NAAMM HMMA 861 for custom doors.

    - Fire-Rated Door Assemblies:  Where fire rated door assemblies are indicated or required, provide fire-rated door and frame assemblies complying with NFPA 80 and have been tested, listed, and labeled according to ASTM E152 by a nationally recognized independent testing and inspection agency acceptable to authorities having jurisdiction.

    - Provide factory applied metal labels on fire-rated doors and frames.  Field applied labels shall not be acceptable.

    - The Owner reserves the right to select at random up to 2 doors and frames to verify the construction for compliance with this specification.  Cost of replacement of these two doors and frames shall be included in the Contract Amount, and entered in the Schedule of Values as a separate line item.

    - All work shall be performed in accordance with referenced standards.

  - DELIVERY, STORAGE AND HANDLING

    - Deliver steel doors and frames cartoned or crated to provide protection during transit and job storage.  Provide additional sealed plastic wrapping for factory-finished doors.

    - Inspect steel doors and frames upon delivery for damage.  Minor damage may be repaired if refinished items are equal in all respects to new work and acceptable to owner.  Remove and replace damaged items as directed.

    - Doors and frames shall be stored at the building site under cover in a vertical position.  Doors and frames shall be separated and spaced using wood blocking.  Place units on minimum 4 inch high wood blocking.  Avoid use of non-vented plastic or canvas shelters that could create a humidity chamber.  If cardboard wrapper on door becomes wet, remove carton immediately.  Provide 1/4 inch spaces between stacked doors to promote air circulation.

- PRODUCTS

  - MANUFACTURES

    - Manufacturers are accepted upon certification that all requirements of this specification are met.

  - MATERIALS

    - All Steel door and frame materials to contain recycled content.

  - HOLLOW METAL DOORS AND TRANSOMS

    - Fabricate exterior doors of 16 gage and interior doors of 18 gage bonderized hot-dip zinc coated steel in accordance with ASTM A653, galvaneal with a coating weight A60 for all doors.

    - Types:  Custom type, flush, seamless hollow construction with louvers or vision cutouts as shown or specified.

      - Refer to Section 08710-Door Hardware for mounting heights of hardware.

    - Sizes and Thickness: Sizes shall be as indicated, and thickness shall be 1-3/4 inches unless otherwise specified or shown.

    - Door Perimeters:

      - Stile Edges:

        - Reinforce stile edges full height with 16 gage bonderized zinc coated steel channels.  Seams shall be continuously welded and ground smooth.  Fill and sand depressions.

        - Reinforce door edge at each hinge location with minimum 7-gage steel hinge reinforcement.

        - Vertical Edges of Single Acting Doors:  Bevel 1/8 inches in 2 inches.

      - Door Tops:

        - Reinforce door tops with full width, 16 gage, bonderized, zinc coated, continuous, recessed steel channels, spot-welded to face sheets.

        - All exterior door tops shall have flush, full width, 16 gage, bonderized, zinc coated steel filler channel. Seams shall be welded and ground smooth.  Fill and sand depressions to assure watertight.

      - Door Bottoms:

        - Reinforce door bottoms with full width 16 gage bonderized zinc coated steel channels, spot welded to face sheets.

        - Provide three 1/8-inch diameter weep holes in bottom channel of exterior doors.

    - Stiffeners:  Provide 22 gage “Z” or high hat shaped vertical members spaced not more than 6 inches o.c. with welds 5-inch o.c. maximum.

    - Core Fill:  Mineral wool batt fiberglass blanket insulation.  Pack insulation tight in all door panel cavities.

    - Sound-Control Door Assemblies: Provide acoustical hollow metal door and frame assemblies for walls and partitions with STC ratings of 48 or more.

    - Hardware Reinforcements:

      - Mortise and reinforce as indicated on the Drawings, in this Section and as follows:

        - Drill/tap for mortised hardware according to accepted door hardware schedule and templates furnished by hardware supplier.

        - Drilling and tapping for surface applied hardware shall be done in the field.

        - Locate door hardware according to “Recommended Locations for Builder’s Hardware,” published by National Builders Hardware Association or as directed in Section 08710-Door Hardware.

        - All door closers shall be through bolted with sex bolts.

      - Butt (Hinge) reinforcing:  Steel plate 3/16 inch (7 gage) thick by 1-1/2 inch wide by 10 inches long.  Offset and secured by not less than six spot welds.

    - Light Opening in Doors:

      - Provide light openings of sizes indicated.

      - At light opening cut outs, provide 16 gage zinc coated steel channel closures welded into opening perimeter installed at factory.

      - At light opening cut outs, provide 18 gage bonderized zinc coated steel channel type stops tightly fitted to opening, with square and true butt joints.

        - Drill and dimple countersink stops for fastenings.  Provide zinc plated No. 6 oval head screws into opening frames at not over 12 inches o.c.

        - Exterior stops shall be integral with opening frame, integral with door or welded in place.

      - At exterior doors caulk perimeter seam between closure channel and door face sheet with grade exterior sealant prior to finish painting.

      - All light openings shall be cut, reinforced and stops applied in the shop.  No field cutting of the doors.

    - Louvers:  Louvers shall be 18 gage, galvanized, inverted Y blades with mitered weld corners and counter sunk mounting holes with fasteners.  Finish shall be manufactures standard prime paint or baked on enamel.

  - DOOR FRAMES

    - Fabricate exterior and interior frames to profiles indicated of 14 gage base metal thickness for all frames, bonderized hot-dip zinc coated sheet steel in accordance with ASTM A653, galvanealed with a coating weight of A60 for all frames.

    - Types:  Custom type, fully welded and ground smooth and flush, with faces mitered, and stops butted.  Head and jamb members with integral stops and with combination buck and trim as shown.  Knocked-down (KD) frames are not acceptable.

      - Corners shall have continuous flush and smooth welds without dishing.

      - Minimum stop depth shall be 5/8 inch.

      - Refer to Section 08710-Door Hardware for mounting heights of hardware.

    - Hardware Reinforcements and Preparations:

      - Frames shall be mortised, reinforced, and drilled/tapped for mortised hardware according to approved door hardware schedule and templates by hardware supplier.

        - Drilling and tapping for surface applied hardware shall be done in the field.

        - Locate door hardware according to “Recommended Locations for Builder’s Hardware” published by National Builders Hardware Association or as directed in section 08710-Door Hardware.

      - Butt (Hinge) Reinforcing:

        - Top Hinge:  Steel plate 3/16 inch thick (7 gage) by full width of jamb by 10 inches long, offset as required to have faces of butts flush with doorframe edge and secured by not less than 12 spot welds.

        - Other Hinges:  Steel plate 3/16 inch thick (7 gage) by 1-1/4 minimum by 10 inches long, offset as required to have faces of butts flush with doorframe edge and secured by not less than 12 spot welds.

      - Strike Reinforcement:  Offset clips of 12-gage steel, 1-1/2 inch x 3/4 inches longer than strike top and bottom.

      - Closer Shoe Reinforcing:

        - 10 gage steel plates (minimum 14 inches long) width of stop near corner of hinge jamb.

        - Provide styrofoam or treated wood over plates to allow closer foot screws to seat without interference from grout fill.

    - Silencer (Mute) Provisions:  Punch frames to receive silencers on strike jamb (except in weather stripped frames) scheduled in Section 08710-Door Hardware.  Provide 3 silencers for single door and 2 silencers for each leaf in pair of doors at head of frame.  Install silencers before grouting.

    - Grout Guards at Grouted Frames (refer to  article 3.2-Installation below for locations):  Provide at masonry openings only; 26 gage sheet metal covers welded to the back of frames at hinges, lock, bolts, tapped reinforcements at hardware.

    - Jamb Anchors for Masonry:

      - Masonry Type:  Adjustable strap-and-stirrup or T-shaped anchors to suit frame size, not less than 0.042 inch thick, with corrugated or perforated straps not less than 2 inches wide by 10 inches long; or wire anchors not less than 0.177 inch thick.

    - Jamb Anchors for Cast-In-Place Concrete:

      - Provide “Hat” sections or “pipe spacers” standard to the manufacturer.

      - Provide at least three anchors up to 7 feet 6 inches high opening and one anchor for each additional 30 inches of opening height or part thereof for both strike and hinge jambs.

      - Provide complete with minimum 3/8-inch diameter cadium plated flush head screw complete with expansion anchors.

    - Jamb Anchors for Drywall Stud Partitions.

      - Compression Type for Drywall Slip-on Frames:  Adjustable compression anchors.

      - Stud-Wall Type:  Designed to engage stud, welded to back of frames; not less than 0.042 inch thick.

    - Floor Anchors:  Provide 14 gage galvanized sheet steel angle shaped anchors for each jamb extending to the floor, punched for not less than two 3/16 inches diameter cadmium plated bolts and washers each side.  Shim anchors to slab with nylon shims.

    - Spreaders:  Provide frames with temporary steel spreader bars tack welded to jambs to maintain full rigidity and proper alignment during installation.

    - Security Switch Preparation:  Refer to the Drawings.

  - FINISHING AND SHOP PAINTING

    - After Fabrication:  Grind exposed weld marks smooth and flush, clean and degrease surfaces, apply metallic filler, sand smooth, and apply shop coat of manufacturer’s standard zinc-rich rust-inhibitive metal primer baked on.

    - Prime Coat:  Thoroughly cover all surfaces to provide uniform dry film thickness of not less than 1.0 mil without runs, smears, or bare spots.  Do not paint over fire rating labels.

    - Primer Coat:  Use manufacturer’s standard rust inhibiting primer complying with ANSI A210.10

  - ACCESSORIES

    - Grout:  Provide a mortar mix complying with ASTM C270a, Type S-1800-psi minimum.

- EXECUTION

  - EXAMINATION

    - Do not proceed with the work of this section until conditions detrimental to the proper and timely completion of the work have been corrected in an acceptable manner.

  - INSTALLATION

    - Frames:

      - Install plumb, level, and true to line, secured in openings.

      - Install frames according to accepted shop drawings, manufacturer’s printed instructions.

      - Fill door frames with grout (jambs and head) at concrete block and masonry walls exterior and interior.

      - Install fire-rated frames according to NFPA 80.

      - Fill surface depressions of hollow metal frames with metallic paste filler and grind smooth to finish.

      - Finish paint frames prior to hardware installation.  Do not paint over fire rating labels.

    - Doors:

      - Install in openings plumb, level, and true to line.

      - Apply hardware and adjust to achieve smooth and quiet operation.

      - Install insect/rat screens on interior of exterior door louvers.  At exterior doors, caulk perimeter seam between closure channel and doorframe sheet with paint grade exterior sealant, prior to finish paint.

      - Place fire-rated doors with clearances as specified in NFPA Standard No. 80.

      - Finish paint doors prior to hardware installation.  Do not paint over fire rating labels.

  - ADJUST AND CLEAN

    - Prime Coat Touch-Up:  Immediately after erection, sand smooth rusted or damaged areas of prime coat and apply touch-up of compatible air-drying primer.

    - Protection Removal:  Immediately before final inspection, remove protective plastic wrappings from prefinished doors.

    - Final Adjustments:  Check and readjust operating door hardware items, leaving steel doors and frames undamaged and in complete and proper operating condition.  Provide final adjustment as follows:

      - Door Contact with Silencers:  Doors shall strike a minimum of two silencers without binding lock or latch bolts in the strike plate.

      - Head, Strike, and Hinge Jamb Margin:  1/8 inch.

      - Meeting Edge Clearance, Pairs of Doors:  1/8 inch.

      - Bolts and Screws:  Leave tight and firmly seated.

      - Soundseal gasketing:  Full contact with no gaps.

      - Vermin Protection:

        - Drop Seal:  Full contact with no gaps.

        - Brush weatherstripping:  Full contact.

END OF SECTION