# SECTION 08800 (08 80 00)

## GLASS AND GLAZING

- GENERAL

  - SECTION INCLUDES

    - Types of work in this section include glass and glazing for:

      - Window units.

      - Hollow metal frame construction.

      - Doors.

      - Entrances and Storefront.

    - All glass required for project is specified herein.  Intent is that glass for windows be “re-glazed” by window manufacturer, with remaining glass either pre-glazed or field installed in accordance with recommended practice.

    - Extent of glass and glazing work is indicated on drawings and schedules.

    - Mirror units are specified in Section 10810-Toilet Accessories.

  - RELATED SECTIONS

    - Section 01572-Construction Waste Management

    - Section 08110-Steel Doors and Frames.

    - Section 08210-Flush Wood Doors.

    - Section 08400-Entrances and Storefronts.

    - Section 08520 – Aluminum Windows

  - REFERENCES

    - AAMA (American Architectural Manufacturer’s Association) A 804.1

    - ANSI (American National Standard Institute) Z97.1-Glazing Materials Used in buildings-Safety Performance Specifications and Methods of Test.

    - ASTM (American Society for Testing and Materials):

      - C 509-Elastomeric Cellular Preformed Gasket and Sealing Material.

      - C 864-Dense, Elastomeric Compression Seal Gaskets, Setting Blocks, and Spacers.

      - C 920-Elastomeric Joint Sealants.

      - C 1036-Flat Glass Standard Specification.

      - C 1048-Heat-Treated Flat Glass.

      - C 1172 – Standard Specification for Laminated Architectural Flat Glass

      - E 199-fire Tests of Building Construction and Materials.

      - E 2010-Positive Pressure Fire Test of Window Assemblies.

      - E 2074-Fire Test for Door Assemblies, Including Positive Pressure Testing of Side-Hinged and Pivoted Swinging Doors Assemblies.

      - E2190 - 08 Standard Specification for Insulating Glass Unit Performance and Evaluation.

    - CPSC (Consumer Product Safety Commission) 16 CFR (Code of Federal Regulation).

    - Florida Building Code (FBC).

    - GANA (Glass Association of North America):

      - GANA-Glazing Manual.

      - FGMA (Flat Glass Marketing Association) Sealant Manual.

      - International Organization for Standardization (ISO) 14021–1999; Environmental Labels and Declarations

    - National Fenestration Rating Council (NFRC)

    - NFPA (National Fire Protection Association):  NFPA 80-Fire Doors and Windows.

    - Underwriters Laboratories, Inc. (UL):  UL 263-fire Tests of Building Construction and Materials.

  - SYSTEM DESCRIPTION

    - Provide glass and glazing that has been produced, fabricated, and installed to withstand normal thermal movement, wind loading and impact loading (where applicable), without failure including loss or breakage of glass, failure of sealants or gaskets to remain watertight and airtight, deterioration of glass and glazing materials, and other defects in the work.

    - Normal thermal movement is defined as that resulting from an ambient temperature range of 120 degrees Fahrenheit and from a consequent temperature range within glass and glass framing members of 180 degrees Fahrenheit.

  - SUBMITTALS

    - Product Data:  Submit manufacturer’s technical data for each glazing material and fabrication glass product required, maximum allowable design pressure, Impact Standard Certification, including installation and maintenance instructions and the following:

- Energy Efficiency:

- (a)	Submit product data indicating glass and glazing Solar Heat Gain Coefficient (SHGC) and Visible Light Transmittance (VT) in accordance with the National Fenestration Rating Council (NFRC) methodology.

    - Samples:  Submit, for verification purposes, 12-inch square samples of each type of glass indicated except for clear single pane units, and 12-inch-long samples of each color required, for each type of sealant or gasket exposed to view.  Install sealant or gasket sample between two strips of material representative of adjoining framing system in color.

    - Certificates:  Submit certificates from respective manufacturers attesting that glass and glazing materials furnished for project comply with requirements.

      - Separate certification will not be required for glazing materials bearing manufacturer’s permanent labels designating type and thickness of glass, provided labels represent a quality control program involving a recognized certification agency or independent testing laboratory acceptable to authorities having jurisdiction.

    - Compatibility and Adhesion Test Report:  Submit statement from sealant manufacturer indicating that glass and glazing materials have been tested for compatibility and adhesion with glazing sealants and interpreting test results relative to material performance, including recommendations for primers and substrate preparation needed to obtain adhesion.

    - Complete current Florida Building Code (FBC) High Velocity Hurricane Zones (HVHZ) Protocols and required product Notice of Acceptance (NOA).

  - QUALITY ASSURANCE

    - Design Requirements:  Design exterior glazing systems to conform to the Florida Building Code and meet the design pressures shown on Contract Documents and meet the Impact Standards, in compliance with Florida Building Code (FBC) High Velocity Hurricane Zones (HVHZ) Protocols and required product Notice of Acceptance (NOA).

    - Glazing Standards:  Comply with recommendation of Flat Glass Marketing Association (FGMA) “Glazing Manual” and “Sealant Manual” except where more stringent requirements are indicated.  Refer to those publications for definitions of glass and glazing terms not otherwise defined in this section or other referenced standards.

    - Safety Glazing Standards:  Where safety glass is indicated or required by authorities having jurisdiction, provide type of products indicated which comply with ANSI Z97.1 and testing requirements of CPSC 16 CFR Part 1201 for category II materials.

      - Subject to compliance with requirements, provide safety glass permanently marked with certification label of Safety Glazing Certification Council (SGCC) or other certification agency acceptable to authorities having jurisdiction.

    - Single Source Responsibility for Glass:  To ensure consistent quality of appearance and performance, provide materials produced by a single manufacturer or fabricator for each kind and condition of glass indicated and composed of primary glass obtained from a single source for each type and class required.

    - Preconstruction Compatibility and Adhesion Testing:  Submit samples of all glass, gaskets, glazing accessories, and glass framing members proposed for use in contact with, or in proximity of, glazing sealants, to sealant manufacturer for compatibility and adhesion testing in accordance with sealant manufacturer’s standard testing methods and the following requirements.

      - Submit not less than 3 pieces of each type and finish of glass framing member and of each type, class, kind, condition, and form (monolithic units) of glass for adhesion testing and one sample of substrates (gaskets, setting blocks and spacers) for compatibility testing.

      - Schedule sufficient time for testing and analysis of results to prevent delay in the progress of the work.

      - Investigate materials failing compatibility or adhesion tests and obtain sealant manufacturer’s written recommendations for corrective measures, including use of specially formulated primers.

    - All work shall be performed in accordance with referenced standards.

  - DELIVERY, STORAGE AND HANDLING

    - Protect glass and glazing materials during delivery, storage and handling to comply with manufacturer’s directions and as required to prevent edge damage to glass, and damage to glass and glazing materials from effects of moisture including condensation, of temperature changes, of direct exposure to sun, and from other causes.

    - Deliver materials in manufacturer’s or distributor’s packaging, undamaged, complete with installation instructions.

    - Do not expose glazing to temperatures greater than 120 degrees F. or less than 40 degrees F. during storage or transportation.

    - Store off the ground, under cover, protected from weather and construction activities.

    - Do not expose the non-PVB side of glass to UV light.

    - Store sheets of glass vertically.  DO NOT LEAN.

  - PROJECT CONDITIONS

    - Environmental Conditions:  Do not proceed with glazing when ambient and substrate temperature conditions are outside the limits permitted by glazing material manufacturer or when joint substrates are wet due to rain, condensation, or other causes.

  - WARRANTY

    - Provide a 5-year warranty to include coverage for sealed glass units from seal failure, interpane dusting or misting, and replacement of same.

    - Provide a 5-year warranty to include coverage for delamination of laminated glass and replacement of same.

- PRODUCTS

  - MANUFACTURERS

    - Subject to compliance with requirements, provide products of one of the following:

      - Manufacturers of Fire Rated Glass:

        - Interedge Technologies.

        - Nippon Electric Glass Co., Ltd (Distributor:  TPG).

        - Pilkington Building Products North America (Distributor:  TPG).

        - Pilkington Building Products North America.

        - (Basis of Design) TPG (Technical Glass Products).

      - Manufacturers of Heat-Treated Glass:

        - AFG Industries, Inc.

        - Guardian Industries Corp.

        - LOF Glass, Inc.

        - Pilkington Building Products North America

        - PPG Industries, Inc.

        - Versalux Glass.

  - GLASS PRODUCTS-GENERAL

    - Primary Glass Standard:  Provide primary glass, which complies with ASTM C 1036 requirements, including those indicated by reference to type, class, quality, and, if applicable, form, finish, mesh and pattern.

    - Heat-Treated Glass Standard:  Provide heat-treated glass which complies with ASTM C 1048 requirements, including those indicated by reference to kind, condition, type, quality, class, and, if applicable form and finish.

    - Sizes:  Fabricate glass to sizes required for glazing openings indicated with edge clearances and tolerances complying with recommendations of glass manufacturer.  Provide thickness indicated or, if not otherwise indicated, as recommended by glass manufacturer for application indicated.

  - EXTERIOR GLASS

    - Laminated and Insulated composition and thickness shall comply with Florida Building Code (FBC) High Velocity Hurricane Zones (HVHZ) Protocols and required product Notice of Acceptance (NOA).

    - Tint:  As selected by Project Consultant.

    - Solar Control Low-E Glass:

- ***************************************************************************************************************

- NOTE TO SPECIFIER:  Insert glazing performance criteria below based upon building orientation and project energy performance.

- ***************************************************************************************************************

      - Laminated Glass Performance Criteria:

        - Maximum Solar Heat Gain Coefficient: [Insert Solar Heat Gain Coefficient (SHGC)].

        - Minimum Visible Light Transmittance: [Insert Percent Visible Transmittance (VT)].

      - Insulating Glass Minimum Performance

        - Maximum Solar Heat Gain Coefficient:  [Insert SHGC Coefficient].

        - Minimum Visible Light Transmittance:  [Insert VT Coefficient].

  - FIRE RATED GLASS

    - 45 Minute Doors:  FireLite Plus as manufactured by Pilkington Building Products North America and distributed by TGP:

      - Clear, wireless.

      - Thickness:  5/16 inch.

      - Weight:  4 lbs./sq. ft.

      - Approximate Visible Transmission:  85 percent.

      - Approximate Visible Reflection:  9 percent.

      - Fire-rating:  20 minutes to 3 hours for doors; 20 minutes to 90 minutes for other applications.

      - Impact Safety Resistance: ANSI Z97.1 and CPSC 16CFR1201 (Cat. I and II).

      - STC Rating:  Approximately 35 dB.

      - Surface Finish:  Premium (polished).

      - Positive Pressure Test:  UL 10C, UBC 7-2 and 7-4; passes.

    - 20 Minute Doors:  Fireglass20 Plus as manufactured by Pilkington Building Products North America and distributed by TGP:

      - Clear, wireless.

      - Thickness:  1/4 inch.

      - Weight: 3.0 lbs./sq. ft.

      - Approximate Visible Transmission:  89 percent.

      - Approximate Visible Reflection:  8 percent.

      - Fire-rating:  20 minutes (WITHOUT HOSE STREAM TEST).

      - Impact Safety Resistance:  ANSI Z97.1 and CPSC 16CFR1201 (Cat. I and II).

    - 45 Minute Borrowed Lights in Corridors (door transoms, door frame sidelights or punched opening borrowed lights):  Pyrostop as manufactured by Pilkington building Products North America and distributed by TGP.

      - Clear, wireless.

      - Composition:  Composed of multiple sheets of "Optiwhite" high visible light transmission glass laminated with an intumescent interlayer.

      - Thickness:  3/4 inch.

      - Weight:  Varies with thickness (approximate range 9 to 22 lbs./sq. ft.).

      - Approximate Visible Transmission:  Varies with thickness (approximate range 88 to 75 percent).

      - Fire-rating:  Up to 2 hours.

      - Impact Safety Resistance:  ANSI Z97.1 and CPSC 16CFR1201 (Cat. I and II).

      - STC Rating:  Up to 46 dB.

      - Exterior Grade:  PVB layer on exterior surface.

    - Impact Safety-Rated:  ANSI Z97.1, and CPSC 16 CFR1201 (Cat. 1 and/or II).

    - Labeling:  Each piece of glass shall be permanently labeled with manufacturer’s name and product name, UL logo, and fire-rating.

    - Fire Rating:  60 minutes or greater; fire rating listed and labeled by UL for fire rating scheduled at opening locations on Drawings, when tested in accordance with ASTM E 119 and UL 263.

    - Substitutions:

      - Will be considered by the A/E and Owner when submitted per requirements of Division-0, Division-1, and Section 01630-Product Substitution Procedure.

  - HEAT-TREATED GLASS

    - Manufacturing Process:  Manufacture heat-treated glass as follows:  by horizontal (roller hearth) process with roll wave distortion parallel with bottom edge of glass as installed, unless otherwise indicated.

    - Uncoated Tinted Heat-Treated Float Glass:  For exterior application:  Condition A (uncoated surfaces), Type 1 (transparent glass, flat), Class 2 (tinted heat absorbing and light reducing), Quality q3 (glazing select), ¼ inch thickness, Kind FT (fully tempered), “gray” tint with visible light transmittance of 41-43 percent and shading coefficient of 0.67-0.69 percent.

    - Uncoated Clear Heat-Treated Float Glass:  For interior applications; Condition A (uncoated surfaces), Type I (transparent glass, flat), Class 1 (clear), Quality q3 (glazing select), 1/4-inch thickness, Kind FT (fully tempered).

  - INTRUSION RESISTANT SECURITY GLASS

    - Security Glazing at Interior Doors and Borrowed Lights with the following characteristics:

      - No less than 7/16” nominal thickness.

      - No less than 4.60 lbs. per square foot.

      - 5-aa1 rated up to 12 minutes.

      - Glass clads on interior and exterior surfaces.

      - Optical Haze to be no more than 1.8%.

      - Blast rating shall be:

        - 4 psi/28 psi-msec for pieces up to 48 “x 96”.

        - 10 psi/89 psi-msec for pieces up to 24 “x 48”.

        - Rating dependent on conforming framing.

      - Basis-of-Design Product: SG5 by School Guard Glass as manufactured by Laminated Technologies Inc.

    - Fire-Rated Security Glazing at Interior Doors and Borrowed Lights with the following characteristics:

      - No less than 1-1/4” nominal thickness.

      - No less than 22 lbs. per square foot.

      - 5-aa1 rated up to 12 minutes.

      - Approximate Visible Transmission: Varies with thickness (approximate range 88 to 75 percent).

      - Fire-rating: Up to 2 hours.

      - Impact Safety Resistance:  ANSI Z97.1 and CPSC 16CFR1201 (Cat. I and II).

      - Basis-of-Design Product: Pyrostop School Guard Glass as manufactured by Pilkington building Products North America and distributed by TGP.

    - Security glass and surrounding frames shall demonstrate the ability, through independent third-party testing, to provide the following attributes:

      - Products will be tested as a whole system, including glass and doors or frames.

      - Products tested shall be tested in full size, actual doors, and framing members usable in a commercial setting, as applicable to project requirements, with security glazing installed as prescribed by the security glazing manufacturer. Testing shall not be done in framing other than what is specified regarding quality or manufacturer as stated in the Contract Documents.

    - Provide products designed and tested for installation into standard commercial glazing systems and metal vision lite kits.

    - Security glass Installer is required to have a factory representative present onsite during initial installation.

  - ELASTOMERIC GLAZING SEALANTS AND PREFORMED GLAZING TAPES

    - General:  Provide products of type indicated and complying with the following requirements:

    - Compatibility:  Select glazing sealants and tapes of proven compatibility with other materials with which they will come into contact, including glass products and glazing channel substrates, under conditions of installation and service as demonstrated by testing and field experience.

    - Suitability:  Comply with recommendations of sealant and glass manufacturers for selection of glazing sealants and tapes, which have performance characteristics suitable for applications indicated and conditions at time of installation.

    - Elastomeric Sealant Standard: Provide manufacturer’s standard chemically curing, elastomeric sealant of base polymer indicated which complies with ASTM C 920 requirements, including those for Type, Grade, Class and Uses.

    - Colors:  Provide color of exposed sealants indicated or, if not otherwise indicated, as selected by Architect from manufacturer’s standard colors.

    - One-Part Acid-Curing Silicone Glazing Sealant:  Type S; Grade NS; Class 25; Uses NT, G, A, and as applicable to uses indicated O.

    - Performed Butyl-Polyisobutylene Glazing Tape:  Provide manufacturer’s standard solvent-free Butyl-Polysobutylene formulation with a solids content of 100 percent complying with AAMA A 804.1; in extruded tape form; non-standing and non-migrating in contact with nonporous surfaces; packaged on rolls with a release paper on one side; with or without continuous spacer rod as recommended by manufacturers of tape and glass for application indicated.  Install each side of glass.

    - Products: Subject to compliance with requirements, provide one of the following:

      - One-Part Acid-Curing Silicone Glazing Sealant.

        - “Tremsil 600”, Tremco, Inc.

        - “Chem-Calk 200”, Bostik Construction Products Div.

        - “Dow Corning 999”, Dow Corning Corp.

        - “SCS 1200”, General Electric Corp.

        - “863”, Pecora Corp.

      - Performed Butyl-Polysiobutylene Glazing Tape Without Spacer Rod:

        - “Chem-Tape QO”, Bostik Construction Products Div.

        - “Shim-Seal”, Pecora Corp.

        - “Tremco-440 Tape”, Tremco, Inc.

      - Performed Butyl-Polysiobutylene Glazing Tape With Spacer Rod:

        - “Chem-Tape 60”, Bostik Construction Products Div.

        - “Shim-Seal”, Pecora Corp.

        - “Pre-Shimmed Tremco 440 Tape”, Tremco Inc.,

  - GLAZING GASKETS

    - Dense Elastomeric Compression Seal Gaskets:  Molded or extruded gaskets of neoprene, EPDM, or thermoplastic polyolefin rubber, complying with ASTM C 864, of profile and hardness required to maintain watertight seal.  Install each side of glass.

    - Cellular Elastomeric Preformed Gaskets:  Extruded or molded closed cell, intergral-skinned neoprene of profile and hardness required to maintain watertight seal; complying with ASTM C 509, Type II; black.  Install each side of glass.

    - Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products which may be incorporated in the work include, but are not limited to, the following:

      - Manufacturers of Preformed Gaskets:

        - D.S. Brown Co.

        - Maloney Precision Products Co.

        - Tremco.

  - MISCELLANEOUS GLAZING MATERIALS

    - Compatibility: Provide Materials with proven record of compatibility with surfaces contacted in installation.

    - Cleaner, Primers, and Sealers:  Type recommended by sealant or gasket manufacturer.

    - Setting Blocks:  Neoprene, EPDM or silicone blocks as required for compatibility with glazing sealants, 80 to 90 Shore A durometer hardness.  Located at ¼ points of glass panels.

    - Spacers:  Neoprene, EPDM or silicone blocks, or continuous extrusions, as required for compatibility with glazing sealant, of size, shape and hardness recommended by glass and sealant manufacturers for application indicated.

    - Edge Blocks:  Neoprene, EPDM or silicone blocks as required for compatibility with glazing sealant, of size and hardness required to limit lateral movement (side-walking) of glass.

    - Compressible Filler Rods:  Closed-cell or waterproof-jacketed rod stock of synthetic rubber or plastic foam, flexible and resilient, with 5-10 psi compression strength of 25 percent deflection.

- EXECUTION

  - EXAMINATION

    - Require glazier to inspect work of glass framing erector for compliance with manufacturing and installation tolerances, including those for size, squareness, offsets at corners; for presence and functioning of weep system; for existence of minimum required face of edge clearances; and for effective sealing of joinery.  Obtain Glazier’s written report, listing conditions detrimental to performance of glazing work.  Do not allow glazing work to proceed until unsatisfactory conditions have been corrected.

  - PREPARATION

    - Pre-Installation Meeting:  At Contractor’s direction, Glazier, sealant and gasket manufacturer’s technical representatives, glass framing erector and other trades whose work affects glass and glazing shall meet at project site to review procedures and time schedule proposed for glazing and coordination with other work.

    - Clean glazing channels and other framing members to receive glass, immediately before glazing.  Remove coatings, which are not firmly bonded to substrates.  Remove lacquer from metal surfaces where elastomeric sealants are indicated for use.

    - Finish paint all substrates prior to glazing installations.

  - GLAZING-GENERAL

    - Comply with combined printed recommendations of glass manufacturers, of manufacturers of sealants, gaskets, and other glazing materials, except where more stringent requirements are indicated, including those of referenced glazing standards.

    - Glazing channel dimensions as indicated in details are intended to provide for necessary bite on glass, minimum edge and face clearances and adequate sealant thicknesses, with reasonable tolerances.  Adjusts as required by job conditions at time of installation.

    - Protect glass from edge damage during handling and installation; use a rolling block in rotating glass units to prevent damage to glass corners.  Do not impact glass with metal framing.  Use suction cups to shift glass units within openings; do not raised or drift glass with a pry bar.  Rotate glass with flares or bevels along one horizontal edge, which would occur in vicinity of setting blocks so that these are located at top of opening.  Remove from project and dispose of glass units with edge damage or other imperfections of a kind that when installed, weakens glass and impairs performance and appearance.

    - Apply primers to joint surfaces where required for adhesion of sealants, as determined by pre-construction sealant-substrate testing.

  - GLAZING

    - Install setting blocks of proper size in sill rabbet, located one quarter of glass width from each corner, but with edge nearest corner not closer than 6 inches from corner, unless otherwise required.  Set blocks in thin course of sealant, which is acceptable for heel bead use.

    - Provide spacer inside and out, of correct size and spacing to preserve required face clearances, for glass sizes larger than 50 united inches (length plus height), except where gaskets or glazing tapes with continuous spacer rods are used for glazing.  Provide 1/8-inch minimum bite of spacers on glass and use thickness equal to sealant width, except with sealant tape use thickness slightly less than final compressed thickness of tape.

    - Provide edge blocking to comply with requirements of referenced glazing standard, except where otherwise required by glass unit manufacturer.

    - Set units of glass in each series with uniformity of pattern, draw, bow and similar characteristics.

    - Provide compressible filler rods or equivalent back-up material, as recommended by sealant and glass manufacturers, to prevent sealant from extruding into glass channel weep systems and form adhering to joints back surface as well as to control depth of sealant for optimum performance, unless otherwise indicated.

    - Force sealants into glazing channels to eliminate voids and to ensure complete “wetting” or bond of sealant to glass and channel surfaces.

    - Tool exposed surfaces of sealants to provide a substantial “wash” away from glass.  Install pressurized tapes and gaskets to protrude slightly out of channel, so as to eliminate dirt and moisture pockets.

    - Where wedge-shaped gaskets are driven into one side of channel to pressurize sealant or gasket on opposite side, provide adequate anchorage to ensure that gasket will not “walk” out when installation is subject to movement.

    - Miter cut wedge-shaped gaskets at corners and install gaskets in manner recommended by gasket manufacturer to prevent pull away at corners; seal corner joints and butt joints with sealant recommended by gasket manufacturer.

  - PROTECTION AND CLEANING

    - Protect exterior glass from breakage immediately upon installation by use of crossed steamers attached to framing and held away from glass.  Do not apply markers to surfaces of glass.  Remove nonpermanent labels and clean surfaces.

    - Protect glass from contact with contaminating substances resulting from construction operations.  If, despite such protection, contaminating substances do come into contact with glass, remove immediately by method recommended by glass manufacturer.

    - Examine glass surfaces adjacent to or below exterior concrete and other masonry surfaces at frequent intervals during construction, but not less often than once a month, for build-up of dirt, scum, alkali deposits and staining.  When examination reveals presence of these forms of residue, remove by method recommended by glass manufacturer.

    - Remove and replace glass which is broken, chipped, cracked, abraded, or damaged in other ways during construction period, including natural causes, accidents and vandalism.

    - Wash glass on both faces not more than 4 days prior to date scheduled for inspections intended to establish date of substantial completion in each area of project.  Wash glass by method recommended by glass manufacturer.

END OF SECTION